## 6a410f5f8d045fc590b6609e
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Fetch Sensor Data (ENTRY_GET)	Retrieve current temperature, humidity, and CO2 levels from the Greenhouse Sensor Data Model.
2. Fetch Threshold Settings (ENTRY_GET)	Retrieve the configured target ranges (min/max) for climate parameters from the Configuration Data Model.
3. Calculate Temperature Deviation (CALCULATION)	Calculate the difference between the current temperature and the target setpoint.
4. Calculate Humidity Deviation (CALCULATION)	Calculate the difference between current humidity and the target humidity range.
5. Average Daily Temperature (ENTRY_AGGREGATE)	Calculate the average temperature from all sensor entries recorded in the last 24 hours.
6. Update Climate Log (ENTRY_UPDATE)	Update the Daily Climate Log entry with the latest aggregated sensor readings.
7. Create Alert Entry (ENTRY_CREATE)	Create a new entry in the Alert Log if any sensor reading falls outside the allowed threshold.
8. Assign Maintenance Task (TASK_CREATE)	Create a task for the Greenhouse Technician if a critical deviation (e. e.g. extreme heat) is detected.
9. Create Irrigation Task (TASK_CREATE)	Create a task for the Irrigation Specialist if soil moisture levels are below the threshold.
10. Notify Manager of Deviation (EMAIL)	Send an email to the Greenhouse Manager when environmental parameters breach safety limits.
11. Urgent Alert SMS (SMS)	Send an SMS to the On-call Technician for immediate life-critical failures (e.g., heater failure in winter).
12. Update Equipment Status (ENTRY_UPDATE)	Update the status of the Ventilation Fan or Humidifier in the Equipment Data Model to 'Active' or 'Error'.
13. Generate Daily Climate Report (REPORT_CREATE)	Create a summary report of all temperature, humidity, and CO2 fluctuations for the previous 24-hour period.
14. Create Sensor Calibration Task (TASK_CREATE)	Create a recurring task for the maintenance team to calibrate sensors every 30 days.
15. Cleanup Old Sensor Logs (ENTRY_DELETE)	Delete sensor data entries older than 90 days to optimize the Data Model performance.
End (END)	End of the Workflow/Process