## Sheet1
Label | Value | Notes
Created by checklistguro.com
General Site Cleanliness (STEP)
Overall Site Condition Description (TEXT)
Debris Types Remaining (Check all that apply) (SELECTION options: Construction Waste, Packaging Materials, Landscaping Debris, Personal Belongings, Other (Specify in LONG_TEXT))
Estimated Cubic Yards of Waste Removed (NUMBER)
Photos of Cleaned Areas (Evidence of Completion) (UPLOAD)
Surface Cleaning Status (SELECTION options: Complete, Partial, Not Started)
Specific Areas Requiring Additional Cleaning (if applicable) (TEXT)
Final Dust Removal Verification (SELECTION options: Yes, No)
Exterior Works (STEP)
Landscaping Completion (%) (NUMBER)
Paving Issues Resolved? (SELECTION options: Cracks, Settlement, Discoloration, None)
Exterior Lighting Notes (TEXT)
Sprinkler System Backflow Test Date (DATE)
Drainage Issue Location (if applicable) (LOCATION)
Exterior Painting Touch-up Description (if applicable) (TEXT)
Photo Evidence of Completed Exterior Works (UPLOAD)
Interior Finishes (STEP)
Wall Paint Matching Score (0-100) (NUMBER)
Description of any minor paint touch-ups needed. (TEXT)
Flooring Issues Detected? (SELECTION options: Scratches, Gaps, Unevenness, Stains, None)
Describe any flooring repairs required. (TEXT)
Trim Work Condition (SELECTION options: Excellent, Good, Fair, Poor)
Detailed notes about trim issues. (TEXT)
Upload photos of finish inconsistencies (optional) (UPLOAD)
Mechanical Systems (HVAC) (STEP)
Supply Air Temperature (Supply) (NUMBER)
Return Air Temperature (NUMBER)
Exhaust Fan CFM (if applicable) (NUMBER)
Airflow Direction Verification (SELECTION options: Correct, Incorrect - Requires Adjustment)
Condensate Drain Verification (SELECTION options: Clear, Obstructed - Requires Clearing)
Notes on HVAC System Operation or Adjustments (TEXT)
HVAC System Performance Test Report (Optional) (UPLOAD)
HVAC System Commissioning Date (DATE)
Time of System Performance Testing (DATE)
Plumbing Systems (STEP)
Water Pressure (PSI) (NUMBER)
Hot Water Temperature (°F) (NUMBER)
Sewer Line Leak Test Result (SELECTION options: Pass, Fail, N/A)
Water Heater Flush Performed? (SELECTION options: Yes, No)
Notes/Comments on Plumbing System Inspection (TEXT)
Date of Plumbing System Inspection (DATE)
Drainage Slope Verified? (SELECTION options: Yes, No)
Plumbing Inspection Photos (Optional) (UPLOAD)
Electrical Systems (STEP)
Outlet Voltage (each circuit) (NUMBER)
Ground Resistance (Ohms) (NUMBER)
GFCI Testing Results (each) (SELECTION options: Pass, Fail, N/A)
Smoke Detector Functionality (each) (SELECTION options: Pass, Fail, N/A)
Notes on Electrical System Operation/Deficiencies (TEXT)
Electrical System Test Reports (if applicable) (UPLOAD)
Date of Last Electrical Inspection (DATE)
Doors & Windows (STEP)
Door/Window Number (NUMBER)
Door/Window Operation (SELECTION options: Operates Smoothly, Binding/Difficult to Operate, Sticking, Other (Specify))
Description of Issues (if applicable) (TEXT)
Hardware Functionality (SELECTION options: Functional, Loose, Missing, Damaged)
Sealing/Weatherstripping (SELECTION options: Adequate, Leaking, Missing, Damaged)
Photo of Issue (if applicable) (UPLOAD)
Date of Issue Identified (DATE)
Correction Status (SELECTION options: Not Corrected, Corrected, Pending Correction)
Fire Safety Systems (STEP)
Fire Extinguisher Count Verification (NUMBER)
Fire Alarm System Test Results (SELECTION options: Passed, Failed - Needs Remediation, Partial Pass - Requires Follow-Up)
Last Fire Drill Date (DATE)
Sprinkler System Inspection Status (SELECTION options: Inspection Complete & Approved, Inspection Pending, Inspection Required)
Fire Safety Deficiencies / Remediation Notes (TEXT)
Number of Fire Extinguishers Verified (NUMBER)
Emergency Exit Signage Condition (SELECTION options: All Signs Present & Illuminated, Missing/Damaged Sign(s), Requires Inspection)
Accessibility Compliance (STEP)
Ramp Slope Verification (SELECTION options: Compliant, Non-Compliant - Requires Correction, N/A - No Ramp Present)
Doorway Width (Minimum) (NUMBER)
Accessible Toilet Room - Grab Bar Installation (SELECTION options: Installed and Secure, Missing/Damaged, N/A - No Toilet Room)
Accessible Route of Travel Notes (TEXT)
Accessible Parking Spaces (SELECTION options: Correct Number Present & Marked, Insufficient Number, Incorrect Marking, N/A - No Parking Area)
Signage Compliance (SELECTION options: Compliant - Braille & Pictograms Present, Non-Compliant - Missing or Incorrect, N/A - No Required Signage)
Accessible Entrance Location (LOCATION)
Documentation & As-Builts (STEP)
Warranty Documents - HVAC System (UPLOAD)
Warranty Documents - Plumbing Fixtures (UPLOAD)
Operation and Maintenance Manuals - Electrical Systems (UPLOAD)
Summary of Outstanding Items (if any) (TEXT)
Date of As-Built Drawing Submission (DATE)
Revision Number of As-Built Drawings (NUMBER)
As-Built Drawings Received? (SELECTION options: Yes, No)
Notes regarding As-Built Drawing accuracy (if applicable) (TEXT)
All Operation Manuals Provided? (SELECTION options: Yes, No)