FIRE EXTINGUISHER INSPECTION CHECKLIST (ANNUAL/BI-ANNUAL)

Created by ChecklistGuro (https://checklistguro.com)

--- EXTINGUISHER IDENTIFICATION & LOCATION ---

[ ] Extinguisher Location (Specific)

[ ] Extinguisher ID/Tag Number

[ ] Matches Approved Location? (Yes, No)

[ ] Discrepancy Notes (if applicable)

[ ] Extinguisher Type Verified? (Yes, No)

[ ] Type Discrepancy Notes (if applicable)

--- VISUAL INSPECTION - GENERAL CONDITION ---

[ ] Overall Condition - Rust Present? (Yes, No, Minor - Requires Monitoring)

[ ] Overall Condition - Dents/Damage Present? (Yes, No, Minor - Requires Monitoring)

[ ] Evidence of Tampering? (Yes, No, Possible - Requires Further Investigation)

[ ] Label Legibility? (Clear and Legible, Slightly Faded, Illegible - Requires Replacement)

[ ] Corrosion Level (0-10, 0=None, 10=Severe)

--- EXTINGUISHER CASE & BODY ---

[ ] Presence of Rust/Corrosion (None, Minor, Moderate, Severe)

[ ] Physical Damage (Dents, Scratches) (None, Minor, Moderate, Severe)

[ ] Evidence of Tampering (None, Possible, Confirmed)

[ ] Number of Dents (if present)

[ ] Description of Damage (if present)

[ ] Case Secured Properly? (Yes, No)

[ ] Upload Photo of Extinguisher Case (if damage present)

--- PRESSURE GAUGE ---

[ ] Gauge Reading (PSI)

[ ] Gauge Condition (Within Operational Range (Green), Low (Yellow), High (Red), Damaged/Unreadable)

[ ] Notes on Gauge Condition (if applicable)

[ ] Corrective Action Required? (Yes, No)

[ ] Details of Corrective Action (if applicable)

--- TAMPER SEALS ---

[ ] Seal Present? (Yes, No)

[ ] Seal Intact? (Yes, No)

[ ] Seal Condition Notes (if compromised)

[ ] Seal Photo (if compromised)

[ ] Seal Number (if legible)

--- HOSE/NOZZLE & SQUEEZE TUBE (IF APPLICABLE) ---

[ ] Hose Condition Description

[ ] Nozzle Condition Description

[ ] Hose Integrity (Cracks, Kinks) (No Issues, Minor Cracks, Significant Cracks, Kinks Present, Damage - Replace Required)

[ ] Nozzle Condition (No Issues, Clogged, Damaged, Discolored)

[ ] Squeeze Tube Integrity (if applicable) (No Issues, Cracked, Collapsed, Blocked)

--- INSTRUCTIONS & LABELS ---

[ ] Extinguisher Type Verification (e.g., ABC, CO2)

[ ] Label Legibility - Overall Condition

[ ] Describe any label damage or obscuring details.

[ ] Is the extinguisher's hazard classification label correct? (Yes, No)

[ ] Is the operating instructions clear and visible? (Yes, No)

[ ] Note any missing information from the label

--- MOUNTING & ACCESSIBILITY ---

[ ] Extinguisher Location (GPS Coordinates)

[ ] Mounting Secure? (Yes, No, N/A)

[ ] Orientation Correct? (Yes, No, N/A)

[ ] Distance from Obstructions (inches)

[ ] Clear of Aisles/Exits? (Yes, No, N/A)

[ ] Comments on Accessibility (if any)

--- RECORD KEEPING & DOCUMENTATION ---

[ ] Inspection Date

[ ] Extinguisher ID / Tag Number

[ ] Notes / Observations

[ ] Inspection Status (Pass, Fail, Conditional Pass)

[ ] Service Required? (Yes, No)

[ ] Service Recommendations (if applicable)

[ ] Inspector's Name

[ ] Inspector Signature

--- SERVICE & MAINTENANCE RECORDS (IF APPLICABLE) ---

[ ] Last Service Date

[ ] Description of Service Performed (if any)

[ ] Service Technician ID/License Number (if applicable)

[ ] Type of Service Performed (Hydrostatic Testing, Recharge, Inspection, Repair, Other)

[ ] Upload Service Record/Invoice (if available)

[ ] Service Provider (In-house Service, External Contractor)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/retail/fire-extinguisher-inspection-checklist-annual-bi-annual

(Click "Install Template" to launch your digital inspection tool immediately)