FIRE EXTINGUISHER INSPECTION CHECKLIST (ANNUAL/BI-ANNUAL)

Created by ChecklistGuro (https://checklistguro.com)

--- EXTINGUISHER IDENTIFICATION & LOCATION ---
[ ] Extinguisher Location (Specific)
[ ] Extinguisher ID/Tag Number
[ ] Matches Approved Location? (Yes, No)
[ ] Discrepancy Notes (if applicable)
[ ] Extinguisher Type Verified? (Yes, No)
[ ] Type Discrepancy Notes (if applicable)

--- VISUAL INSPECTION - GENERAL CONDITION ---
[ ] Overall Condition - Rust Present? (Yes, No, Minor - Requires Monitoring)
[ ] Overall Condition - Dents/Damage Present? (Yes, No, Minor - Requires Monitoring)
[ ] Evidence of Tampering? (Yes, No, Possible - Requires Further Investigation)
[ ] Label Legibility? (Clear and Legible, Slightly Faded, Illegible - Requires Replacement)
[ ] Corrosion Level (0-10, 0=None, 10=Severe)

--- EXTINGUISHER CASE & BODY ---
[ ] Presence of Rust/Corrosion (None, Minor, Moderate, Severe)
[ ] Physical Damage (Dents, Scratches) (None, Minor, Moderate, Severe)
[ ] Evidence of Tampering (None, Possible, Confirmed)
[ ] Number of Dents (if present)
[ ] Description of Damage (if present)
[ ] Case Secured Properly? (Yes, No)
[ ] Upload Photo of Extinguisher Case (if damage present)

--- PRESSURE GAUGE ---
[ ] Gauge Reading (PSI)
[ ] Gauge Condition (Within Operational Range (Green), Low (Yellow), High (Red), Damaged/Unreadable)
[ ] Notes on Gauge Condition (if applicable)
[ ] Corrective Action Required? (Yes, No)
[ ] Details of Corrective Action (if applicable)

--- TAMPER SEALS ---
[ ] Seal Present? (Yes, No)
[ ] Seal Intact? (Yes, No)
[ ] Seal Condition Notes (if compromised)
[ ] Seal Photo (if compromised)
[ ] Seal Number (if legible)

--- HOSE/NOZZLE & SQUEEZE TUBE (IF APPLICABLE) ---
[ ] Hose Condition Description
[ ] Nozzle Condition Description
[ ] Hose Integrity (Cracks, Kinks) (No Issues, Minor Cracks, Significant Cracks, Kinks Present, Damage - Replace Required)
[ ] Nozzle Condition (No Issues, Clogged, Damaged, Discolored)
[ ] Squeeze Tube Integrity (if applicable) (No Issues, Cracked, Collapsed, Blocked)

--- INSTRUCTIONS & LABELS ---
[ ] Extinguisher Type Verification (e.g., ABC, CO2)
[ ] Label Legibility - Overall Condition
[ ] Describe any label damage or obscuring details.
[ ] Is the extinguisher's hazard classification label correct? (Yes, No)
[ ] Is the operating instructions clear and visible? (Yes, No)
[ ] Note any missing information from the label

--- MOUNTING & ACCESSIBILITY ---
[ ] Extinguisher Location (GPS Coordinates)
[ ] Mounting Secure? (Yes, No, N/A)
[ ] Orientation Correct? (Yes, No, N/A)
[ ] Distance from Obstructions (inches)
[ ] Clear of Aisles/Exits? (Yes, No, N/A)
[ ] Comments on Accessibility (if any)

--- RECORD KEEPING & DOCUMENTATION ---
[ ] Inspection Date
[ ] Extinguisher ID / Tag Number
[ ] Notes / Observations
[ ] Inspection Status (Pass, Fail, Conditional Pass)
[ ] Service Required? (Yes, No)
[ ] Service Recommendations (if applicable)
[ ] Inspector's Name
[ ] Inspector Signature

--- SERVICE & MAINTENANCE RECORDS (IF APPLICABLE) ---
[ ] Last Service Date
[ ] Description of Service Performed (if any)
[ ] Service Technician ID/License Number (if applicable)
[ ] Type of Service Performed (Hydrostatic Testing, Recharge, Inspection, Repair, Other)
[ ] Upload Service Record/Invoice (if available)
[ ] Service Provider (In-house Service, External Contractor)

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/retail/fire-extinguisher-inspection-checklist-annual-bi-annual
(Click "Install Template" to launch your digital inspection tool immediately)