## 6a410ed88d045fc590b65ecf
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Retrieve Fire Safety Assets (ENTRY_GET)	Fetch all active fire extinguishers, alarms, and sprinklers from the Assets Data Model.
2. Conduct Physical Inspection (TASK_CREATE)	Assign a task to the Safety Officer to physically inspect each asset listed in the assets fetch.
3. Create Inspection Log (ENTRY_CREATE)	Create a new Data Entry in the 'Inspection Logs' model to record the results of the current testing session.
4. Update Asset Status (ENTRY_UPDATE)	Update the 'Last Inspection Date' and 'Next Inspection Due Date' for each asset in the Assets Data Model.
5. Update Asset Condition (ENTRY_UPDATE)	Update the 'Condition' field (e.g., Functional, Needs Repair, Failed) based on the inspection results.
6. Identify Failed Assets (ENTRY_GET)	Retrieve all entries from the Inspection Log where the status is marked as 'Failed'.
7. Assign Maintenance Repair (TASK_CREATE)	Create a high-priority task for the Maintenance Team for every failed asset identified.
8. Calculate Failure Rate (ENTRY_AGGREGATE)	Aggregate inspection logs to calculate the percentage of assets that failed the safety test.
9. Calculate Compliance Score (CALCULATION)	Execute a formula: (Total Passed Assets / Total Assets) * 100 to determine the building safety score.
10. Generate Compliance Report (REPORT_CREATE)	Compile all inspection data, failure rates, and compliance scores into a formal PDF Safety Report.
11. Notify Building Management (EMAIL)	Send an email summary of the inspection results and the final compliance score to the Facility Manager.
12. Alert Maintenance Team (EMAIL)	Send an email notification to the maintenance department regarding the specific assets requiring immediate repair.
13. Urgent Alert SMS (SMS)	Send an SMS to the Head of Security if the Compliance Score falls below a critical threshold.
14. Archive Obsolete Assets (ENTRY_DELETE)	Delete or move to archive any assets from the Data Model that have been decommissioned during the inspection.
End (END)	End of the Workflow/Process