FIRE SUPPRESSION SYSTEM INSPECTION CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL INFORMATION ---

[ ] Inspection Date

[ ] Inspection Time

[ ] Facility Location

[ ] Inspector Name

[ ] Inspector Title/Role

[ ] System Type (e.g., Wet, Dry, Pre-Action)

[ ] System Identification Number (if applicable)

[ ] Weather Conditions (During Inspection) (Clear, Rain, Snow, Fog, Other)

--- SYSTEM IDENTIFICATION & LOCATION ---

[ ] System Name/Type

[ ] System ID/Tag Number

[ ] System Location (Building & Floor)

[ ] Date of Last System Upgrade/Installation

[ ] Date of Inspection

[ ] System Status (Active/Inactive/Out of Service) (Active, Inactive, Out of Service)

[ ] Notes/Comments Regarding System Identification

--- VISUAL INSPECTION - NOZZLES & PIPING ---

[ ] Nozzle Location 1

[ ] Nozzle Condition (Nozzle 1) (Good, Minor Corrosion, Significant Corrosion, Damaged, Obstructed)

[ ] Nozzle Temperature (if applicable, using IR thermometer)

[ ] Piping Condition (Good, Minor Corrosion, Significant Corrosion, Leaks Present, Damage Present)

[ ] Notes on Nozzle/Piping Observations

[ ] Photo of Damaged Nozzle/Piping (if applicable)

--- WATER SUPPLY ---

[ ] Static Water Pressure (PSI)

[ ] Residual Pressure (PSI)

[ ] Water Flow Rate (GPM)

[ ] Water Supply Type (Municipal, Tank, Well, Other)

[ ] Water Supply Condition (Satisfactory, Needs Attention, Unsatisfactory)

[ ] Comments/Observations Regarding Water Supply

[ ] Last Water Supply Test Date

--- CONTROL PANEL & ALARM SYSTEM ---

[ ] Control Panel Battery Voltage (VDC)

[ ] Control Panel Supply Voltage (VAC)

[ ] Panel Display Status (Normal, Trouble, Alarm)

[ ] Description of any trouble or alarm conditions (if applicable)

[ ] Date of last battery replacement

[ ] Witnessed Panel Functional Test? (Yes, No)

[ ] Notes on Functional Test Results (if performed)

[ ] Audible Alarm Signals Present? (Yes, No)

[ ] Time of last alarm event (if applicable)

--- FIRE PUMP (IF APPLICABLE) ---

[ ] Suction Pressure (PSI)

[ ] Discharge Pressure (PSI)

[ ] Pump Flow Rate (GPM)

[ ] Motor Voltage (V)

[ ] Pump Operating Sound (Select One) (Normal, Excessive, Unusual)

[ ] Motor Condition (Select One) (Good, Fair, Poor)

[ ] Notes on Motor Condition

[ ] Date of Last Motor Maintenance

[ ] Motor Nameplate Image (for verification)

--- SPRINKLER HEADS ---

[ ] Sprinkler Head Temperature Rating (Deg F)

[ ] Sprinkler Head K-Factor (K = 5.6, K = 8.0, K = 11.2, Other (Specify))

[ ] Sprinkler Head Orientation (Upright, Pendant, Sidewall, Concealed)

[ ] Evidence of Physical Damage (e.g., dents, corrosion) (Yes, No, N/A)

[ ] Evidence of Paint Coverage (Impairs Function) (Yes, No, N/A)

[ ] Notes on Sprinkler Head Condition (Specific observations)

[ ] Number of Sprinkler Heads Inspected

--- DRAINAGE & FLUSHING ---

[ ] Flushing Duration (Minutes)

[ ] Drain Valve Opening Pressure (PSI)

[ ] Drain Valve Operation (Operated Properly, Requires Repair, Unable to Operate)

[ ] Observations During Flushing

[ ] Water Quality After Flushing (Clear, Slightly Discolored, Discolored/Sediment Present)

[ ] Last Flushing Date

[ ] Comments/Recommendations Regarding Drainage/Flushing

--- TESTING & MAINTENANCE RECORDS ---

[ ] Date of Last Inspection/Service

[ ] Summary of Previous Inspection Findings & Corrective Actions Taken

[ ] Hours of Operation of Fire Pump (if applicable)

[ ] Type of Maintenance Performed (e.g., Routine, Preventative, Repair) (Routine, Preventative, Repair, Other)

[ ] Attach Maintenance Records/Reports

[ ] Was a Hydrostatic Test Performed within the last 5 years? (Yes, No, N/A)

[ ] Date of Last Hydrostatic Test (if applicable)

--- OVERALL SYSTEM FUNCTIONALITY ---

[ ] System Pressure (PSI)

[ ] System Activation Test Result (Passed, Failed, N/A)

[ ] Detailed Observation Notes

[ ] Battery Backup Status (OK, Needs Replacement, Failed)

[ ] Date of Last Full System Test

[ ] System Components Tested (Sprinkler Heads, Fire Pump, Control Panel, Water Supply, Alarm System)

[ ] Overall System Readiness (Ready for Service, Needs Minor Repairs, Needs Major Repairs)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/fire-suppression-system-inspection-checklist

(Click "Install Template" to launch your digital inspection tool immediately)