FIRE SUPPRESSION SYSTEM INSPECTION CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL INFORMATION ---
[ ] Inspection Date
[ ] Inspection Time
[ ] Facility Location
[ ] Inspector Name
[ ] Inspector Title/Role
[ ] System Type (e.g., Wet, Dry, Pre-Action)
[ ] System Identification Number (if applicable)
[ ] Weather Conditions (During Inspection) (Clear, Rain, Snow, Fog, Other)

--- SYSTEM IDENTIFICATION & LOCATION ---
[ ] System Name/Type
[ ] System ID/Tag Number
[ ] System Location (Building & Floor)
[ ] Date of Last System Upgrade/Installation
[ ] Date of Inspection
[ ] System Status (Active/Inactive/Out of Service) (Active, Inactive, Out of Service)
[ ] Notes/Comments Regarding System Identification

--- VISUAL INSPECTION - NOZZLES & PIPING ---
[ ] Nozzle Location 1
[ ] Nozzle Condition (Nozzle 1) (Good, Minor Corrosion, Significant Corrosion, Damaged, Obstructed)
[ ] Nozzle Temperature (if applicable, using IR thermometer)
[ ] Piping Condition (Good, Minor Corrosion, Significant Corrosion, Leaks Present, Damage Present)
[ ] Notes on Nozzle/Piping Observations
[ ] Photo of Damaged Nozzle/Piping (if applicable)

--- WATER SUPPLY ---
[ ] Static Water Pressure (PSI)
[ ] Residual Pressure (PSI)
[ ] Water Flow Rate (GPM)
[ ] Water Supply Type (Municipal, Tank, Well, Other)
[ ] Water Supply Condition (Satisfactory, Needs Attention, Unsatisfactory)
[ ] Comments/Observations Regarding Water Supply
[ ] Last Water Supply Test Date

--- CONTROL PANEL & ALARM SYSTEM ---
[ ] Control Panel Battery Voltage (VDC)
[ ] Control Panel Supply Voltage (VAC)
[ ] Panel Display Status (Normal, Trouble, Alarm)
[ ] Description of any trouble or alarm conditions (if applicable)
[ ] Date of last battery replacement
[ ] Witnessed Panel Functional Test? (Yes, No)
[ ] Notes on Functional Test Results (if performed)
[ ] Audible Alarm Signals Present? (Yes, No)
[ ] Time of last alarm event (if applicable)

--- FIRE PUMP (IF APPLICABLE) ---
[ ] Suction Pressure (PSI)
[ ] Discharge Pressure (PSI)
[ ] Pump Flow Rate (GPM)
[ ] Motor Voltage (V)
[ ] Pump Operating Sound (Select One) (Normal, Excessive, Unusual)
[ ] Motor Condition (Select One) (Good, Fair, Poor)
[ ] Notes on Motor Condition
[ ] Date of Last Motor Maintenance
[ ] Motor Nameplate Image (for verification)

--- SPRINKLER HEADS ---
[ ] Sprinkler Head Temperature Rating (Deg F)
[ ] Sprinkler Head K-Factor (K = 5.6, K = 8.0, K = 11.2, Other (Specify))
[ ] Sprinkler Head Orientation (Upright, Pendant, Sidewall, Concealed)
[ ] Evidence of Physical Damage (e.g., dents, corrosion) (Yes, No, N/A)
[ ] Evidence of Paint Coverage (Impairs Function) (Yes, No, N/A)
[ ] Notes on Sprinkler Head Condition (Specific observations)
[ ] Number of Sprinkler Heads Inspected

--- DRAINAGE & FLUSHING ---
[ ] Flushing Duration (Minutes)
[ ] Drain Valve Opening Pressure (PSI)
[ ] Drain Valve Operation (Operated Properly, Requires Repair, Unable to Operate)
[ ] Observations During Flushing
[ ] Water Quality After Flushing (Clear, Slightly Discolored, Discolored/Sediment Present)
[ ] Last Flushing Date
[ ] Comments/Recommendations Regarding Drainage/Flushing

--- TESTING & MAINTENANCE RECORDS ---
[ ] Date of Last Inspection/Service
[ ] Summary of Previous Inspection Findings & Corrective Actions Taken
[ ] Hours of Operation of Fire Pump (if applicable)
[ ] Type of Maintenance Performed (e.g., Routine, Preventative, Repair) (Routine, Preventative, Repair, Other)
[ ] Attach Maintenance Records/Reports
[ ] Was a Hydrostatic Test Performed within the last 5 years? (Yes, No, N/A)
[ ] Date of Last Hydrostatic Test (if applicable)

--- OVERALL SYSTEM FUNCTIONALITY ---
[ ] System Pressure (PSI)
[ ] System Activation Test Result (Passed, Failed, N/A)
[ ] Detailed Observation Notes
[ ] Battery Backup Status (OK, Needs Replacement, Failed)
[ ] Date of Last Full System Test
[ ] System Components Tested (Sprinkler Heads, Fire Pump, Control Panel, Water Supply, Alarm System)
[ ] Overall System Readiness (Ready for Service, Needs Minor Repairs, Needs Major Repairs)

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/facility-management/fire-suppression-system-inspection-checklist
(Click "Install Template" to launch your digital inspection tool immediately)