## Sheet1
Label | Value | Notes
Created by checklistguro.com
General Information (STEP)
Inspection Date (DATE)
Inspection Time (DATE)
Facility Location (LOCATION)
Inspector Name (TEXT)
Inspector Title/Role (TEXT)
System Type (e.g., Wet, Dry, Pre-Action) (TEXT)
System Identification Number (if applicable) (NUMBER)
Weather Conditions (During Inspection) (SELECTION options: Clear, Rain, Snow, Fog, Other)
System Identification & Location (STEP)
System Name/Type (TEXT)
System ID/Tag Number (TEXT)
System Location (Building & Floor) (LOCATION)
Date of Last System Upgrade/Installation (NUMBER)
Date of Inspection (DATE)
System Status (Active/Inactive/Out of Service) (SELECTION options: Active, Inactive, Out of Service)
Notes/Comments Regarding System Identification (TEXT)
Visual Inspection - Nozzles & Piping (STEP)
Nozzle Location 1 (LOCATION)
Nozzle Condition (Nozzle 1) (SELECTION options: Good, Minor Corrosion, Significant Corrosion, Damaged, Obstructed)
Nozzle Temperature (if applicable, using IR thermometer) (NUMBER)
Piping Condition (SELECTION options: Good, Minor Corrosion, Significant Corrosion, Leaks Present, Damage Present)
Notes on Nozzle/Piping Observations (TEXT)
Photo of Damaged Nozzle/Piping (if applicable) (UPLOAD)
Water Supply (STEP)
Static Water Pressure (PSI) (NUMBER)
Residual Pressure (PSI) (NUMBER)
Water Flow Rate (GPM) (NUMBER)
Water Supply Type (SELECTION options: Municipal, Tank, Well, Other)
Water Supply Condition (SELECTION options: Satisfactory, Needs Attention, Unsatisfactory)
Comments/Observations Regarding Water Supply (TEXT)
Last Water Supply Test Date (DATE)
Control Panel & Alarm System (STEP)
Control Panel Battery Voltage (VDC) (NUMBER)
Control Panel Supply Voltage (VAC) (NUMBER)
Panel Display Status (SELECTION options: Normal, Trouble, Alarm)
Description of any trouble or alarm conditions (if applicable) (TEXT)
Date of last battery replacement (DATE)
Witnessed Panel Functional Test? (SELECTION options: Yes, No)
Notes on Functional Test Results (if performed) (TEXT)
Audible Alarm Signals Present? (SELECTION options: Yes, No)
Time of last alarm event (if applicable) (DATE)
Fire Pump (If Applicable) (STEP)
Suction Pressure (PSI) (NUMBER)
Discharge Pressure (PSI) (NUMBER)
Pump Flow Rate (GPM) (NUMBER)
Motor Voltage (V) (NUMBER)
Pump Operating Sound (Select One) (SELECTION options: Normal, Excessive, Unusual)
Motor Condition (Select One) (SELECTION options: Good, Fair, Poor)
Notes on Motor Condition (TEXT)
Date of Last Motor Maintenance (DATE)
Motor Nameplate Image (for verification) (UPLOAD)
Sprinkler Heads (STEP)
Sprinkler Head Temperature Rating (Deg F) (NUMBER)
Sprinkler Head K-Factor (SELECTION options: K = 5.6, K = 8.0, K = 11.2, Other (Specify))
Sprinkler Head Orientation (SELECTION options: Upright, Pendant, Sidewall, Concealed)
Evidence of Physical Damage (e.g., dents, corrosion) (SELECTION options: Yes, No, N/A)
Evidence of Paint Coverage (Impairs Function) (SELECTION options: Yes, No, N/A)
Notes on Sprinkler Head Condition (Specific observations) (TEXT)
Number of Sprinkler Heads Inspected (NUMBER)
Drainage & Flushing (STEP)
Flushing Duration (Minutes) (NUMBER)
Drain Valve Opening Pressure (PSI) (NUMBER)
Drain Valve Operation (SELECTION options: Operated Properly, Requires Repair, Unable to Operate)
Observations During Flushing (TEXT)
Water Quality After Flushing (SELECTION options: Clear, Slightly Discolored, Discolored/Sediment Present)
Last Flushing Date (DATE)
Comments/Recommendations Regarding Drainage/Flushing (TEXT)
Testing & Maintenance Records (STEP)
Date of Last Inspection/Service (DATE)
Summary of Previous Inspection Findings & Corrective Actions Taken (TEXT)
Hours of Operation of Fire Pump (if applicable) (NUMBER)
Type of Maintenance Performed (e.g., Routine, Preventative, Repair) (SELECTION options: Routine, Preventative, Repair, Other)
Attach Maintenance Records/Reports (UPLOAD)
Was a Hydrostatic Test Performed within the last 5 years? (SELECTION options: Yes, No, N/A)
Date of Last Hydrostatic Test (if applicable) (DATE)
Overall System Functionality (STEP)
System Pressure (PSI) (NUMBER)
System Activation Test Result (SELECTION options: Passed, Failed, N/A)
Detailed Observation Notes (TEXT)
Battery Backup Status (SELECTION options: OK, Needs Replacement, Failed)
Date of Last Full System Test (DATE)
System Components Tested (SELECTION options: Sprinkler Heads, Fire Pump, Control Panel, Water Supply, Alarm System)
Overall System Readiness (SELECTION options: Ready for Service, Needs Minor Repairs, Needs Major Repairs)