FIRE SUPPRESSION SYSTEM - MANUFACTURING EQUIPMENT CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- SYSTEM OVERVIEW & IDENTIFICATION ---
[ ] System Name/Identifier
[ ] Fire Suppression System Type (Wet Pipe, Dry Pipe, Pre-Action, Deluge, Clean Agent)
[ ] System Activation Pressure (PSI)
[ ] Primary System Location
[ ] Date of Last System Design Review
[ ] Brief Description of Protected Area/Equipment
[ ] Responsible Department/Contact Person (Facility Management, Engineering, Production, Safety)
[ ] Contact Person's Name
[ ] Contact Phone Number

--- VISUAL INSPECTION ---
[ ] Equipment Location (Refer to System Layout)
[ ] System Type (e.g., Wet, Dry, Pre-action)
[ ] Visible Damage or Corrosion? (None, Minor Corrosion, Moderate Corrosion, Significant Corrosion, Physical Damage)
[ ] Ambient Temperature (Â°C)
[ ] Obstructions Around Equipment (e.g., stored materials)
[ ] Notes on Visual Condition
[ ] System Status (Based on Visual Inspection) (Normal, Warning - Minor Issues, Alarm - Immediate Action Required)

--- NOZZLE AND PIPING INSPECTION ---
[ ] Sprinkler Head Location 1 (Equipment Area)
[ ] Sprinkler Head Condition (Equipment Area) (Good, Corroded, Damaged, Obstructed, Missing)
[ ] Pipe Diameter (inches)
[ ] Pipe Condition (Good, Corroded, Leaking, Damaged)
[ ] Number of Nozzles Inspected
[ ] Comments/Observations (Nozzle & Piping)
[ ] Sprinkler Head Orientation (Correct, Incorrect, N/A)

--- CONTROL PANEL & DETECTION SYSTEM ---
[ ] Control Panel Battery Voltage
[ ] Panel Alarm Status (Normal, Alarm, Trouble)
[ ] Panel Event Log Last Entry
[ ] Last Panel Inspection Date
[ ] Detector Types Present (Smoke Detector, Heat Detector, Flame Detector, Carbon Monoxide Detector)
[ ] Detector Sensitivity Setting (Standard, Sensitive, Less Sensitive)
[ ] Notes/Observations

--- PUMP & WATER SUPPLY ---
[ ] Static Water Pressure (PSI)
[ ] Residual Pressure (PSI)
[ ] Pump Discharge Pressure (PSI)
[ ] Pump Flow Rate (GPM)
[ ] Pump Operational Status (Operational, Not Operational - Awaiting Repair, Not Operational - Out of Service for Maintenance)
[ ] Notes on Pump Condition/Performance
[ ] Last Pump Tested Date
[ ] Water Supply Type (City Water, Tank, Well, Other)

--- MANUAL PULL STATIONS & AUXILIARY DEVICES ---
[ ] Pull Station 1 Location (Machine A)
[ ] Pull Station 2 Location (Assembly Line B)
[ ] Pull Station 1 - Condition (Operational, Damaged, Obstructed, Tampered)
[ ] Pull Station 2 - Condition (Operational, Damaged, Obstructed, Tampered)
[ ] Pull Station 1 - Activation Test Result (0=Fail, 1=Pass)
[ ] Pull Station 2 - Activation Test Result (0=Fail, 1=Pass)
[ ] Last Inspection Date (Auxiliary Device X)
[ ] Comments/Observations (Manual Pull Stations & Auxiliary Devices)

--- TESTING & MAINTENANCE RECORDS REVIEW ---
[ ] Last Inspection Date
[ ] Pressure Test Results (PSI)
[ ] System Type Verified? (Yes, No, N/A)
[ ] Summary of Maintenance Performed
[ ] Alarm Testing Completed? (Yes, No, N/A)
[ ] Attach Inspection Report (PDF)
[ ] Next Scheduled Inspection Date

--- DOCUMENTATION & COMPLIANCE ---
[ ] Last System Inspection Date
[ ] Inspection Frequency (Months)
[ ] System Type (Wet Pipe, Dry Pipe, Pre-Action, Deluge)
[ ] Summary of Findings/Comments
[ ] Upload Inspection Report
[ ] Compliance Status (Compliant, Minor Deviation, Major Deviation)
[ ] Next Scheduled Inspection Date
[ ] Corrective Actions Required (if applicable)

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/facility-management/fire-suppression-system-manufacturing-equipment-checklist
(Click "Install Template" to launch your digital inspection tool immediately)