FIRE SUPPRESSION SYSTEM TESTING

Created by ChecklistGuro (https://checklistguro.com)

--- SYSTEM OVERVIEW & PREPARATION ---

[ ] Date of Inspection

[ ] Start Time of Inspection

[ ] System Type (e.g., Wet, Dry, Pre-Action)

[ ] System Manufacturer

[ ] System Model Number

[ ] Review of Previous Inspection Reports & Maintenance Records

[ ] Ambient Temperature (°C)

[ ] Weather Conditions (Clear, Cloudy, Rain, Snow, Fog)

--- NOZZLE & PIPING INSPECTION ---

[ ] Identify Location of First Nozzle Inspected

[ ] Nozzle Condition (First Inspected) (Good, Damaged, Corroded, Obstructed, Missing)

[ ] Number of Nozzles Inspected

[ ] Detailed Description of any Nozzle Damage/Corrosion/Obstruction

[ ] Piping Condition (General) (Good, Corroded, Leaking, Sagging, Damaged)

[ ] Detailed Description of any Piping Damage/Leaks/Sagging

[ ] Hangers/Supports Condition (Secure, Loose, Corroded, Missing)

[ ] Upload Photo of Any Issues Found

--- WATER SUPPLY VERIFICATION ---

[ ] Water Main Pressure (PSI)

[ ] Sprinkler System Pressure (PSI)

[ ] System Flow Rate (GPM)

[ ] Water Supply Type (City Water, Fire Pump, Tank, Other)

[ ] Water Supply Adequacy (Adequate, Marginal, Inadequate)

[ ] Notes/Observations regarding water supply

[ ] Date of Last Water Supply Hydrostatic Test

[ ] Hydrostatic Test Pressure (PSI)

--- CONTROL PANEL & ALARM SYSTEM CHECKS ---

[ ] Panel Voltage (V)

[ ] Battery Voltage (V)

[ ] Panel Status (Normal, Trouble, Alarm)

[ ] Supervisory Device Status (Normal, Alarm, Trouble)

[ ] Functional Tests Performed (Select all that apply) (Alarm Test, Auxiliary Device Test, Smoke Detector Supervision, Flow Switch Test, Tamper Switch Test)

[ ] Alarm Signal Verification Notes

[ ] Last Panel Software Update

--- SPRINKLER HEAD TESTING (DISCHARGE & COVERAGE) ---

[ ] Sprinkler Head Test Temperature (Ambient)

[ ] Sprinkler Head Test Method (If Applicable) (Hydraulic Test, Temperature Verification, Visual Inspection, Other (Specify))

[ ] Sprinkler Head Observed Condition (e.g., corrosion, damage)

[ ] Discharge Pressure (PSI) - Sprinkler Head (if tested)

[ ] Discharge Time (Seconds) - Sprinkler Head (if tested)

[ ] Sprinkler Head Discharge Pattern (Correct, Incorrect (Specify))

[ ] Description of any observed deficiencies in discharge or coverage

[ ] Sprinkler Head Coverage Adequate? (Yes, No)

--- SPECIAL HAZARD SYSTEM TESTING (IF APPLICABLE) ---

[ ] System Type (If Applicable) (Clean Agent (FM-200, Novec, etc.), Foam System, Dry Chemical, CO2, Other (Specify))

[ ] Specify 'Other' System Type (If Selected)

[ ] Discharge Test Duration (Seconds)

[ ] Discharge Test Flow Rate (GPM/LPM)

[ ] Nozzle Integrity (Clean Agent/Foam) (Pass, Fail, N/A)

[ ] Observations/Notes (Clean Agent/Foam)

[ ] Discharge Test Photo/Video

[ ] Last Maintenance/Service Date

--- DOCUMENTATION & REPORTING ---

[ ] Date of Test

[ ] Start Time of Test

[ ] Test Results Summary

[ ] Water Pressure (PSI)

[ ] Water Flow (GPM)

[ ] Deviations from Standard Procedure (If Any)

[ ] Deficiencies Found? (Yes, No)

[ ] Corrective Actions Required

[ ] Supporting Documentation (e.g., flow charts, pressure readings)

[ ] System Status (Operational, Needs Repair, Out of Service)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/fire-suppression-system-testing

(Click "Install Template" to launch your digital inspection tool immediately)