FIRE SUPPRESSION SYSTEM TESTING

Created by ChecklistGuro (https://checklistguro.com)

--- SYSTEM OVERVIEW & PREPARATION ---
[ ] Date of Inspection
[ ] Start Time of Inspection
[ ] System Type (e.g., Wet, Dry, Pre-Action)
[ ] System Manufacturer
[ ] System Model Number
[ ] Review of Previous Inspection Reports & Maintenance Records
[ ] Ambient Temperature (°C)
[ ] Weather Conditions (Clear, Cloudy, Rain, Snow, Fog)

--- NOZZLE & PIPING INSPECTION ---
[ ] Identify Location of First Nozzle Inspected
[ ] Nozzle Condition (First Inspected) (Good, Damaged, Corroded, Obstructed, Missing)
[ ] Number of Nozzles Inspected
[ ] Detailed Description of any Nozzle Damage/Corrosion/Obstruction
[ ] Piping Condition (General) (Good, Corroded, Leaking, Sagging, Damaged)
[ ] Detailed Description of any Piping Damage/Leaks/Sagging
[ ] Hangers/Supports Condition (Secure, Loose, Corroded, Missing)
[ ] Upload Photo of Any Issues Found

--- WATER SUPPLY VERIFICATION ---
[ ] Water Main Pressure (PSI)
[ ] Sprinkler System Pressure (PSI)
[ ] System Flow Rate (GPM)
[ ] Water Supply Type (City Water, Fire Pump, Tank, Other)
[ ] Water Supply Adequacy (Adequate, Marginal, Inadequate)
[ ] Notes/Observations regarding water supply
[ ] Date of Last Water Supply Hydrostatic Test
[ ] Hydrostatic Test Pressure (PSI)

--- CONTROL PANEL & ALARM SYSTEM CHECKS ---
[ ] Panel Voltage (V)
[ ] Battery Voltage (V)
[ ] Panel Status (Normal, Trouble, Alarm)
[ ] Supervisory Device Status (Normal, Alarm, Trouble)
[ ] Functional Tests Performed (Select all that apply) (Alarm Test, Auxiliary Device Test, Smoke Detector Supervision, Flow Switch Test, Tamper Switch Test)
[ ] Alarm Signal Verification Notes
[ ] Last Panel Software Update

--- SPRINKLER HEAD TESTING (DISCHARGE & COVERAGE) ---
[ ] Sprinkler Head Test Temperature (Ambient)
[ ] Sprinkler Head Test Method (If Applicable) (Hydraulic Test, Temperature Verification, Visual Inspection, Other (Specify))
[ ] Sprinkler Head Observed Condition (e.g., corrosion, damage)
[ ] Discharge Pressure (PSI) - Sprinkler Head (if tested)
[ ] Discharge Time (Seconds) - Sprinkler Head (if tested)
[ ] Sprinkler Head Discharge Pattern (Correct, Incorrect (Specify))
[ ] Description of any observed deficiencies in discharge or coverage
[ ] Sprinkler Head Coverage Adequate? (Yes, No)

--- SPECIAL HAZARD SYSTEM TESTING (IF APPLICABLE) ---
[ ] System Type (If Applicable) (Clean Agent (FM-200, Novec, etc.), Foam System, Dry Chemical, CO2, Other (Specify))
[ ] Specify 'Other' System Type (If Selected)
[ ] Discharge Test Duration (Seconds)
[ ] Discharge Test Flow Rate (GPM/LPM)
[ ] Nozzle Integrity (Clean Agent/Foam) (Pass, Fail, N/A)
[ ] Observations/Notes (Clean Agent/Foam)
[ ] Discharge Test Photo/Video
[ ] Last Maintenance/Service Date

--- DOCUMENTATION & REPORTING ---
[ ] Date of Test
[ ] Start Time of Test
[ ] Test Results Summary
[ ] Water Pressure (PSI)
[ ] Water Flow (GPM)
[ ] Deviations from Standard Procedure (If Any)
[ ] Deficiencies Found? (Yes, No)
[ ] Corrective Actions Required
[ ] Supporting Documentation (e.g., flow charts, pressure readings)
[ ] System Status (Operational, Needs Repair, Out of Service)

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/facility-management/fire-suppression-system-testing
(Click "Install Template" to launch your digital inspection tool immediately)