FLEET FUELING STATION COMPLIANCE AND SAFETY INSPECTION CHECKLIST 2026

Created by ChecklistGuro (https://checklistguro.com)

--- FUEL STORAGE TANK INTEGRITY & MONITORING ---

[ ] Inspection Date

[ ] Tank ID/Storage Unit Number

[ ] Visual Leak Inspection Status (No Leaks Detected, Minor Seepage Noted, Major Leak Detected)

[ ] Current Fuel Level (Gallons/Liters)

[ ] Secondary Containment Condition (Intact & Dry, Debris/Sediment Present, Evidence of Fluid Accumulation)

[ ] Observations and Maintenance Notes

[ ] Upload Photo of Tank Gauges/Integrity

[ ] Inspector Signature

--- DISPENSING EQUIPMENT & HOSE INSPECTION ---

[ ] Inspection Date

[ ] Nozzle Condition (Good, Worn/Damaged, Leaking)

[ ] Hose Integrity Check (No cracks or abrasions detected, Visible cracks or surface damage, Significant leaks or swelling)

[ ] Hose Age (Months)

[ ] Detected Issues (Leaking Nozzle, Cracked Hose, Broken Breakaway, Faulty Meter/Display)

[ ] Detailed Repair Notes

[ ] Photo of Equipment Damage

[ ] Inspector Signature

--- EMERGENCY SHUTDOWN & FIRE SUPPRESSION SYSTEMS ---

[ ] Emergency Shutdown Button Status (Operational/Functional, Non-Functional/Requires Repair, Not Applicable)

[ ] Fire Extinguisher Pressure Check (In Green Zone (Charged), In Red Zone (Depressurized), Missing/Not Found)

[ ] Last Fire Suppression System Service Date

[ ] Deficiencies or Repairs Required

[ ] Photo Evidence of Equipment Condition

[ ] Inspector Verification

--- CONTAINMENT & SPILL PREVENTION CONTROLS ---

[ ] Secondary Containment Integrity Status (Intact - No visible leaks or debris, Maintenance Required - Minor cracks or buildup, Critical Issue - Active leak or breach detected)

[ ] Spill Kit Inventory Checklist (Absorbent Pads, Absorbent Socks/Booms, Disposal Bags & Ties, Neutralizing Agents, Drain Covers)

[ ] Oil-Water Separator Maintenance Interval (Days)

[ ] Photo Evidence of Containment Area

[ ] Spill Prevention Corrective Actions

[ ] Inspector Verification

--- ELECTRICAL & GROUNDING SAFETY ---

[ ] Grounding Wire Integrity Status (Secure and Undamaged, Corroded or Loose, Missing or Severed)

[ ] Explosion-Proof Lighting Condition (Operational/Intact, Damaged/Cracked Lens, Non-functional)

[ ] Voltage Reading (Main Panel)

[ ] Observed Electrical Anomalies

[ ] Corrective Action Required

[ ] Inspector Verification

--- SIGNAGE, LABELING & REGULATORY COMPLIANCE ---

[ ] Hazard Signage Condition (Clear and Visible, Faded/Damaged, Missing)

[ ] Emergency Contact Information Visibility (Compliant, Non-Compliant)

[ ] Required Regulatory Labels Present (Flammable Liquid Warnings, No Smoking Prohibitions, Tank Contents Identification, Maximum Capacity Marks)

[ ] Discrepancies or Missing Signage Details

[ ] Photo Evidence of Compliance

[ ] Last Regulatory Permit Review Date

[ ] Inspector Attestation

--- SITE PERIMETER & SECURITY ASSESSMENT ---

[ ] Perimeter Fencing Integrity (Intact and Secure, Damaged/Breached, Needs Maintenance)

[ ] Security Lighting Functionality (All lights operational, Partial outage detected, Significant dark spots identified)

[ ] Security Features Inspected (CCTV Cameras, Motion Sensors, Access Gates, Security Lighting, Perimeter Fencing)

[ ] Security Vulnerability Observations

[ ] Site Perimeter Photos

[ ] Inspector Verification

--- PERSONNEL SAFETY & PPE AVAILABILITY ---

[ ] Available PPE Items Verified (Safety Gloves, Safety Goggles/Face Shields, High-Visibility Vests, Nitrile/Chemical Resistant Gloves, Eye Wash Station Access)

[ ] PPE Condition Status (All items in good condition, Some items require replacement, Critical PPE missing/damaged)

[ ] PPE Deficiency Details

[ ] Safety Officer Verification

[ ] Inspection Date

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/inspection-management/fleet-fueling-station-compliance-and-safety-inspection-checklist-2026

(Click "Install Template" to launch your digital inspection tool immediately)