FOOTING FORMWORK INSPECTION CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-POUR VERIFICATION ---
[ ] Pour Date
[ ] Pour Time
[ ] Approved Pour Plan? (Yes, No)
[ ] Concrete Strength (f'c)
[ ] Pour Plan Review Comments (if applicable)
[ ] Utilities Located and Marked? (Yes, No, N/A)
[ ] Weather Forecast Review & Mitigation Plan (if needed)
[ ] Water Management Plan in Place? (Yes, No)

--- FORMWORK ALIGNMENT & DIMENSIONS ---
[ ] Footing Width (actual)
[ ] Footing Length (actual)
[ ] Footing Depth (actual)
[ ] Check of Level Deviation (max)
[ ] Formwork Alignment with Plan (Accurate, Minor Deviation (within tolerance), Significant Deviation (outside tolerance) - Requires Correction)
[ ] Corner Alignment (Square, Slightly Out of Square, Significantly Out of Square)
[ ] Notes on Dimensional Discrepancies/Corrections Needed

--- FORMWORK BRACING & SUPPORT ---
[ ] Spacing between Braces (Max)
[ ] Height of Formwork
[ ] Brace Condition (Good, Fair, Poor)
[ ] Bracing Type(s) Present (Diagonal Braces, Vertical Supports, Horizontal Restraints, Shear Walls)
[ ] Formwork Stability Assessment (Stable, Slightly Unstable, Unstable)
[ ] Comments on Bracing and Support

--- FORMWORK MATERIALS & CONDITION ---
[ ] Formwork Moisture Content (%)
[ ] Formwork Material Type (Plywood, OSB, Steel, Aluminum, Other)
[ ] Description of Formwork Condition (Cracks, Splits, etc.)
[ ] Presence of Oil/Grease on Formwork Surface (Yes, No)
[ ] Formwork Treatment (if applicable) (Release Agent Applied, Waterproofed, Untreated, Other)
[ ] Photos of Formwork Condition

--- REINFORCEMENT COVER & PLACEMENT ---
[ ] Minimum Concrete Cover (mm)
[ ] Measured Concrete Cover (mm) - Location 1
[ ] Measured Concrete Cover (mm) - Location 2
[ ] Measured Concrete Cover (mm) - Location 2
[ ] Rebar Tie Wire Secure? (Yes, No, NA)
[ ] Rebar Placement Issues? (Incorrect Spacing, Insufficient Overlap, Improper Location, No Issues)
[ ] Comments on Rebar Placement/Cover

--- UTILITIES & OBSTRUCTIONS ---
[ ] Are underground utilities identified and marked? (Yes, No, N/A)
[ ] Utility Location Details (if applicable)
[ ] Are existing obstructions (e.g., rocks, debris) removed? (Yes, No, N/A)
[ ] Details of any remaining obstructions and mitigation plans:
[ ] Utility Marking/As-Built Drawings (if available):
[ ] Distance from formwork to nearest utility (in feet/meters):

--- WEATHER CONSIDERATIONS ---
[ ] Air Temperature (Current)
[ ] Wet-Bulb Temperature (Current)
[ ] Weather Forecast (Next 24 Hours) (Clear, Partly Cloudy, Rain, Snow, Thunderstorms)
[ ] Potential for Freezing? (Yes, No)
[ ] Notes on Weather Impact/Mitigation

--- SAFETY & ACCESS ---
[ ] Are appropriate PPE (Personal Protective Equipment) being used by all personnel? (Yes, all personnel wearing required PPE, No, some personnel not wearing required PPE, N/A - No personnel present)
[ ] Are barricades and warning signs in place around the work area? (Yes, barricades and signage adequate, No, barricades/signage missing or inadequate, N/A - No public access)
[ ] Number of access points to the formwork?
[ ] Access route condition (Clear and safe, Slightly obstructed, Hazardous - Requires immediate attention)
[ ] Any observed safety concerns or hazards?
[ ] Inspector Signature

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/construction/footing-formwork-inspection-checklist
(Click "Install Template" to launch your digital inspection tool immediately)