## 6a390ee55a1e7cf130c0cc74
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Freezer Identification & Setup (STEP)
Freezer ID/Asset Tag (TEXT)
Freezer Capacity (cu ft) (NUMBER)
Freezer Type (SELECTION options: Upright, Chest, Walk-in)
Last Calibration Date (DATE)
Time of Last Calibration (DATE)
Calibration Technician Name (TEXT)
Freezer Location (Room/Area) (LOCATION)
Notes on Freezer Condition/Setup (TEXT)

Temperature Readings - Morning (STEP)
Morning Reading Time (DATE)
Freezer 1 Temperature (°C) (NUMBER)
Freezer 1 Temperature (°F) (NUMBER)
Freezer 2 Temperature (°C) (NUMBER)
Freezer 2 Temperature (°F) (NUMBER)
Temperature Within Range? (SELECTION options: Yes, No, N/A)
Notes/Observations (Morning) (TEXT)

Temperature Readings - Midday (STEP)
Midday Reading Time (DATE)
Freezer 1 Temperature (°C/°F) (NUMBER)
Freezer 1 Temperature Deviation from Target (°C/°F) (NUMBER)
Freezer 1 Temperature Status (SELECTION options: Within Range, Slightly Above Range, Slightly Below Range, Outside Range)
Comments/Observations (Freezer 1) (TEXT)
Freezer 2 Temperature (°C/°F) (NUMBER)
Freezer 2 Temperature Deviation from Target (°C/°F) (NUMBER)

Temperature Readings - Evening (STEP)
Reading Time (DATE)
Freezer 1 Temperature (°C/°F) (NUMBER)
Freezer 2 Temperature (°C/°F) (NUMBER)
Freezer 3 Temperature (°C/°F) (NUMBER)
Temperature Status (SELECTION options: Within Range, Slightly Outside Range, Outside Range - Action Required)
Comments/Observations (TEXT)
Alarm Status (SELECTION options: No Alarm, Alarm Active, Alarm Reset)

Alarm & System Functionality (STEP)
Alarm Setpoint Temperature (High) (NUMBER)
Alarm Setpoint Temperature (Low) (NUMBER)
Alarm System Status (SELECTION options: Operational, Faulted, Testing)
Data Logging Functionality (SELECTION options: Working Correctly, Not Working, Partially Working)
Alarm History (if any) (TEXT)
Power Backup Status (SELECTION options: Operational, Faulted, N/A)
Notes on System Functionality (e.g., any unusual behavior) (TEXT)

Documentation & Corrective Actions (STEP)
Date of Deviation (DATE)
Time of Deviation (DATE)
Temperature Reading (Out of Range) (NUMBER)
Acceptable Temperature Range (Lower Limit) (NUMBER)
Acceptable Temperature Range (Upper Limit) (NUMBER)
Description of Deviation/Issue (TEXT)
Corrective Actions Taken (TEXT)
Root Cause (if known) (SELECTION options: Equipment Malfunction, Power Outage, Door Left Open, Overloading Freezer, Unknown)
Status of Corrective Action (SELECTION options: Completed, In Progress, Pending)
Signature of Person Taking Corrective Action (SIGNATURE)

Calibration & Maintenance (STEP)
Last Calibration Date (DATE)
Calibration Reading (High) (NUMBER)
Calibration Reading (Low) (NUMBER)
Calibration Notes/Observations (TEXT)
Last Preventative Maintenance Date (DATE)
Maintenance Performed (Detailed Description) (TEXT)
Maintenance Type (SELECTION options: Routine Cleaning, Filter Replacement, Condenser Coil Cleaning, Component Inspection, Other)
Maintenance Log/Work Order (Optional) (UPLOAD)
Next Calibration Due (SELECTION options: Within 1 Month, Within 3 Months, Within 6 Months, Within 12 Months)
Next Calibration Scheduled Time (DATE)