## 6a3911185a1e7cf130c0d44b
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Pre-Operational Checks (STEP)
Planned Startup Date (DATE)
Scheduled Startup Time (DATE)
Initial Reservoir Pressure (PSI) (NUMBER)
Initial Fluid Temperature (°C) (NUMBER)
Fluid Composition Verified? (SELECTION options: Yes, No)
Well Test Results (UPLOAD)
Pre-Startup Observations (TEXT)
Pre-Startup Verification Signature (SIGNATURE)

Wellfield Monitoring (STEP)
Injection Well Pressure (PSI) (NUMBER)
Reservoir Temperature (°C) (NUMBER)
Flow Rate (L/s) (NUMBER)
Date of Monitoring (DATE)
Time of Monitoring (DATE)
Well Appearance (Visual Inspection) (SELECTION options: Normal, Minor Corrosion, Significant Corrosion, Leaks Observed)
Notes/Observations (TEXT)
Wellhead Photo (Optional) (UPLOAD)

Power Plant Equipment Inspection (STEP)
Turbine Inlet Temperature (°C) (NUMBER)
Generator Vibration Levels (mm/s) (NUMBER)
Heat Exchanger Pressure Drop (kPa) (NUMBER)
Cooling Tower Fan Motor Condition (SELECTION options: Excellent, Good, Fair, Poor)
Observations – Turbine (TEXT)
Observations – Generator (TEXT)
Thermal Image - Heat Exchanger (UPLOAD)
Last Lubricant Change Date - Gearbox (DATE)

Fluid Management & Reinjection (STEP)
Injection Well Pressure (PSI) (NUMBER)
Discharge Temperature (°C) (NUMBER)
Fluid Flow Rate (GPM) (NUMBER)
Fluid Appearance (SELECTION options: Clear, Cloudy, Milky, Silty)
Fluid Odor (SELECTION options: None, Slightly Sulfurous, Strongly Sulfurous, Other)
Any Unusual Observations (TEXT)
Last Reinjection Well Servicing Date (DATE)

Safety & Environmental Compliance (STEP)
Air Emissions Monitoring Status (SELECTION options: Compliant, Minor Exceedance, Significant Exceedance, Not Monitored)
Noise Level Measurement (dB) (NUMBER)
Last Spill Prevention and Response Plan Review Date (DATE)
Environmental Impact Assessment (EIA) Documentation (UPLOAD)
Waste Management Procedures Followed (SELECTION options: Hazardous Waste Segregation, Waste Recycling Program, Proper Disposal Records Maintained, Spill Containment Measures)
Permit Status (Air, Water, Waste) (SELECTION options: Active & Compliant, Pending Renewal, Expired, Violation)
Summary of Environmental Incidents (if any) (TEXT)

Emergency Response Readiness (STEP)
Emergency Shutdown Time (seconds) (NUMBER)
Fire Suppression System Status (SELECTION options: Operational, Needs Inspection, Out of Service)
Last Emergency Drill Date (DATE)
Scheduled Emergency Drill Time (DATE)
Summary of Last Emergency Drill Findings (TEXT)
Emergency Contact Notifications Sent? (SELECTION options: Internal Team, Regulatory Agencies, Local Authorities, Media)
Emergency Response Plan Document (UPLOAD)

Data Acquisition & Control System (STEP)
Data Acquisition System Uptime (%) (NUMBER)
Last Data Integrity Check Date (DATE)
Last System Synchronization Time (DATE)
Communication Protocol Status (SELECTION options: Active, Degraded, Inactive)
Data Sampling Rate (Hz) (NUMBER)
Description of any Data Anomalies Detected (TEXT)
Screenshot of Control Panel (UPLOAD)

Regulatory Reporting (STEP)
Reporting Period Start Date (DATE)
Reporting Period End Date (DATE)
Report Type (SELECTION options: Production Report, Emissions Report, Waste Management Report, Incident Report)
Total Power Generated (MWh) (NUMBER)
Fluid Extraction Rate (bbl/day) (NUMBER)
Summary of Unusual Events or Incidents (TEXT)
Supporting Documentation (e.g., flow rate logs) (UPLOAD)
Report Submission Status (SELECTION options: Not Submitted, Submitted, Approved)

Maintenance Records Review (STEP)
Review Period Start Date (DATE)
Review Period End Date (DATE)
Total Number of Work Orders Reviewed (NUMBER)
Percentage of Work Orders Completed On Time (NUMBER)
Summary of Recurring Maintenance Issues (TEXT)
Overall Maintenance Record Quality (SELECTION options: Excellent, Good, Fair, Poor)
Sample Maintenance Record Upload (UPLOAD)
Recommendations for Maintenance Process Improvement (TEXT)

Personnel Training & Certification (STEP)
Employee ID (NUMBER)
Training Program (SELECTION options: Geothermal System Operation, Emergency Response, Environmental Compliance, Safety Procedures)
Training Completion Date (DATE)
Hours of Training (NUMBER)
Certification Level (SELECTION options: Level 1, Level 2, Level 3)
Training Certificate (UPLOAD)
Certification Expiration Date (DATE)