## 6a410fad8d045fc590b661a7
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Retrieve Equipment Inventory (ENTRY_GET)	Fetch all active medical devices and machinery from the Equipment Data Model to check maintenance schedules.
2. Check Technician Availability (ENTRY_GET)	Retrieve staff entries from the Personnel Data Model to identify available maintenance engineers.
3. Update Equipment Status (ENTRY_UPDATE)	Update the status of a specific machine entry to 'Under Maintenance' or 'Out of Order' in the Equipment Data Model.
4. Log Maintenance Incident (ENTRY_CREATE)	Create a new entry in the Maintenance Log Data Model when a fault is reported.
5. Generate Work Order (ENTRY_CREATE)	Create a new entry in the Work Order Data Model containing the repair details and assigned technician.
6. Assign Repair Task (TASK_CREATE)	Create a task for the assigned technician to perform the physical inspection and repair.
7. Safety Inspection Task (TASK_CREATE)	Create a task for the Safety Officer to verify that the facility meets compliance standards after repair.
8. Calculate Days Since Last Service (CALCULATION)	Calculate the delta between the current date and the 'Last Maintenance Date' field to determine if service is overdue.
9. Calculate Maintenance Cost (CALCULATION)	Calculate the total cost of the maintenance event by summing parts and labor.
10. Total Monthly Maintenance Spend (ENTRY_AGGREGATE)	Aggregate all maintenance entries from the current month to calculate the total expenditure.
11. Average Downtime Duration (ENTRY_AGGREGATE)	Calculate the average time between 'Issue Reported' and 'Issue Resolved' across all recent work orders.
12. Notify Facility Manager (EMAIL)	Send an email alert to the Facility Manager when a critical piece of equipment is marked as 'Out of Order'.
13. Alert Technician (SMS)	Send an SMS notification to the assigned technician when a new high-priority Work Order is assigned to them.
14. Monthly Compliance Report (REPORT_CREATE)	Generate a periodic report summarizing all completed inspections and any failed safety checks for regulatory auditing.
15. Archive Completed Records (ENTRY_DELETE)	Remove or move old, completed maintenance entries from the active view to the archive data model.
End (END)	End of the Workflow/Process