HOTEL FIRE SAFETY CHECKLIST TEMPLATE

Created by ChecklistGuro (https://checklistguro.com)

--- FIRE ALARM SYSTEM ---
[ ] Panel Status Code
[ ] Panel Battery Voltage (Normal, Low, Critical)
[ ] Last System Test Date
[ ] Time of Last System Test
[ ] Initiating Device Test Result (Pass, Fail, N/A)
[ ] Notes/Comments

--- EMERGENCY LIGHTING ---
[ ] Lumens Output (each fixture)
[ ] Battery Condition (Good, Fair, Poor)
[ ] Last Battery Replacement Date
[ ] Test Result (Pass, Fail)
[ ] Notes / Comments (if applicable)

--- FIRE EXTINGUISHERS ---
[ ] Extinguisher ID/Tag Number
[ ] Extinguisher Type (A, B, C, etc.) (A, B, C, ABC, K)
[ ] Pressure Gauge Reading (PSI)
[ ] Condition of Gauge Needle (In Green Zone, In Yellow Zone, In Red Zone)
[ ] Condition of Extinguisher (Good, Minor Damage, Major Damage, Empty)
[ ] Notes/Comments (e.g., rust, leaks, damage)
[ ] Inspection Date
[ ] Inspector Signature

--- SMOKE DETECTORS ---
[ ] Detector ID Number
[ ] Detector Status (Operational, Malfunctioning, Missing)
[ ] Battery Condition (Good, Low, Needs Replacement)
[ ] Last Battery Replacement Date
[ ] Notes/Observations
[ ] Test Result (Pass, Fail)

--- SPRINKLER SYSTEM ---
[ ] Sprinkler Head Condition (0-10, 10=Excellent)
[ ] Sprinkler Head Orientation (Pendant, Upright, Sidewall)
[ ] Notes on Sprinkler Head Condition or Orientation
[ ] Water Pressure (PSI)
[ ] Details of any Obstructions found
[ ] Visible Corrosion? (Yes, No)
[ ] Date of Last Professional Inspection

--- EXIT ROUTES & SIGNAGE ---
[ ] Number of Exit Signs Present
[ ] Condition of Exit Signage (Legible?) (Yes, No, Partially Obstructed)
[ ] Are Exit Routes Clear of Obstructions? (Yes, No)
[ ] Description of Obstructions (if any)
[ ] Exit Path Well-Lit? (Yes, No)
[ ] Location of Any Obstructions

--- FIRE DOORS & EXITS ---
[ ] Fire Door Inspection Rating (0-10)
[ ] Door Self-Closing Functionality? (Yes, No, N/A)
[ ] Door Hardware Functionality? (Fully Functional, Minor Issues, Major Issues, N/A)
[ ] Details on any obstructions or issues found:
[ ] Exit Sign Illumination (Working, Dim, Not Working, N/A)
[ ] Last Maintenance Date

--- EMERGENCY EVACUATION PLAN ---
[ ] Summary of Evacuation Procedures
[ ] Floor Plan with Evacuation Routes
[ ] Number of Evacuation Drills Conducted This Year
[ ] Date of Last Evacuation Drill
[ ] Start Time of Last Evacuation Drill
[ ] Drill Type (e.g., Fire, Earthquake) (Fire, Earthquake, Other)
[ ] Notes/Observations from Last Drill

--- STAFF TRAINING ---
[ ] Last Fire Safety Training Date
[ ] Topics Covered in Training (Evacuation Procedures, Fire Extinguisher Use, Emergency Communication, First Aid Basics, Fire Prevention)
[ ] Number of Staff Trained
[ ] Training Notes/Observations
[ ] Trainer Qualification (Certified Fire Marshal, Designated Safety Officer, External Training Provider)
[ ] Training Certificates/Records

--- RECORD KEEPING ---
[ ] Inspection Date
[ ] Inspection Time
[ ] Fire Extinguisher Inspection Tag Number
[ ] Notes/Comments (e.g., corrective actions taken)
[ ] Inspection Performed By (Internal Staff, Third-Party Inspector)
[ ] Inspector Signature
[ ] Supporting Documentation (e.g., inspection reports)

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/hospitality/hotel-fire-safety-checklist-template
(Click "Install Template" to launch your digital inspection tool immediately)