HVAC DUCTWORK INSTALLATION CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-INSTALLATION & PLANNING ---

[ ] Review HVAC Drawings & Specifications? (Yes, No)

[ ] Review HVAC Permit(s)? (Yes, No)

[ ] Date of Plan Review Completion

[ ] Summary of Plan Review Findings & Discrepancies

[ ] Site Survey Completed? (Yes, No)

[ ] Details of Site Conditions (Obstacles, Existing Utilities, etc.)

[ ] Estimated Ductwork Length (Feet)

[ ] Confirm Material Delivery Schedule? (Yes, No)

[ ] Location of Material Staging Area

--- MATERIAL VERIFICATION & STORAGE ---

[ ] Ductwork Order Quantity (Total Linear Feet)

[ ] Duct Material Type Received (Galvanized Steel, Aluminum, Stainless Steel, Flexible Ducting, Other)

[ ] Gauge of Steel Received (if applicable) (.018, .020, .025, Other)

[ ] Material Receiving Notes (damage, shortages, etc.)

[ ] Insulation Type Received (Fiberglass, Foam, Mineral Wool, Other)

[ ] Insulation R-Value Received

[ ] Material Delivery Receipt/Packing List

[ ] Storage Location Notes (e.g., covered/uncovered, protected from elements)

[ ] Condition of Delivered Materials (Excellent, Good, Fair, Poor)

--- DUCTWORK FABRICATION & FITTING ---

[ ] Duct Length Variation (inches)

[ ] Duct Width Deviation (inches)

[ ] Joint Type Used (e.g., crimped, screwed, welded) (Crimped, Screwed, Welded, Other - Specify)

[ ] Description of 'Other' Joint Type (if selected)

[ ] Sealant Types Used (check all that apply) (Mastic, Foil Tape, UL 181 Listed Duct Sealant, None)

[ ] Duct Profile Alignment (Aligned, Minor Misalignment (less than 1/4 inch), Significant Misalignment (greater than 1/4 inch) - Requires Correction)

[ ] Photographic Evidence of Key Joints

--- DUCTWORK HANGING & SUPPORT ---

[ ] Hanger Spacing (Feet)

[ ] Maximum Duct Sag (Inches)

[ ] Hanger Type Used (Wire Hanger, Rope Hanger, Bracket Hanger, Clip Hanger, Other (Specify))

[ ] Notes on Hanger Placement/Adjustments

[ ] Support Materials Verified? (Hangers, Rods, Brackets, Hardware, N/A)

[ ] Ductwork Secured to Structure? (Yes, No)

--- SEALING & INSULATION ---

[ ] Insulation Type Verified? (Fiberglass, Mineral Wool, Foam (specify type), Other (specify))

[ ] Insulation Thickness (inches)

[ ] Joint Sealant Type (Mastic, Foil Tape, Acoustic Sealant, Other (specify))

[ ] Notes on Sealant Application

[ ] Sealed Areas (Duct Joints, Penetrations (e.g., pipes, wiring), Connections to Equipment, Transitions between Duct Sizes)

[ ] Vapor Barrier Installed? (Yes, No, Not Required)

[ ] Sealant/Insulation Material Certificates (if required)

--- CONNECTION TO EQUIPMENT ---

[ ] Equipment Connection Type (Furnace, Air Conditioner, Heat Pump, Fan Coil Unit, Other (Specify in Long Text))

[ ] Specify 'Other' Equipment Type (if applicable)

[ ] Static Pressure at Equipment Connection (inches of water)

[ ] Connection Method (Slip & Seal, Flange with Gasket, Direct Connect, Other (Specify in Long Text))

[ ] Specify 'Other' Connection Method (if applicable)

[ ] Connection Sealant Used (if applicable) (None, Mastic, Duct Tape, Foam Tape, Other (Specify in Long Text))

[ ] Specify 'Other' Sealant Used (if applicable)

[ ] Photo of Equipment Connection

[ ] Connection Leak Tested? (Yes, No)

--- TESTING & BALANCING ---

[ ] Static Pressure Measurement (Supply)

[ ] Static Pressure Measurement (Return)

[ ] Airflow Measurement (CFM) – System Total

[ ] Pressure Testing Outcome (Pass, Fail, NA (Not Applicable))

[ ] Pressure Test Details (if fail)

[ ] Testing Methods Used (Pressure Test, Smoke Test, Differential Pressure Test, CFM Measurement)

[ ] Date of Balancing

[ ] Time of Balancing

[ ] Balancing Notes/Adjustments Made

--- FINAL INSPECTION & CLEAN-UP ---

[ ] Visual Inspection - Ductwork Condition: (No Damage, Minor Damage (Documented), Significant Damage (Requires Repair))

[ ] Sealing Material Integrity: (Satisfactory, Needs Improvement, Unsatisfactory)

[ ] Air Leakage Test Result (CFM/ft²):

[ ] Noise Level Acceptable? (Yes, No)

[ ] Comments/Observations:

[ ] Inspection Date:

[ ] Inspection Time:

[ ] Inspector Signature:

[ ] Attach Photos of Inspection:

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/construction/hvac-ductwork-installation-checklist

(Click "Install Template" to launch your digital inspection tool immediately)