## 6a390e5d5a1e7cf130c0ca84
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Pre-Installation & Planning (STEP)
Review HVAC Drawings & Specifications? (SELECTION options: Yes, No)
Review HVAC Permit(s)? (SELECTION options: Yes, No)
Date of Plan Review Completion (DATE)
Summary of Plan Review Findings & Discrepancies (TEXT)
Site Survey Completed? (SELECTION options: Yes, No)
Details of Site Conditions (Obstacles, Existing Utilities, etc.) (TEXT)
Estimated Ductwork Length (Feet) (NUMBER)
Confirm Material Delivery Schedule? (SELECTION options: Yes, No)
Location of Material Staging Area (LOCATION)

Material Verification & Storage (STEP)
Ductwork Order Quantity (Total Linear Feet) (NUMBER)
Duct Material Type Received (SELECTION options: Galvanized Steel, Aluminum, Stainless Steel, Flexible Ducting, Other)
Gauge of Steel Received (if applicable) (SELECTION options: .018, .020, .025, Other)
Material Receiving Notes (damage, shortages, etc.) (TEXT)
Insulation Type Received (SELECTION options: Fiberglass, Foam, Mineral Wool, Other)
Insulation R-Value Received (NUMBER)
Material Delivery Receipt/Packing List (UPLOAD)
Storage Location Notes (e.g., covered/uncovered, protected from elements) (TEXT)
Condition of Delivered Materials (SELECTION options: Excellent, Good, Fair, Poor)

Ductwork Fabrication & Fitting (STEP)
Duct Length Variation (inches) (NUMBER)
Duct Width Deviation (inches) (NUMBER)
Joint Type Used (e.g., crimped, screwed, welded) (SELECTION options: Crimped, Screwed, Welded, Other - Specify)
Description of 'Other' Joint Type (if selected) (TEXT)
Sealant Types Used (check all that apply) (SELECTION options: Mastic, Foil Tape, UL 181 Listed Duct Sealant, None)
Duct Profile Alignment (SELECTION options: Aligned, Minor Misalignment (less than 1/4 inch), Significant Misalignment (greater than 1/4 inch) - Requires Correction)
Photographic Evidence of Key Joints (UPLOAD)

Ductwork Hanging & Support (STEP)
Hanger Spacing (Feet) (NUMBER)
Maximum Duct Sag (Inches) (NUMBER)
Hanger Type Used (SELECTION options: Wire Hanger, Rope Hanger, Bracket Hanger, Clip Hanger, Other (Specify))
Notes on Hanger Placement/Adjustments (TEXT)
Support Materials Verified? (SELECTION options: Hangers, Rods, Brackets, Hardware, N/A)
Ductwork Secured to Structure? (SELECTION options: Yes, No)

Sealing & Insulation (STEP)
Insulation Type Verified? (SELECTION options: Fiberglass, Mineral Wool, Foam (specify type), Other (specify))
Insulation Thickness (inches) (NUMBER)
Joint Sealant Type (SELECTION options: Mastic, Foil Tape, Acoustic Sealant, Other (specify))
Notes on Sealant Application (TEXT)
Sealed Areas (SELECTION options: Duct Joints, Penetrations (e.g., pipes, wiring), Connections to Equipment, Transitions between Duct Sizes)
Vapor Barrier Installed? (SELECTION options: Yes, No, Not Required)
Sealant/Insulation Material Certificates (if required) (UPLOAD)

Connection to Equipment (STEP)
Equipment Connection Type (SELECTION options: Furnace, Air Conditioner, Heat Pump, Fan Coil Unit, Other (Specify in Long Text))
Specify 'Other' Equipment Type (if applicable) (TEXT)
Static Pressure at Equipment Connection (inches of water) (NUMBER)
Connection Method (SELECTION options: Slip & Seal, Flange with Gasket, Direct Connect, Other (Specify in Long Text))
Specify 'Other' Connection Method (if applicable) (TEXT)
Connection Sealant Used (if applicable) (SELECTION options: None, Mastic, Duct Tape, Foam Tape, Other (Specify in Long Text))
Specify 'Other' Sealant Used (if applicable) (TEXT)
Photo of Equipment Connection (UPLOAD)
Connection Leak Tested? (SELECTION options: Yes, No)

Testing & Balancing (STEP)
Static Pressure Measurement (Supply) (NUMBER)
Static Pressure Measurement (Return) (NUMBER)
Airflow Measurement (CFM) – System Total (NUMBER)
Pressure Testing Outcome (SELECTION options: Pass, Fail, NA (Not Applicable))
Pressure Test Details (if fail) (TEXT)
Testing Methods Used (SELECTION options: Pressure Test, Smoke Test, Differential Pressure Test, CFM Measurement)
Date of Balancing (DATE)
Time of Balancing (DATE)
Balancing Notes/Adjustments Made (TEXT)

Final Inspection & Clean-up (STEP)
Visual Inspection - Ductwork Condition: (SELECTION options: No Damage, Minor Damage (Documented), Significant Damage (Requires Repair))
Sealing Material Integrity: (SELECTION options: Satisfactory, Needs Improvement, Unsatisfactory)
Air Leakage Test Result (CFM/ft²): (NUMBER)
Noise Level Acceptable? (SELECTION options: Yes, No)
Comments/Observations: (TEXT)
Inspection Date: (DATE)
Inspection Time: (DATE)
Inspector Signature: (SIGNATURE)
Attach Photos of Inspection: (UPLOAD)