HVAC MAINTENANCE CHECKLIST TEMPLATE

Created by ChecklistGuro (https://checklistguro.com)

--- SAFETY & INITIAL INSPECTION ---

[ ] Date of Inspection

[ ] Time of Inspection

[ ] Equipment Location

[ ] Lockout/Tagout Procedure Verified? (Yes, No, N/A)

[ ] Weather Conditions

[ ] Inspector's Name

[ ] PPE Usage Confirmed? (Yes, No)

--- FILTER INSPECTION & REPLACEMENT ---

[ ] Filter Inspection Date

[ ] MERV Rating (if known)

[ ] Filter Condition (Clean, Slightly Dirty, Dirty, Very Dirty)

[ ] Filter Replacement Required? (Yes, No)

[ ] Filter Size (e.g., 16x25x1)

[ ] Filter Part Number (if applicable)

[ ] Filter Photo (Optional)

--- COIL CLEANING ---

[ ] Description of Coil Condition (Prior to Cleaning)

[ ] Coil Type (Aluminum, Copper, Stainless Steel, Other)

[ ] Coil Temperature (Prior to Cleaning) - °F

[ ] Cleaning Method Used (e.g., Chemical, Water Blast)

[ ] Cleaning Solution Concentration (%)

[ ] Description of Coil Condition (After Cleaning)

[ ] Coil Temperature (After Cleaning) - °F

--- REFRIGERANT LEVEL & PRESSURE ---

[ ] Suction Pressure (Low Side)

[ ] Liquid Line Pressure (High Side)

[ ] Superheat (degrees F)

[ ] Subcooling (degrees F)

[ ] Refrigerant Type (R-22, R-410A, R-134a, R-32, Other)

[ ] Leak Detection Notes (if applicable)

[ ] Recharge Required? (Yes, No)

[ ] Refrigerant Added (oz)

--- ELECTRICAL COMPONENT INSPECTION ---

[ ] Voltage (V)

[ ] Amperage (A)

[ ] Capacitor Status (Good, Bulged, Leaking, Failed)

[ ] Wiring Condition (Good, Frayed, Exposed, Damaged)

[ ] Notes on Electrical Components

[ ] Electrical Component Photos (Optional)

--- BLOWER MOTOR & FAN INSPECTION ---

[ ] Blower Motor RPM

[ ] Motor Bearing Temperature (°F)

[ ] Bearing Condition (Good, Fair, Poor, Requires Replacement)

[ ] Fan Blade Condition Notes

[ ] Lubrication Required? (Yes, No)

[ ] Lubrication Details (if applicable)

[ ] Amperage Draw

--- DRAIN LINE INSPECTION & CLEANING ---

[ ] Describe Current Condition of Drain Line

[ ] Signs of Blockage Found? (Algae/Slime, Debris (leaves, dust), Mineral Deposits, No Signs of Blockage)

[ ] Drain Line Slope (inches per foot)

[ ] Cleaning Method Used

[ ] Amount of Debris Removed (gallons)

[ ] Date of Last Drain Line Cleaning

--- THERMOSTAT CALIBRATION & FUNCTIONALITY ---

[ ] Current Thermostat Setting

[ ] Actual Room Temperature (measured)

[ ] Temperature Difference (Actual - Set)

[ ] Thermostat Mode (Heat/Cool/Auto/Off) (Heat, Cool, Auto, Off)

[ ] Calibration Adjustment Needed? (Yes, No)

[ ] Calibration Adjustment Details (if applicable)

[ ] Last Calibration Date

--- OVERALL PERFORMANCE & NOTES ---

[ ] Supply Air Temperature (°F)

[ ] Return Air Temperature (°F)

[ ] Differential Temperature (°F)

[ ] System Noise Observations

[ ] Unusual Smells Detected?

[ ] Overall System Performance (Excellent, Good, Fair, Poor)

[ ] Corrective Actions Taken

[ ] Next Scheduled Maintenance Date

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/maintenance-management/hvac-maintenance-checklist-template

(Click "Install Template" to launch your digital inspection tool immediately)