HVAC SYSTEM EFFICIENCY AUDIT

Created by ChecklistGuro (https://checklistguro.com)

--- PRELIMINARY ASSESSMENT & DATA GATHERING ---

[ ] Date of Last HVAC System Inspection

[ ] Brief Description of HVAC System (e.g., Type, Age, Capacity)

[ ] Total Building Square Footage

[ ] Number of Occupants (Typical)

[ ] Type of Building (Office, Retail, Healthcare, etc.) (Office, Retail, Healthcare, Educational, Industrial, Other)

[ ] Existing Energy Bills (most recent 12 months) - summary of usage and costs.

[ ] Building HVAC System Layout/Schematics (if available)

--- BUILDING ENVELOPE & LOAD CALCULATION ---

[ ] Building Year of Construction

[ ] Description of Building Envelope Materials (walls, roof, windows)

[ ] U-Value of Exterior Walls (BTU/hr·ft²·°F)

[ ] R-Value of Roof Insulation

[ ] Window U-Factor

[ ] Solar Heat Gain Coefficient (SHGC) of Windows

[ ] Condition of Window Seals (drafty, good, deteriorating) (Drafty, Good, Deteriorating)

[ ] Notes on shading (overhangs, landscaping, etc.) and its impact on heating/cooling loads.

--- EQUIPMENT INSPECTION & PERFORMANCE EVALUATION ---

[ ] Chiller COP (Coefficient of Performance)

[ ] Boiler Thermal Efficiency (%)

[ ] AHU Fan Power (kW)

[ ] Visible Signs of Water Leaks on Equipment? (Yes, No, Unsure)

[ ] Notes on compressor noise or vibration (if applicable)

[ ] Condition of belts and pulleys (if applicable) (Good, Fair, Poor, N/A)

[ ] Supply Air Temperature (°C)

[ ] Return Air Temperature (°C)

[ ] Additional observations/comments on equipment performance

--- CONTROL SYSTEM ANALYSIS ---

[ ] BAS Version Number

[ ] BAS Manufacturer (Siemens, Honeywell, Johnson Controls, Tridium, Other)

[ ] Which of the following control strategies are implemented? (Demand Limiting, Optimal Start/Stop, Economizer Control, Night Purge, Supply Air Temperature Reset, Chilled Water Temperature Reset)

[ ] Describe any observed anomalies or unexpected behavior in the BAS.

[ ] Is trend data readily accessible and usable for analysis? (Yes, No, Partially)

[ ] Number of schedules actively utilized

[ ] Note any issues with point naming conventions or documentation quality.

--- DUCTWORK & AIR DISTRIBUTION ---

[ ] Overall Ductwork Condition Notes

[ ] Duct Leakage Assessment (No Visible Leaks, Minor Leaks (Easily Sealable), Significant Leaks Requiring Repair, Pressure Decay Test Performed (Results: _____))

[ ] Average Duct Static Pressure (inches of water)

[ ] Duct Insulation Condition (Excellent, Good, Fair, Poor)

[ ] Air Terminal Device (Register/Diffuser) Observations

[ ] Airflow Balancing Issues? (No Issues, Some Areas Over-Supplied, Some Areas Under-Supplied, Requires Balancing Report Review)

[ ] Ductwork/Air Distribution Photos

[ ] Duct Material Type (Galvanized Steel, Aluminum, Fiberglass Ductboard, Flexible Ductwork, Other (Specify: ________))

--- WATER SYSTEMS (CHILLED/HOT WATER) ---

[ ] Chilled Water Supply Temperature (Entering)

[ ] Chilled Water Return Temperature

[ ] Chilled Water Flow Rate (GPM)

[ ] Hot Water Supply Temperature (Entering)

[ ] Hot Water Return Temperature

[ ] Hot Water Flow Rate (GPM)

[ ] Water Treatment Type (e.g., Chemical, Ion Exchange) (Chemical, Ion Exchange, Reverse Osmosis, Other)

[ ] Observations regarding water treatment performance and any recent adjustments.

[ ] Visible Signs of Corrosion? (Yes, No, Uncertain)

--- ENERGY METERING & DATA ANALYSIS ---

[ ] Total HVAC Energy Consumption (kWh)

[ ] Peak HVAC Demand (kW)

[ ] Date of Last Energy Bill Review

[ ] Metering System Type (e.g., building automation, submetering) (Building Automation System (BAS), Submetering, Utility Bills Only, Other)

[ ] Which parameters are currently being monitored? (Temperature, Humidity, Energy Consumption, Water Flow, Pressure, Equipment Runtime)

[ ] Summary of Energy Consumption Trends (Past 12 Months)

[ ] U-Factor (if available - HVAC specific)

[ ] Does the facility have baseline data for comparison? (Yes, No)

--- REPORTING & RECOMMENDATIONS ---

[ ] Executive Summary of Findings

[ ] Estimated Total Cost Savings (Annual)

[ ] Estimated Return on Investment (ROI)

[ ] Prioritized Recommendations (Select all that apply) (Equipment Upgrades, Control System Optimization, Ductwork Sealing/Insulation, Building Envelope Improvements, Operational Adjustments, Energy Management System Implementation)

[ ] Detailed Recommendations & Justification (for each prioritized item)

[ ] Supporting Documentation (e.g., energy modeling reports, vendor quotes)

[ ] Recommended Implementation Start Date

[ ] Additional Notes or Comments

[ ] Auditor Signature

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/hvac-system-efficiency-audit

(Click "Install Template" to launch your digital inspection tool immediately)