HVAC SYSTEM INSPECTION CHECKLIST TEMPLATE

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL INFORMATION ---

[ ] Inspection Date

[ ] Inspection Time

[ ] Property Address

[ ] Inspector Name

[ ] Inspector Company

[ ] Client Name

[ ] Ambient Temperature (°F)

[ ] Weather Conditions

--- SYSTEM IDENTIFICATION ---

[ ] System Serial Number

[ ] System Type (Split System, Package Unit, Heat Pump, VRF/VRV, Other)

[ ] Fuel Type (if applicable) (Electric, Natural Gas, Propane, Oil, Other)

[ ] Manufacturer

[ ] System Capacity (BTU/h or Tons)

[ ] Installation Date (if known)

--- VISUAL INSPECTION - OUTDOOR UNIT ---

[ ] Outdoor Unit Condition (1-5, 1=Excellent, 5=Poor)

[ ] Description of any visible damage (rust, dents, cracks)

[ ] Condition of Cabinet Fins (Clean, Slightly Dirty, Moderately Dirty, Heavily Dirty, Bent/Damaged)

[ ] Attach Photo of Outdoor Unit

[ ] Fan Blade Condition (Good, Warped, Cracked, Missing Sections)

[ ] Notes on overall appearance and cleanliness

--- REFRIGERANT LEVELS & PRESSURES ---

[ ] Suction Pressure (PSIG)

[ ] Liquid Line Pressure (PSIG)

[ ] Suction Line Temperature (°F)

[ ] Liquid Line Temperature (°F)

[ ] Refrigerant Type (R-22, R-410A, R-32, Other)

[ ] Refrigerant Charge Status (Optimal, Low, High, Unknown)

[ ] Notes on Refrigerant Levels & Pressures

--- ELECTRICAL COMPONENTS ---

[ ] Voltage (V)

[ ] Amperage (A)

[ ] Wiring Condition (Good, Frayed/Damaged, Loose Connections)

[ ] Electrical Issues Found (Blown Fuse, Tripped Breaker, Burnt Wiring, No Issues)

[ ] Notes on Electrical Components

--- AIRFLOW & DUCTWORK ---

[ ] Static Pressure (inches of water)

[ ] Supply Air Temperature (F)

[ ] Duct Condition (Excellent, Good, Fair, Poor)

[ ] Ductwork Issues (Leaks, Sagging, Improperly Sealed, Insulation Damage, None)

[ ] Notes on Airflow & Ductwork

[ ] Return Airflow Adequate? (Yes, No)

--- INDOOR UNIT INSPECTION ---

[ ] Supply Air Temperature (°F)

[ ] Return Air Temperature (°F)

[ ] Humidity Level (%)

[ ] Blower Motor Condition (Excellent, Good, Fair, Poor)

[ ] Coil Condition (Clean, Slightly Dirty, Dirty, Heavily Dirty)

[ ] Notes on Unit Operation

[ ] Drain Line Condition (Clear, Slightly Restricted, Restricted, Clogged)

[ ] Photo of Indoor Unit

--- FILTER CONDITION & REPLACEMENT ---

[ ] Last Filter Change Date

[ ] Filter Type (Fiberglass, Pleated, Electrostatic, Other)

[ ] Filter Size (x in x in x in)

[ ] Filter Condition (Excellent, Good, Fair, Poor)

[ ] Notes on Filter Condition

[ ] Filter Replacement Required? (Yes, No)

--- SAFETY DEVICES ---

[ ] High-Pressure Switch Function (Functioning Properly, Malfunctioning, Not Tested)

[ ] Low-Pressure Switch Function (Functioning Properly, Malfunctioning, Not Tested)

[ ] High-Pressure Switch Cut-Out Pressure (PSI)

[ ] Low-Pressure Switch Cut-In Pressure (PSI)

[ ] Flame Sensor Condition (Clean, Dirty/Clogged, Damaged)

[ ] Freeze Sensor Status (If Applicable) (Present and Functional, Missing, Not Tested)

--- PERFORMANCE METRICS ---

[ ] Supply Air Temperature (SAT) (°F)

[ ] Return Air Temperature (RAT) (°F)

[ ] Outdoor Air Temperature (°F)

[ ] Suction Pressure (PSI)

[ ] Liquid Line Pressure (PSI)

[ ] Amperage - Indoor Unit

[ ] Amperage - Outdoor Unit

[ ] System Efficiency (Estimated) (Excellent, Good, Fair, Poor)

--- RECOMMENDATIONS & REPAIRS ---

[ ] Detailed Repair Recommendations

[ ] Estimated Repair Cost

[ ] Recommended Repair Completion Date

[ ] Parts Required (Select all that apply) (Filter, Belt, Refrigerant, Contactor, Capacitor, Fan Motor, Compressor)

[ ] Contractor Contact Information (if applicable)

[ ] Additional Notes/Comments

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/inspection-management/hvac-system-inspection-checklist-template

(Click "Install Template" to launch your digital inspection tool immediately)