## 6a390fa65a1e7cf130c0cf2a
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

General Information (STEP)
Inspection Date (DATE)
Inspection Time (DATE)
Property Address (LOCATION)
Inspector Name (TEXT)
Inspector Company (TEXT)
Client Name (TEXT)
Ambient Temperature (°F) (NUMBER)
Weather Conditions (TEXT)

System Identification (STEP)
System Serial Number (NUMBER)
System Type (SELECTION options: Split System, Package Unit, Heat Pump, VRF/VRV, Other)
Fuel Type (if applicable) (SELECTION options: Electric, Natural Gas, Propane, Oil, Other)
Manufacturer (TEXT)
System Capacity (BTU/h or Tons) (NUMBER)
Installation Date (if known) (DATE)

Visual Inspection - Outdoor Unit (STEP)
Outdoor Unit Condition (1-5, 1=Excellent, 5=Poor) (NUMBER)
Description of any visible damage (rust, dents, cracks) (TEXT)
Condition of Cabinet Fins (SELECTION options: Clean, Slightly Dirty, Moderately Dirty, Heavily Dirty, Bent/Damaged)
Attach Photo of Outdoor Unit (UPLOAD)
Fan Blade Condition (SELECTION options: Good, Warped, Cracked, Missing Sections)
Notes on overall appearance and cleanliness (TEXT)

Refrigerant Levels & Pressures (STEP)
Suction Pressure (PSIG) (NUMBER)
Liquid Line Pressure (PSIG) (NUMBER)
Suction Line Temperature (°F) (NUMBER)
Liquid Line Temperature (°F) (NUMBER)
Refrigerant Type (SELECTION options: R-22, R-410A, R-32, Other)
Refrigerant Charge Status (SELECTION options: Optimal, Low, High, Unknown)
Notes on Refrigerant Levels & Pressures (TEXT)

Electrical Components (STEP)
Voltage (V) (NUMBER)
Amperage (A) (NUMBER)
Wiring Condition (SELECTION options: Good, Frayed/Damaged, Loose Connections)
Electrical Issues Found (SELECTION options: Blown Fuse, Tripped Breaker, Burnt Wiring, No Issues)
Notes on Electrical Components (TEXT)

Airflow & Ductwork (STEP)
Static Pressure (inches of water) (NUMBER)
Supply Air Temperature (F) (NUMBER)
Duct Condition (SELECTION options: Excellent, Good, Fair, Poor)
Ductwork Issues (SELECTION options: Leaks, Sagging, Improperly Sealed, Insulation Damage, None)
Notes on Airflow & Ductwork (TEXT)
Return Airflow Adequate? (SELECTION options: Yes, No)

Indoor Unit Inspection (STEP)
Supply Air Temperature (°F) (NUMBER)
Return Air Temperature (°F) (NUMBER)
Humidity Level (%) (NUMBER)
Blower Motor Condition (SELECTION options: Excellent, Good, Fair, Poor)
Coil Condition (SELECTION options: Clean, Slightly Dirty, Dirty, Heavily Dirty)
Notes on Unit Operation (TEXT)
Drain Line Condition (SELECTION options: Clear, Slightly Restricted, Restricted, Clogged)
Photo of Indoor Unit (UPLOAD)

Filter Condition & Replacement (STEP)
Last Filter Change Date (DATE)
Filter Type (SELECTION options: Fiberglass, Pleated, Electrostatic, Other)
Filter Size (x in x in x in) (NUMBER)
Filter Condition (SELECTION options: Excellent, Good, Fair, Poor)
Notes on Filter Condition (TEXT)
Filter Replacement Required? (SELECTION options: Yes, No)

Safety Devices (STEP)
High-Pressure Switch Function (SELECTION options: Functioning Properly, Malfunctioning, Not Tested)
Low-Pressure Switch Function (SELECTION options: Functioning Properly, Malfunctioning, Not Tested)
High-Pressure Switch Cut-Out Pressure (PSI) (NUMBER)
Low-Pressure Switch Cut-In Pressure (PSI) (NUMBER)
Flame Sensor Condition (SELECTION options: Clean, Dirty/Clogged, Damaged)
Freeze Sensor Status (If Applicable) (SELECTION options: Present and Functional, Missing, Not Tested)

Performance Metrics (STEP)
Supply Air Temperature (SAT) (°F) (NUMBER)
Return Air Temperature (RAT) (°F) (NUMBER)
Outdoor Air Temperature (°F) (NUMBER)
Suction Pressure (PSI) (NUMBER)
Liquid Line Pressure (PSI) (NUMBER)
Amperage - Indoor Unit (NUMBER)
Amperage - Outdoor Unit (NUMBER)
System Efficiency (Estimated) (SELECTION options: Excellent, Good, Fair, Poor)

Recommendations & Repairs (STEP)
Detailed Repair Recommendations (TEXT)
Estimated Repair Cost (NUMBER)
Recommended Repair Completion Date (DATE)
Parts Required (Select all that apply) (SELECTION options: Filter, Belt, Refrigerant, Contactor, Capacitor, Fan Motor, Compressor)
Contractor Contact Information (if applicable) (TEXT)
Additional Notes/Comments (TEXT)