HVAC SYSTEM MAINTENANCE - PATIENT CARE AREAS CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL SYSTEM OVERVIEW & DOCUMENTATION ---

[ ] Last System Performance Review Date

[ ] System Serial Number(s)

[ ] Brief Description of Current System Configuration

[ ] System Type (e.g., VAV, RTU, VRF) (VAV, RTU, VRF, Other)

[ ] System Operational Status (Operational, Needs Repair, Decommissioned)

[ ] Upload Current System Schematics (if available)

[ ] Contact Person for HVAC System Information

[ ] Total System Capacity (BTU/hr)

--- AIR FILTRATION & VENTILATION ---

[ ] Filter Change Date

[ ] Filter Type (MERV 8, MERV 11, MERV 13, HEPA)

[ ] Air Exchange Rate (ACH)

[ ] Exhaust Fan Operation (Operating Correctly, Operating Incorrectly, Not Operating)

[ ] Notes on Air Quality/Ventilation

[ ] Ventilation Issues Observed (Drafts, Stale Air, Odors, Uneven Airflow, None)

[ ] Last Duct Cleaning Date

--- TEMPERATURE & HUMIDITY CONTROL ---

[ ] Ambient Temperature (Degrees F)

[ ] Supply Air Temperature (Degrees F)

[ ] Return Air Temperature (Degrees F)

[ ] Relative Humidity (%)

[ ] Thermostat Mode (Cool/Heat/Auto/Off) (Cool, Heat, Auto, Off)

[ ] Dew Point Setting (if applicable) (Default, Adjusted)

[ ] Notes on Temperature/Humidity Control

[ ] Last Calibration Date (Thermostat/Sensors)

--- EQUIPMENT PERFORMANCE & SAFETY ---

[ ] Supply Air Temperature (Patient Zone 1) - °F

[ ] Return Air Temperature (Patient Zone 1) - °F

[ ] Static Pressure (Supply Duct) - Inches of Water

[ ] Equipment Condition (e.g., Excellent, Good, Fair, Poor) (Excellent, Good, Fair, Poor)

[ ] Visible Signs of Leaks (Refrigerant, Water) (None, Minor, Major)

[ ] Any unusual noises or vibrations observed?

[ ] Safety Guarding Intact and Secure? (Yes, No)

[ ] Date of Last Belt Inspection/Replacement

--- NOISE & VIBRATION ---

[ ] Sound Level (dB) at Patient Bed

[ ] Vibration Measurement (mm/s) - Equipment Base

[ ] Describe any unusual noises observed (e.g., humming, rattling) (None, Humming, Rattling, Clicking, Other (Specify in LONG_TEXT))

[ ] If 'Other' noise selected, please describe:

[ ] Is vibration noticeable to patients/staff? (Yes, No, Uncertain)

[ ] Notes on vibration reduction measures taken (if any):

[ ] Date of last vibration/noise mitigation work:

--- AIRFLOW & DISTRIBUTION ---

[ ] Supply Air Volume (CFM) - Verify setpoint & reading

[ ] Return Air Volume (CFM) - Verify setpoint & reading

[ ] Airflow Direction - Correct? (Yes, No)

[ ] Air Outlets - Free of Obstructions? (Yes, No)

[ ] Areas with Airflow Concerns? (Patient Rooms, Waiting Areas, Nursing Stations, Hallways, None)

[ ] Notes/Comments on Airflow Distribution

[ ] Location of Airflow Issues (if any)

--- EMERGENCY & BACKUP SYSTEMS ---

[ ] Last Generator Test Date

[ ] Generator Run Time (Hours)

[ ] Generator Status (Operational, Needs Repair, Out of Service)

[ ] Emergency Power Transfer Switch Status (Functional, Needs Repair, Out of Service)

[ ] Last Battery System Inspection Date

[ ] Battery Voltage (Volts)

[ ] Comments/Observations regarding Emergency Systems

[ ] Verification of Emergency Contact List Availability (Available & Current, Needs Update, Unavailable)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/hvac-system-maintenance-patient-care-areas-checklist

(Click "Install Template" to launch your digital inspection tool immediately)