## 6a390f0d5a1e7cf130c0cd04
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

General System Overview & Documentation (STEP)
Last System Performance Review Date (DATE)
System Serial Number(s) (NUMBER)
Brief Description of Current System Configuration (TEXT)
System Type (e.g., VAV, RTU, VRF) (SELECTION options: VAV, RTU, VRF, Other)
System Operational Status (SELECTION options: Operational, Needs Repair, Decommissioned)
Upload Current System Schematics (if available) (UPLOAD)
Contact Person for HVAC System Information (TEXT)
Total System Capacity (BTU/hr) (NUMBER)

Air Filtration & Ventilation (STEP)
Filter Change Date (NUMBER)
Filter Type (SELECTION options: MERV 8, MERV 11, MERV 13, HEPA)
Air Exchange Rate (ACH) (NUMBER)
Exhaust Fan Operation (SELECTION options: Operating Correctly, Operating Incorrectly, Not Operating)
Notes on Air Quality/Ventilation (TEXT)
Ventilation Issues Observed (SELECTION options: Drafts, Stale Air, Odors, Uneven Airflow, None)
Last Duct Cleaning Date (DATE)

Temperature & Humidity Control (STEP)
Ambient Temperature (Degrees F) (NUMBER)
Supply Air Temperature (Degrees F) (NUMBER)
Return Air Temperature (Degrees F) (NUMBER)
Relative Humidity (%) (NUMBER)
Thermostat Mode (Cool/Heat/Auto/Off) (SELECTION options: Cool, Heat, Auto, Off)
Dew Point Setting (if applicable) (SELECTION options: Default, Adjusted)
Notes on Temperature/Humidity Control (TEXT)
Last Calibration Date (Thermostat/Sensors) (DATE)

Equipment Performance & Safety (STEP)
Supply Air Temperature (Patient Zone 1) - °F (NUMBER)
Return Air Temperature (Patient Zone 1) - °F (NUMBER)
Static Pressure (Supply Duct) - Inches of Water (NUMBER)
Equipment Condition (e.g., Excellent, Good, Fair, Poor) (SELECTION options: Excellent, Good, Fair, Poor)
Visible Signs of Leaks (Refrigerant, Water) (SELECTION options: None, Minor, Major)
Any unusual noises or vibrations observed? (TEXT)
Safety Guarding Intact and Secure? (SELECTION options: Yes, No)
Date of Last Belt Inspection/Replacement (DATE)

Noise & Vibration (STEP)
Sound Level (dB) at Patient Bed (NUMBER)
Vibration Measurement (mm/s) - Equipment Base (NUMBER)
Describe any unusual noises observed (e.g., humming, rattling) (SELECTION options: None, Humming, Rattling, Clicking, Other (Specify in LONG_TEXT))
If 'Other' noise selected, please describe: (TEXT)
Is vibration noticeable to patients/staff? (SELECTION options: Yes, No, Uncertain)
Notes on vibration reduction measures taken (if any): (TEXT)
Date of last vibration/noise mitigation work: (DATE)

Airflow & Distribution (STEP)
Supply Air Volume (CFM) - Verify setpoint & reading (NUMBER)
Return Air Volume (CFM) - Verify setpoint & reading (NUMBER)
Airflow Direction - Correct? (SELECTION options: Yes, No)
Air Outlets - Free of Obstructions? (SELECTION options: Yes, No)
Areas with Airflow Concerns? (SELECTION options: Patient Rooms, Waiting Areas, Nursing Stations, Hallways, None)
Notes/Comments on Airflow Distribution (TEXT)
Location of Airflow Issues (if any) (LOCATION)

Emergency & Backup Systems (STEP)
Last Generator Test Date (DATE)
Generator Run Time (Hours) (NUMBER)
Generator Status (SELECTION options: Operational, Needs Repair, Out of Service)
Emergency Power Transfer Switch Status (SELECTION options: Functional, Needs Repair, Out of Service)
Last Battery System Inspection Date (DATE)
Battery Voltage (Volts) (NUMBER)
Comments/Observations regarding Emergency Systems (TEXT)
Verification of Emergency Contact List Availability (SELECTION options: Available & Current, Needs Update, Unavailable)