HVAC SYSTEM PERFORMANCE CHECKLIST - OFFICE ZONES

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL SYSTEM OVERVIEW ---

[ ] Date of Inspection

[ ] Time of Inspection

[ ] Ambient Temperature (°C)

[ ] Relative Humidity (%)

[ ] System Operating Mode (Cooling/Heating/Auto/Off) (Cooling, Heating, Auto, Off)

[ ] Overall System Condition (Excellent/Good/Fair/Poor) (Excellent, Good, Fair, Poor)

[ ] General Observations / Notes

[ ] Zone Location/Area

--- AIRFLOW & DISTRIBUTION ---

[ ] Supply Air Volume (CFM) - Zone 1

[ ] Return Air Volume (CFM) - Zone 1

[ ] Supply Air Register Position - Zone 1 (Fully Open, 75% Open, 50% Open, 25% Open, Fully Closed)

[ ] Diffuser Performance - Zone 1 (Optimal, Adequate, Poor - Adjust Needed, Blocked/Obstructed)

[ ] Drafts Detected? (Near Windows, Near Doors, Along Walls, None Detected)

[ ] Notes on Airflow Observations

--- TEMPERATURE & HUMIDITY ---

[ ] Zone Supply Air Temperature (Actual)

[ ] Zone Return Air Temperature (Actual)

[ ] Zone Space Temperature (Actual)

[ ] Zone Humidity (Actual)

[ ] Differential Temperature (Supply - Return)

[ ] Temperature Comfort Level (Subjective) (Too Cold, Comfortable, Too Warm)

[ ] Humidity Comfort Level (Subjective) (Too Dry, Comfortable, Too Humid)

[ ] Notes on Temperature/Humidity Performance

--- EQUIPMENT OPERATION (AHUS, FCUS, VAVS) ---

[ ] AHU Fan Speed (RPM)

[ ] FCU Supply Air Temperature (°C/°F)

[ ] VAV Box Position (%)

[ ] AHU Belt Condition (if applicable) (Excellent, Good, Fair, Poor, Not Applicable)

[ ] FCU Coil Condition (Clean, Slightly Dirty, Dirty, Very Dirty)

[ ] Notes on any unusual noises or vibrations observed from equipment

[ ] VAV Damper Operation (Open/Closed) (Operating as expected, Sticking/Restricted, Not functioning)

[ ] Last Filter Change Date (AHU/FCU)

--- NOISE & VIBRATION ---

[ ] Sound Level (dB) near AHU/FCU

[ ] Vibration Frequency (Hz) at equipment mounts

[ ] Observable Vibration? (Yes, No, Unsure)

[ ] Description of Noise/Vibration (if present)

[ ] Source of Vibration Identified? (Yes, No, Unsure)

[ ] Actions Taken/Recommendations for Noise/Vibration Reduction

[ ] Pipe Vibration Readings (if applicable)

--- ENERGY EFFICIENCY & CONSUMPTION ---

[ ] Total HVAC System Energy Consumption (kWh)

[ ] Average Energy Consumption per Office Zone (kWh)

[ ] Current HVAC Schedule Optimization Strategy (Demand Response Program, Occupancy-Based Scheduling, Fixed Schedule, None/Manual Adjustment)

[ ] Average Supply Air Temperature Setpoint (°F)

[ ] Average Return Air Temperature (°F)

[ ] Energy Efficiency Measures Implemented (select all that apply) (LED Lighting Retrofit, Variable Frequency Drives (VFDs) on Motors, Economizer Cycle Implementation, Building Envelope Improvements, Demand Control Ventilation (DCV), None)

[ ] Observations regarding potential energy savings opportunities (e.g., airflow imbalances, equipment inefficiencies)

[ ] Date of Last Energy Performance Audit

--- MAINTENANCE & SERVICE RECORDS ---

[ ] Last Preventative Maintenance (PM) Date

[ ] Summary of Last PM Performed

[ ] Filter Replacement Frequency (Months)

[ ] Last Coil Cleaning Date

[ ] Description of any Recent Repairs/Service

[ ] Service Provider (Company A, Company B, Company C, Other)

[ ] Upload Last Service Report (PDF)

--- CONTROL SYSTEM PERFORMANCE ---

[ ] BAS System Version Number

[ ] System Operation Mode (Cool, Heat, Auto, Off) (Cool, Heat, Auto, Off)

[ ] Outdoor Air Damper Position (%)

[ ] Return Air Temperature (deg F)

[ ] Schedule Adherence (On-time, Delayed, Off) (On-time, Delayed, Off)

[ ] Any Alarm Events in the Last 24 Hours? (Describe)

[ ] Trending Data Available and Accurate? (Yes, No, N/A)

[ ] Last Control System Software Update Date

--- SAFETY CHECKS ---

[ ] Carbon Monoxide (CO) Level (ppm)

[ ] Refrigerant Leak Detection System Test Result (Pass/Fail)

[ ] Emergency Shutdown Switch Functionality Test (Pass, Fail, N/A)

[ ] Fire Damper Operation Check (Operates Correctly, Requires Maintenance, N/A)

[ ] Proper Ventilation for Mechanical Rooms (Adequate, Insufficient, N/A)

[ ] Last Safety Inspection Date

[ ] Comments/Observations Regarding Safety Concerns

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/hvac-system-performance-checklist-office-zones

(Click "Install Template" to launch your digital inspection tool immediately)