## Sheet1
Label | Value | Notes
Created by checklistguro.com
General System Overview (STEP)
Date of Inspection (DATE)
Time of Inspection (DATE)
Ambient Temperature (°C) (NUMBER)
Relative Humidity (%) (NUMBER)
System Operating Mode (Cooling/Heating/Auto/Off) (SELECTION options: Cooling, Heating, Auto, Off)
Overall System Condition (Excellent/Good/Fair/Poor) (SELECTION options: Excellent, Good, Fair, Poor)
General Observations / Notes (TEXT)
Zone Location/Area (LOCATION)
Airflow & Distribution (STEP)
Supply Air Volume (CFM) - Zone 1 (NUMBER)
Return Air Volume (CFM) - Zone 1 (NUMBER)
Supply Air Register Position - Zone 1 (SELECTION options: Fully Open, 75% Open, 50% Open, 25% Open, Fully Closed)
Diffuser Performance - Zone 1 (SELECTION options: Optimal, Adequate, Poor - Adjust Needed, Blocked/Obstructed)
Drafts Detected? (SELECTION options: Near Windows, Near Doors, Along Walls, None Detected)
Notes on Airflow Observations (TEXT)
Temperature & Humidity (STEP)
Zone Supply Air Temperature (Actual) (NUMBER)
Zone Return Air Temperature (Actual) (NUMBER)
Zone Space Temperature (Actual) (NUMBER)
Zone Humidity (Actual) (NUMBER)
Differential Temperature (Supply - Return) (NUMBER)
Temperature Comfort Level (Subjective) (SELECTION options: Too Cold, Comfortable, Too Warm)
Humidity Comfort Level (Subjective) (SELECTION options: Too Dry, Comfortable, Too Humid)
Notes on Temperature/Humidity Performance (TEXT)
Equipment Operation (AHUs, FCUs, VAVs) (STEP)
AHU Fan Speed (RPM) (NUMBER)
FCU Supply Air Temperature (°C/°F) (NUMBER)
VAV Box Position (%) (NUMBER)
AHU Belt Condition (if applicable) (SELECTION options: Excellent, Good, Fair, Poor, Not Applicable)
FCU Coil Condition (SELECTION options: Clean, Slightly Dirty, Dirty, Very Dirty)
Notes on any unusual noises or vibrations observed from equipment (TEXT)
VAV Damper Operation (Open/Closed) (SELECTION options: Operating as expected, Sticking/Restricted, Not functioning)
Last Filter Change Date (AHU/FCU) (DATE)
Noise & Vibration (STEP)
Sound Level (dB) near AHU/FCU (NUMBER)
Vibration Frequency (Hz) at equipment mounts (NUMBER)
Observable Vibration? (SELECTION options: Yes, No, Unsure)
Description of Noise/Vibration (if present) (TEXT)
Source of Vibration Identified? (SELECTION options: Yes, No, Unsure)
Actions Taken/Recommendations for Noise/Vibration Reduction (TEXT)
Pipe Vibration Readings (if applicable) (NUMBER)
Energy Efficiency & Consumption (STEP)
Total HVAC System Energy Consumption (kWh) (NUMBER)
Average Energy Consumption per Office Zone (kWh) (NUMBER)
Current HVAC Schedule Optimization Strategy (SELECTION options: Demand Response Program, Occupancy-Based Scheduling, Fixed Schedule, None/Manual Adjustment)
Average Supply Air Temperature Setpoint (°F) (NUMBER)
Average Return Air Temperature (°F) (NUMBER)
Energy Efficiency Measures Implemented (select all that apply) (SELECTION options: LED Lighting Retrofit, Variable Frequency Drives (VFDs) on Motors, Economizer Cycle Implementation, Building Envelope Improvements, Demand Control Ventilation (DCV), None)
Observations regarding potential energy savings opportunities (e.g., airflow imbalances, equipment inefficiencies) (TEXT)
Date of Last Energy Performance Audit (DATE)
Maintenance & Service Records (STEP)
Last Preventative Maintenance (PM) Date (DATE)
Summary of Last PM Performed (TEXT)
Filter Replacement Frequency (Months) (NUMBER)
Last Coil Cleaning Date (DATE)
Description of any Recent Repairs/Service (TEXT)
Service Provider (SELECTION options: Company A, Company B, Company C, Other)
Upload Last Service Report (PDF) (UPLOAD)
Control System Performance (STEP)
BAS System Version Number (NUMBER)
System Operation Mode (Cool, Heat, Auto, Off) (SELECTION options: Cool, Heat, Auto, Off)
Outdoor Air Damper Position (%) (NUMBER)
Return Air Temperature (deg F) (NUMBER)
Schedule Adherence (On-time, Delayed, Off) (SELECTION options: On-time, Delayed, Off)
Any Alarm Events in the Last 24 Hours? (Describe) (TEXT)
Trending Data Available and Accurate? (SELECTION options: Yes, No, N/A)
Last Control System Software Update Date (DATE)
Safety Checks (STEP)
Carbon Monoxide (CO) Level (ppm) (NUMBER)
Refrigerant Leak Detection System Test Result (Pass/Fail) (NUMBER)
Emergency Shutdown Switch Functionality Test (SELECTION options: Pass, Fail, N/A)
Fire Damper Operation Check (SELECTION options: Operates Correctly, Requires Maintenance, N/A)
Proper Ventilation for Mechanical Rooms (SELECTION options: Adequate, Insufficient, N/A)
Last Safety Inspection Date (DATE)
Comments/Observations Regarding Safety Concerns (TEXT)