HVAC SYSTEM PERFORMANCE CHECKLIST - RETAIL ZONES (MONTHLY) - TEMPERATURE, HUMIDITY

Created by ChecklistGuro (https://checklistguro.com)

--- ZONE TEMPERATURE VERIFICATION ---
[ ] Zone 1 - Actual Temperature (°F)
[ ] Zone 1 - Setpoint Temperature (°F)
[ ] Zone 2 - Actual Temperature (°F)
[ ] Zone 2 - Setpoint Temperature (°F)
[ ] Temperature Within Acceptable Range (Zone 1)? (Yes, No, N/A)
[ ] Temperature Stratification Observed? (Yes, No, N/A)
[ ] Notes/Comments on Temperature Verification (Zone 1)

--- HUMIDITY LEVEL ASSESSMENT ---
[ ] Zone 1: Relative Humidity (%)
[ ] Zone 2: Relative Humidity (%)
[ ] Zone 3: Relative Humidity (%)
[ ] Average Zone Humidity (%)
[ ] Humidity Level Status (Within Acceptable Range, Slightly High, High, Slightly Low, Low)
[ ] Comments/Observations Regarding Humidity
[ ] Dehumidification Required? (Yes, No)

--- SUPPLY AIR TEMPERATURE & VOLUME ---
[ ] Supply Air Temperature (Zone 1 - °F)
[ ] Supply Air Temperature (Zone 2 - °F)
[ ] Supply Air Temperature (Zone 3 - °F)
[ ] Supply Air Volume (CFM) - Unit 1
[ ] Supply Air Volume (CFM) - Unit 1 - Actual vs. Design
[ ] Air Volume Verification - Unit 1 (Within Design Parameters, Slightly Low, Low, High, N/A - No Measurement Available)
[ ] Notes on Air Volume/Temperature

--- RETURN AIR TEMPERATURE & HUMIDITY ---
[ ] Return Air Temperature (Zone 1 - °F)
[ ] Return Air Temperature (Zone 2 - °F)
[ ] Return Air Temperature (Zone 2 - °C)
[ ] Return Air Humidity (Zone 1 - %)
[ ] Return Air Humidity (Zone 2 - %)
[ ] Any unusual odors detected in return air? (Yes, No)
[ ] Comments/Observations regarding return air temperature/humidity

--- EQUIPMENT PERFORMANCE (VISUAL & BASIC) ---
[ ] Supply Fan Speed (RPM)
[ ] Return Fan Speed (RPM)
[ ] Supply Coil Condition (Visual) (Clean, Slightly Dirty, Moderately Dirty, Heavily Dirty)
[ ] Return Coil Condition (Visual) (Clean, Slightly Dirty, Moderately Dirty, Heavily Dirty)
[ ] Filter Condition (Clean, Slightly Dirty, Moderately Dirty, Needs Replacement)
[ ] Any unusual noises or vibrations observed?
[ ] Upload photos of equipment (optional)

--- DATA LOGGING & TREND ANALYSIS ---
[ ] Average Zone Temperature (Monthly)
[ ] Peak Zone Temperature (Monthly)
[ ] Average Zone Humidity (Monthly)
[ ] Peak Zone Humidity (Monthly)
[ ] Describe any significant temperature or humidity trends observed.
[ ] Were there any unexpected temperature or humidity spikes? (Yes, No)
[ ] Date of Significant Trend Observed (if applicable)
[ ] If spikes or unusual trends were observed, note the likely cause or contributing factors (e.g., increased foot traffic, change in weather, equipment malfunction).

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/retail/hvac-system-performance-checklist-retail-zones-monthly-temperature-humidity
(Click "Install Template" to launch your digital inspection tool immediately)