HVAC SYSTEM PERFORMANCE - LEARNING ZONES

Created by ChecklistGuro (https://checklistguro.com)

--- ZONE TEMPERATURE & HUMIDITY ---

[ ] Zone Setpoint Temperature (Current)

[ ] Zone Temperature (Actual)

[ ] Zone Humidity (Current)

[ ] Humidity Setpoint

[ ] Temperature Comfort Level (Too Cold, Comfortable, Too Warm)

[ ] Humidity Comfort Level (Too Humid, Comfortable, Too Dry)

[ ] Notes/Observations about Temperature & Humidity

[ ] Date of Measurement

[ ] Time of Measurement

--- AIRFLOW AND VENTILATION ---

[ ] Measured Airflow (CFM) at Supply Diffuser 1

[ ] Measured Airflow (CFM) at Supply Diffuser 2

[ ] Room Air Changes per Hour (ACH)

[ ] Supply Diffuser Orientation (Typical) (Horizontal, Vertical, Angled)

[ ] Observed Airflow Issues (Drafts, Uneven Temperature Distribution, Insufficient Ventilation, Excessive Noise, None)

[ ] Description of any observed airflow irregularities.

[ ] Exhaust Fan Operational Status (Operational, Not Operational, Partial Operational)

[ ] Measured Static Pressure (inches of water)

--- EQUIPMENT PERFORMANCE (AHUS, FCUS, VRFS) ---

[ ] AHU/FCU Supply Air Temperature (SAT) - Zone 1 (°F)

[ ] AHU/FCU Return Air Temperature (RAT) - Zone 1 (°F)

[ ] VRF Outdoor Unit Suction Pressure (psig) - Zone 2

[ ] FCU Fan Speed (RPM) - Zone 3

[ ] AHU/FCU Compressor Status (Zone 1) (Operating Normally, Fault/Alarm, Degraded Performance)

[ ] VRF Indoor Unit Defrost Cycle Status (Zone 1) (Normal, Frequent, Extended)

[ ] Observed Operational Issues/Notes (AHU/FCU/VRF)

[ ] Date of Last Filter Replacement (AHU/FCU)

--- CONTROL SYSTEM OPERATION ---

[ ] Scheduled Start Time (Hour)

[ ] Scheduled Stop Time (Hour)

[ ] Operating Mode (Cool, Heat, Auto, Off) (Cool, Heat, Auto, Off)

[ ] Zone Temperature Setpoint (°C)

[ ] Outdoor Air Damper Position (%)

[ ] Demand Limiting Activated? (Yes, No, N/A)

[ ] Notes on Control System Behavior

--- NOISE AND VIBRATION LEVELS ---

[ ] Ambient Noise Level (dB)

[ ] Equipment Vibration Level (mm/s)

[ ] Noise Source Identification (HVAC Equipment, Piping, External Sources (Traffic, Construction), Other - Please Specify)

[ ] Detailed Description of Noise/Vibration Issues (if any)

[ ] Perceived Noise Level (Subjective) (Acceptable, Slightly Noticeable, Distracting, Unacceptable)

[ ] Noise/Vibration Source Location

[ ] Sound Recording (Optional)

--- AIR QUALITY ---

[ ] CO2 Level (ppm)

[ ] PM2.5 Concentration (µg/m³)

[ ] PM10 Concentration (µg/m³)

[ ] Presence of Visible Particulates? (Yes, No, Uncertain)

[ ] Odor Detected? (Yes, No, Uncertain)

[ ] Describe any unusual odors or conditions observed:

[ ] Photos/Videos of Air Quality Concerns:

[ ] Date of Air Quality Assessment

--- ENERGY CONSUMPTION ---

[ ] Average Monthly kWh Consumption (Learning Zones)

[ ] Peak Hourly kWh Consumption (Learning Zones)

[ ] Energy Consumption per Square Foot/Meter (Learning Zones)

[ ] Current Energy Tariff Type (Fixed Rate, Variable Rate, Time-of-Use, Demand Charge)

[ ] Notes on Energy Consumption Trends (e.g., increase/decrease, anomalies)

[ ] Date of Last Energy Consumption Baseline Measurement

[ ] Upload Energy Bill/Consumption Data Report (if available)

--- MAINTENANCE & SERVICE RECORDS ---

[ ] Last Filter Replacement Date (Zone 1)

[ ] Last Filter Replacement Date (Zone 2)

[ ] AHU/FCU Static Pressure (in WC)

[ ] Supply Air Temperature (in °F/°C)

[ ] Condition of Belts/Pulleys (AHU/FCU) (Good, Fair, Poor)

[ ] Notes on Recent Servicing (if any)

[ ] Refrigerant Leak Check Performed? (Yes, No)

[ ] Upload Service Reports (if applicable)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/hvac-system-performance-learning-zones

(Click "Install Template" to launch your digital inspection tool immediately)