## Sheet1
Label | Value | Notes
Created by checklistguro.com
Zone Temperature & Humidity (STEP)
Zone Setpoint Temperature (Current) (NUMBER)
Zone Temperature (Actual) (NUMBER)
Zone Humidity (Current) (NUMBER)
Humidity Setpoint (NUMBER)
Temperature Comfort Level (SELECTION options: Too Cold, Comfortable, Too Warm)
Humidity Comfort Level (SELECTION options: Too Humid, Comfortable, Too Dry)
Notes/Observations about Temperature & Humidity (TEXT)
Date of Measurement (DATE)
Time of Measurement (DATE)
Airflow and Ventilation (STEP)
Measured Airflow (CFM) at Supply Diffuser 1 (NUMBER)
Measured Airflow (CFM) at Supply Diffuser 2 (NUMBER)
Room Air Changes per Hour (ACH) (NUMBER)
Supply Diffuser Orientation (Typical) (SELECTION options: Horizontal, Vertical, Angled)
Observed Airflow Issues (SELECTION options: Drafts, Uneven Temperature Distribution, Insufficient Ventilation, Excessive Noise, None)
Description of any observed airflow irregularities. (TEXT)
Exhaust Fan Operational Status (SELECTION options: Operational, Not Operational, Partial Operational)
Measured Static Pressure (inches of water) (NUMBER)
Equipment Performance (AHUs, FCUs, VRFs) (STEP)
AHU/FCU Supply Air Temperature (SAT) - Zone 1 (°F) (NUMBER)
AHU/FCU Return Air Temperature (RAT) - Zone 1 (°F) (NUMBER)
VRF Outdoor Unit Suction Pressure (psig) - Zone 2 (NUMBER)
FCU Fan Speed (RPM) - Zone 3 (NUMBER)
AHU/FCU Compressor Status (Zone 1) (SELECTION options: Operating Normally, Fault/Alarm, Degraded Performance)
VRF Indoor Unit Defrost Cycle Status (Zone 1) (SELECTION options: Normal, Frequent, Extended)
Observed Operational Issues/Notes (AHU/FCU/VRF) (TEXT)
Date of Last Filter Replacement (AHU/FCU) (DATE)
Control System Operation (STEP)
Scheduled Start Time (Hour) (NUMBER)
Scheduled Stop Time (Hour) (NUMBER)
Operating Mode (Cool, Heat, Auto, Off) (SELECTION options: Cool, Heat, Auto, Off)
Zone Temperature Setpoint (°C) (NUMBER)
Outdoor Air Damper Position (%) (NUMBER)
Demand Limiting Activated? (SELECTION options: Yes, No, N/A)
Notes on Control System Behavior (TEXT)
Noise and Vibration Levels (STEP)
Ambient Noise Level (dB) (NUMBER)
Equipment Vibration Level (mm/s) (NUMBER)
Noise Source Identification (SELECTION options: HVAC Equipment, Piping, External Sources (Traffic, Construction), Other - Please Specify)
Detailed Description of Noise/Vibration Issues (if any) (TEXT)
Perceived Noise Level (Subjective) (SELECTION options: Acceptable, Slightly Noticeable, Distracting, Unacceptable)
Noise/Vibration Source Location (LOCATION)
Sound Recording (Optional) (UPLOAD)
Air Quality (STEP)
CO2 Level (ppm) (NUMBER)
PM2.5 Concentration (µg/m³) (NUMBER)
PM10 Concentration (µg/m³) (NUMBER)
Presence of Visible Particulates? (SELECTION options: Yes, No, Uncertain)
Odor Detected? (SELECTION options: Yes, No, Uncertain)
Describe any unusual odors or conditions observed: (TEXT)
Photos/Videos of Air Quality Concerns: (UPLOAD)
Date of Air Quality Assessment (DATE)
Energy Consumption (STEP)
Average Monthly kWh Consumption (Learning Zones) (NUMBER)
Peak Hourly kWh Consumption (Learning Zones) (NUMBER)
Energy Consumption per Square Foot/Meter (Learning Zones) (NUMBER)
Current Energy Tariff Type (SELECTION options: Fixed Rate, Variable Rate, Time-of-Use, Demand Charge)
Notes on Energy Consumption Trends (e.g., increase/decrease, anomalies) (TEXT)
Date of Last Energy Consumption Baseline Measurement (DATE)
Upload Energy Bill/Consumption Data Report (if available) (UPLOAD)
Maintenance & Service Records (STEP)
Last Filter Replacement Date (Zone 1) (DATE)
Last Filter Replacement Date (Zone 2) (DATE)
AHU/FCU Static Pressure (in WC) (NUMBER)
Supply Air Temperature (in °F/°C) (NUMBER)
Condition of Belts/Pulleys (AHU/FCU) (SELECTION options: Good, Fair, Poor)
Notes on Recent Servicing (if any) (TEXT)
Refrigerant Leak Check Performed? (SELECTION options: Yes, No)
Upload Service Reports (if applicable) (UPLOAD)