HVAC SYSTEM PERFORMANCE - PRODUCTION AREAS

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL SYSTEM OVERVIEW & MONITORING ---

[ ] Overall System Runtime (Hours)

[ ] Total Production Area CFM (Cubic Feet per Minute)

[ ] Average Production Area Temperature (Degrees)

[ ] Average Production Area Humidity (%)

[ ] Overall System Status (Nominal, Warning, Critical)

[ ] Any Unusual Observations During Inspection

[ ] Last System Performance Review Date

[ ] System Performance Graph/Report (if available)

--- AIRFLOW & VENTILATION ---

[ ] Measured Airflow (CFM/m³/min) at Supply Diffusers - Area 1

[ ] Measured Airflow (CFM/m³/min) at Return Grilles - Area 1

[ ] Static Pressure at Fan (in WC/Pa)

[ ] Air Distribution Pattern (Observe & Select) (Uniform, Drafty, Uneven, As Expected)

[ ] Supply Air Volume Damper Operation (Fully Open, Partially Open, Closed, Malfunctioning)

[ ] Notes on Airflow Observations (e.g., drafts, stagnant areas)

[ ] Location of observed airflow issues

--- TEMPERATURE & HUMIDITY CONTROL ---

[ ] Production Area 1 - Target Temperature (deg F)

[ ] Production Area 1 - Actual Temperature (deg F)

[ ] Production Area 1 - Target Humidity (%)

[ ] Production Area 1 - Actual Humidity (%)

[ ] Production Area 1 - Temperature Control Mode (Cooling, Heating, Off, Automatic)

[ ] Production Area 1 - Humidity Control Mode (Dehumidifying, Humidifying, Off, Automatic)

[ ] Notes/Observations for Production Area 1 - Temperature/Humidity

[ ] Date of Temperature/Humidity Readings - Production Area 1

--- EQUIPMENT CONDITION & PERFORMANCE ---

[ ] Supply Air Temperature (SAT) - Production Area 1 (°C)

[ ] Return Air Temperature (RAT) - Production Area 1 (°C)

[ ] Supply Air Volume (CFM/m³/min) - Production Area 1

[ ] Chiller/Cooling Tower Efficiency (%)

[ ] Compressor Status (Cooling System) (Operating Normally, Warning, Fault)

[ ] Fan Motor Condition (Main Air Handler) (Normal, Noise/Vibration, Overheating)

[ ] Observations regarding equipment performance (noise, vibration, leaks, etc.)

[ ] Last Maintenance Date - Main Air Handler

--- FILTRATION & AIR QUALITY ---

[ ] MERV Rating of Filters in Use

[ ] Pressure Drop Across Filters (in)

[ ] Filter Replacement Schedule Followed? (Yes, No, N/A)

[ ] Particulate Matter (PM2.5) Reading (µg/m³)

[ ] Any noticeable odors or air quality concerns observed?

[ ] Evidence of Dust Accumulation on Equipment? (Yes, No, Minor, Significant)

[ ] Date of Last Filter Change

--- ENERGY EFFICIENCY & OPTIMIZATION ---

[ ] Average Energy Consumption (kWh)

[ ] Peak Demand (kW)

[ ] Coefficient of Performance (COP) - Cooling Mode

[ ] Coefficient of Performance (COP) - Heating Mode

[ ] Economizer Mode Status (Enabled & Functioning, Enabled & Not Functioning, Disabled, Not Applicable)

[ ] Variable Frequency Drive (VFD) Optimization Status (Optimized, Requires Review, Not Applicable)

[ ] Observations & Recommendations for Energy Savings

[ ] Date of Last Energy Audit

--- SAFETY & MAINTENANCE COMPLIANCE ---

[ ] Last Preventative Maintenance Date

[ ] Maintenance Log Review Frequency (Months)

[ ] Maintenance Performed by (Internal/External) (Internal, External)

[ ] Brief Description of Maintenance Performed

[ ] Safety Inspection Completed? (Yes, No)

[ ] Last Safety Inspection Date

[ ] Safety Inspection Findings & Corrective Actions

[ ] Upload Maintenance Records/Certifications

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/hvac-system-performance-production-areas

(Click "Install Template" to launch your digital inspection tool immediately)