HVAC SYSTEM PERFORMANCE - RETAIL ZONES

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL ZONE OBSERVATIONS ---

[ ] Overall Zone Comfort Assessment

[ ] Zone Temperature (Current)

[ ] Visible Signs of Condensation? (Yes, No, Unsure)

[ ] Describe Any Unusual Noises from Equipment

[ ] Any Obvious Signs of Drafts? (Yes, No, Unsure)

[ ] Notes on Occupancy Levels & Activities

--- TEMPERATURE & HUMIDITY ---

[ ] Zone Temperature (Current)

[ ] Zone Temperature (Set Point)

[ ] Humidity (Current)

[ ] Humidity (Set Point)

[ ] Temperature Comfort Level (Excellent, Good, Acceptable, Uncomfortable)

[ ] Humidity Comfort Level (Excellent, Good, Acceptable, Uncomfortable)

[ ] Notes on Temperature/Humidity Discrepancies

[ ] Date of Temperature/Humidity Reading

[ ] Time of Temperature/Humidity Reading

--- AIRFLOW & DISTRIBUTION ---

[ ] Supply Air Temperature (SAT) - Zone 1 (°F)

[ ] Return Air Temperature (RAT) - Zone 1 (°F)

[ ] Measured Air Velocity at Diffuser 1 (ft/min)

[ ] Diffuser Orientation - Diffuser 1 (Upward, Downward, Horizontal, Adjustable)

[ ] Airflow Issues Observed (Check all that apply) (Drafts, Uneven Temperature, Stagnant Air, Noise, None)

[ ] Detailed Description of Airflow Issues (if any)

[ ] Location of Most Significant Airflow Issue

--- EQUIPMENT PERFORMANCE - COOLING ---

[ ] Supply Air Temperature (°F)

[ ] Return Air Temperature (°F)

[ ] Chilled Water Supply Temperature (°F)

[ ] Chilled Water Return Temperature (°F)

[ ] Condenser Water Temperature (°F)

[ ] Refrigerant Pressure (High Side) (PSI)

[ ] Refrigerant Pressure (Low Side) (PSI)

[ ] Compressor Operating Status (On, Off, Cycling, Fault)

[ ] Notes on Compressor Performance (e.g., unusual noises, vibrations)

--- EQUIPMENT PERFORMANCE - HEATING ---

[ ] Furnace Supply Air Temperature (Actual)

[ ] Furnace Return Air Temperature (Actual)

[ ] Furnace Discharge Air Temperature (Actual)

[ ] Heating System Pressure (PSIG)

[ ] Heating System Amperage Draw

[ ] Flame Sensor Condition (Good, Dirty/Contaminated, Damaged, N/A (No Flame Sensor))

[ ] Date of Last Heating System Maintenance

[ ] Notes on Heating System Performance/Observations

--- VENTILATION & AIR QUALITY ---

[ ] Outdoor Air Intake Damper Position (%)

[ ] Exhaust Fan RPM (if applicable)

[ ] Visible signs of mold or mildew? (Yes, No, Unsure)

[ ] Describe any unusual odors detected.

[ ] CO2 Levels (ppm)

[ ] Supply Air Filter Condition (New, Acceptable, Needs Replacement, Severely Dirty)

[ ] Notes on ventilation system performance or unusual readings.

--- ENERGY EFFICIENCY & CONTROLS ---

[ ] Zone Energy Consumption (kWh/month)

[ ] Overall HVAC System Efficiency (EER/SEER/COP)

[ ] Control System Schedule Verification (Schedule Adhered To, Schedule Deviation - Minor, Schedule Deviation - Significant)

[ ] Demand Response Program Enrollment (Enrolled and Active, Enrolled but Inactive, Not Enrolled)

[ ] Notes on Control System Performance and Recommendations

[ ] Variable Frequency Drive (VFD) Status (if applicable) - % Operating Speed

[ ] Economizer Functioning (if applicable) (Functioning Correctly, Not Functioning, Needs Adjustment)

[ ] Date of Last Control System Optimization Review

--- MAINTENANCE & OPERATIONAL RECORDS ---

[ ] Last Filter Change Date

[ ] Filter Change Mileage/Operating Hours

[ ] Last Coil Cleaning Date

[ ] Summary of Recent Maintenance Activities

[ ] Equipment Runtime Hours (Since Last Maintenance)

[ ] Maintenance Log Completeness (Complete and Up-to-Date, Mostly Complete, Incomplete)

[ ] Upload Relevant Maintenance Reports

[ ] Any Notable Issues Reported in Maintenance Logs?

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/hvac-system-performance-retail-zones

(Click "Install Template" to launch your digital inspection tool immediately)