HYDROPOWER DAM SAFETY INSPECTION CHECKLIST TEMPLATE

Created by ChecklistGuro (https://checklistguro.com)

--- RESERVOIR MONITORING ---

[ ] Reservoir Water Level (meters)

[ ] Inflow Rate (cubic meters/second)

[ ] Outflow Rate (cubic meters/second)

[ ] Date of Measurement

[ ] Time of Measurement

[ ] Water Clarity (Visual Assessment) (Clear, Slightly Turbid, Turbid, Very Turbid)

[ ] Weather Conditions at Time of Measurement

[ ] GPS Location of Measurement Point

--- DAM STRUCTURE INSPECTION ---

[ ] Crack Width (mm)

[ ] Crack Location (e.g., upstream face)

[ ] Description of Any Visible Deterioration

[ ] Joint Condition (Good, Fair, Poor)

[ ] Settlement (mm)

[ ] Photographic Evidence of Deterioration

[ ] Concrete Discoloration Observed? (Yes, No)

[ ] Date of Last Repair

--- SPILLWAY FUNCTIONALITY ---

[ ] Spillway Discharge Capacity (cfs)

[ ] Reservoir Water Level (feet)

[ ] Time of Spillway Gate Opening/Closing

[ ] Spillway Gate Operation (Automatic/Manual) (Automatic, Manual)

[ ] Gate Alignment (Left/Right) (Left, Right)

[ ] Observations (Gate Movement, Noise, etc.)

[ ] Date of Last Spillway Cleaning

[ ] Photographs of Spillway Operation

--- OUTLET WORKS EVALUATION ---

[ ] Penstock Pressure (PSI)

[ ] Discharge Flow Rate (cfs)

[ ] Valve Operational Status (Open, Closed, Partially Open, Locked Closed, Manual Override Active)

[ ] Intake Screen Condition (Clean, Slight Debris, Moderate Debris, Heavy Debris)

[ ] Observations - Unusual Noises/Leaks

[ ] Last Valve Maintenance Date

[ ] Inspector Signature

--- INSTRUMENTATION & MONITORING SYSTEMS ---

[ ] Piezometer Reading (Settlement Point 1)

[ ] Piezometer Reading (Settlement Point 2)

[ ] Strain Gauge Reading (Dam Face)

[ ] Time of Last Data Download

[ ] Data Download Status (Successful, Partial, Failed)

[ ] Date of Last Calibration

[ ] Notes on System Performance

[ ] Screenshot of Monitoring Dashboard

--- EMBANKMENT STABILITY (EARTHFILL DAMS) ---

[ ] Embankment Settlement (mm)

[ ] Slope Angle Deviation (degrees)

[ ] Evidence of Piping? (Yes, No, Uncertain)

[ ] Description of Slope Instability Signs (if any)

[ ] Seepage Rate (liters/second)

[ ] Erosion Protection Measures Present? (Riprap, Vegetation, Geotextile, None)

[ ] Last Vegetation Inspection Date

--- CONCRETE CONDITION (CONCRETE DAMS) ---

[ ] Concrete Cover Thickness (mm)

[ ] Joint Condition (Excellent, Good, Fair, Poor)

[ ] Description of Any Visible Cracks (Location, Width, Length)

[ ] Evidence of Alkali-Silica Reaction (ASR)? (Yes, No, Uncertain)

[ ] Crack Width (mm) - Maximum Observed

[ ] Upload Photo of Dam Face (Section A)

[ ] Date of Last Concrete Repair

--- SEEPAGE CONTROL ---

[ ] Total Seepage Volume (Gallons)

[ ] Seepage Rate from Toe (Gallons/Hour)

[ ] Seepage Appearance (Color/Texture) (Clear, Cloudy, Silty, Oily)

[ ] Description of Seepage Location(s)

[ ] Evidence of Erosion Near Seepage Points? (Yes, No, Uncertain)

[ ] Date of Last Grouting/Sealing Activity

[ ] Notes/Observations Regarding Seepage Control Measures

--- EMERGENCY ACTION PLAN (EAP) REVIEW ---

[ ] Last EAP Training Date

[ ] EAP Familiarity Level (Staff) (Fully Familiar, Somewhat Familiar, Not Familiar)

[ ] Number of Staff Trained on EAP

[ ] Summary of Recent EAP Drills/Exercises

[ ] Communication System Status (During Emergency) (Operational, Partially Operational, Non-Operational)

[ ] EAP Document Version (Current)

[ ] Estimated Time for Notification of Authorities

--- WILDLIFE & ENVIRONMENTAL CONSIDERATIONS ---

[ ] Fish Passage Status (Clear, Partial Obstruction, Complete Obstruction, Under Construction/Maintenance)

[ ] Aquatic Vegetation Density (Scale of 1-5)

[ ] Observations Regarding Bird Nesting Activity

[ ] Evidence of Erosion Along Shoreline? (Yes, No, Uncertain)

[ ] Last Wildlife Survey Date

[ ] Notes on Water Quality (e.g., clarity, odor)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/energy/hydropower-dam-safety-inspection-checklist-template

(Click "Install Template" to launch your digital inspection tool immediately)