## 6a410f0e8d045fc590b65f88
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Register Sample Entry (ENTRY_CREATE)	Create a new entry in the 'Samples' data model with metadata like Sample ID, Type, and Priority.
2. Set Sample Status to 'Received' (ENTRY_UPDATE)	Update the status of the newly created sample entry to 'Received' upon arrival in the lab.
3. Assign Sample Preparation (TASK_CREATE)	Create a task for the Lab Technician to prepare the sample (centrifugation, dilution, etc.).
4. Fetch Reagent Expiry Dates (ENTRY_GET)	Retrieve data from the 'Reagents' data model to ensure all chemicals used are within valid expiry dates.
5. Calculate Dilution Factor (CALCULATION)	Execute a formula to calculate the final concentration based on the initial volume and dilution ratio.
6. Execute Laboratory Analysis (TASK_CREATE)	Create a task for the Analyst to perform the actual testing/assay on the prepared sample.
7. Log Analysis Results (ENTRY_CREATE)	Create a new entry in the 'Test Results' data model containing the raw numerical data from the analysis.
8. Calculate Mean Batch Result (ENTRY_AGGREGATE)	Aggregate all 'Test Results' entries for the same Batch ID to find the average (AVG) value.
9. Determine Pass/Fail Status (CALCULATION)	Compare the aggregated mean result against the predefined 'Specification Limit' constant.
10. Update Sample Final Status (ENTRY_UPDATE)	Update the 'Samples' entry status to either 'Passed' or 'Failed' based on the calculation result.
11. Quality Control Review (TASK_CREATE)	Create a task for the Lab Manager to review the results if the status is 'Failed'.
12. Generate Certificate of Analysis (CoA) (REPORT_CREATE)	Generate a formal PDF report aggregating all testing data, timestamps, and technician signatures.
13. Notify Client of Results (EMAIL)	Send an email to the client's email address with the completed CoA attached.
14. Urgent Alert for Out-of-Spec (SMS)	Send an SMS to the Lab Supervisor if a 'Failed' status is detected for a High-Priority sample.
15. Cleanup Temporary Logs (ENTRY_DELETE)	Delete temporary, non-traceable intermediate calculation entries to maintain database hygiene.
End (END)	End of the Workflow/Process