LABORATORY INSTRUMENT INSPECTION WORKFLOW: ELN & REGULATED TESTING MANAGEMENT

Created by ChecklistGuro (https://checklistguro.com)

[ ] Get Instrument Details: Retrieve necessary instrument information (e.g., Serial Number, Model, Calibration Due Date) from the Instrument Master Data Model.

[ ] Create Inspection Task Assignment: Assign the physical inspection task to the responsible technician or team.

[ ] Record Inspection Findings: Data entry for inspection results, including Pass/Fail status, observations, and corrective actions.

[ ] Check Calibration Records: Fetch the instrument's historical calibration data to determine service eligibility.

[ ] Calculate Service Due Date: Automatically calculate the next required calibration date based on current service logs.

[ ] Update Instrument Status: Change the instrument's status (e.g., Operational, Needs Service, Out of Service) after inspection.

[ ] Generate Corrective Action Task: Automatically trigger a follow-up task for any failed inspection item.

[ ] Generate Final Inspection Report: Compile all inspection data, findings, and actions taken into a comprehensive, auditable report.

[ ] Notify Stakeholders of Inspection Completion: Send summary email report to Lab Manager and Quality Department upon completion.

[ ] Log Preventative Maintenance Actions: Record any minor maintenance tasks performed during the inspection process.

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/workflow-templates/inspection-management/laboratory-instrument-inspection-workflow-eln-regulated-testing-management

(Click "Install Template" to launch your digital inspection tool immediately)