LABORATORY VENTILATION SYSTEM CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- SYSTEM OVERVIEW & DOCUMENTATION ---

[ ] System Name/Description

[ ] System Design Air Changes per Hour (ACH)

[ ] Date of Last System Design Review

[ ] System Schematic/Diagram

[ ] Brief Description of System Function & Purpose

[ ] System Type (e.g., Dedicated, Recirculation) (Dedicated, Recirculation, Other)

[ ] Date of Last Inspection/Audit

--- SUPPLY AIR SYSTEM ---

[ ] Supply Air Temperature (°C)

[ ] Supply Air Pressure (Pa)

[ ] Supply Air Flow Rate (m³/hr)

[ ] Air Filter Condition (Visual Inspection) (Excellent, Good, Fair, Poor)

[ ] Last Air Filter Replacement Date

[ ] Fan Motor Operational Noise Level (Qualitative)

[ ] Any unusual observations noted during inspection?

--- EXHAUST AIR SYSTEM ---

[ ] Exhaust Fan RPM (Revolutions Per Minute)

[ ] Differential Pressure Across Exhaust Filter (in inches of water)

[ ] Exhaust Duct Integrity (Visual Inspection) (Intact, Minor Damage, Significant Damage, Corrosion Present)

[ ] Dampers Operating Correctly? (Yes, No, N/A)

[ ] Last Exhaust Duct Cleaning Date

[ ] Notes/Comments on Exhaust System Condition

[ ] Location of Exhaust Fan

--- FUME HOODS & LOCAL EXHAUST VENTILATION (LEV) ---

[ ] Fume Hood Face Velocity (ft/min)

[ ] Fume Hood Static Pressure (inches of water)

[ ] Fume Hood Sash Position (At Rest) (Fully Open, Mid-Position, Fully Closed, Other)

[ ] Fume Hood Light Functionality (Working, Not Working, N/A)

[ ] Electrical Outlet Functionality (Fume Hood) (Working, Not Working, N/A)

[ ] Observations/Notes on Fume Hood Performance

[ ] Check all that apply: LEV System Issues (Excessive Noise, Visible Damage, Reduced Airflow, Alarm Activation, None Observed)

[ ] Date of Last Filter Change (LEV)

--- AIR FILTRATION & QUALITY ---

[ ] Pre-Filter Pressure Drop (inches of water)

[ ] HEPA Filter Pressure Drop (inches of water)

[ ] Filter Changeout Schedule Followed? (Yes, No, N/A)

[ ] Last Filter Change Date (Pre-Filter)

[ ] Last Filter Change Date (HEPA Filter)

[ ] Notes on Filter Condition (e.g., discoloration, damage)

[ ] Air Quality Monitoring Performed? (Yes, No, N/A)

[ ] Upload Air Quality Test Results (if applicable)

--- CONTROLS & MONITORING ---

[ ] Supply Air Pressure (in WC)

[ ] Exhaust Air Pressure (in WC)

[ ] Fan Status (On, Off, Alarm)

[ ] Filter Pressure Drop Status (Normal, Warning, Alarm)

[ ] Last System Performance Test Date

[ ] Time of Current Reading/Inspection

[ ] Notes on Control System Operation

[ ] Screenshot of Monitoring System Dashboard (if applicable)

--- MAINTENANCE RECORDS & HISTORY ---

[ ] Last Filter Change Date (Supply Air)

[ ] Last Filter Change Date (Exhaust Air)

[ ] Filter Pressure Drop (Supply Air) - Current Reading

[ ] Filter Pressure Drop (Exhaust Air) - Current Reading

[ ] Summary of Recent Maintenance Activities (Last 6 Months)

[ ] Review of Trending Data (e.g., pressure drop, airflow) (Review Completed - No Concerns, Review Completed - Minor Deviation, Review Completed - Significant Deviation - Follow Up Required)

[ ] Upload of Maintenance Log/Record (if applicable)

[ ] Date of Last System Performance Test

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/laboratory-ventilation-system-checklist

(Click "Install Template" to launch your digital inspection tool immediately)