LAUNDRY OPERATIONS CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-OPERATION CHECKS ---

[ ] Start Time of Laundry Operations

[ ] Temperature of Utility Water (Hot & Cold)

[ ] Check for Leaks Around Machines (No Leaks, Minor Leak, Significant Leak)

[ ] Check Utility Connections (Water Supply, Gas Supply (if applicable), Electrical Power, Drainage)

[ ] Check Ventilation System (Operating Normally, Reduced Ventilation, Not Operating)

[ ] Any Unusual Observations?

--- WASHING MACHINE OPERATIONS ---

[ ] Water Inlet Temperature (°C)

[ ] Water Pressure (PSI)

[ ] Drum Rotation Direction (Check for correct direction) (Clockwise, Counter-Clockwise, N/A - Not Applicable)

[ ] Agitation/Tumble Function (Normal, Malfunctioning, N/A - Not Applicable)

[ ] Cycle Time (Minutes - Compare to expected time)

[ ] Any Unusual Noises or Vibrations Observed?

[ ] Drainage Status (Normal, Slow, Blocked)

[ ] Water Level (if applicable - check sight glass/sensor reading)

[ ] Note any error codes displayed on the machine's panel.

--- DRYER OPERATIONS ---

[ ] Dryer Exhaust Temperature (°F)

[ ] Dryer Vent Pressure (inches of water)

[ ] Lint Filter Condition (Clean, Slightly Dirty, Moderately Dirty, Very Dirty - Needs Cleaning)

[ ] Notes on Dryer Performance (e.g., unusual noises, overheating)

[ ] Drum Rotation Direction (Normal, Reversed, Not Checked)

[ ] Last Lint Duct Cleaning Date

[ ] Dryer Cycle Time (Minutes)

--- CHEMICAL MANAGEMENT ---

[ ] Detergent Level (Gallons)

[ ] Bleach Level (Gallons)

[ ] Softener Level (Gallons)

[ ] Spotter/Pre-Treatment Level (Gallons)

[ ] Detergent Concentration (as per manufacturer's instructions) (Correct, Too High, Too Low)

[ ] Bleach Dilution (as per manufacturer's instructions) (Correct, Too High, Too Low)

[ ] Notes on Chemical Usage/Observations

[ ] Date of Last Chemical Inventory

[ ] Upload MSDS/SDS for Chemicals

--- WATER & UTILITY MONITORING ---

[ ] Water Meter Reading (Start)

[ ] Water Meter Reading (End)

[ ] Water Usage (Gallons/Liters)

[ ] Electricity Consumption (kWh)

[ ] Gas Consumption (Therms/Cubic Meters)

[ ] Wastewater pH Level

[ ] Wastewater Temperature (°C/°F)

[ ] Water Quality Observation (Visual) (Clear, Slightly Cloudy, Cloudy, Discolored)

[ ] Notes on Utility Performance/Anomalies

--- SAFETY & HYGIENE ---

[ ] PPE Usage - Observed Compliance? (Gloves, Eye Protection, Mask/Respirator, Foot Protection, Fully Compliant, Partial Compliance, Non-Compliant)

[ ] Temperature of Laundry Room (Celsius/Fahrenheit)

[ ] Record any spills or leaks observed (detergent, chemicals, etc.)

[ ] Ventilation System Functioning Correctly? (Yes, No, N/A)

[ ] Date of Last Deep Clean of Laundry Area

[ ] Note any unusual odors detected. (e.g., Chemical smell, mold, mildew)

[ ] Fire Extinguisher Inspection Date Current? (Yes, No, N/A)

[ ] Name of Person Conducting Safety Check

[ ] Signature of Person Completing Checklist

--- EQUIPMENT MAINTENANCE & REPAIRS ---

[ ] Last Preventative Maintenance (PPM) Date - Washers

[ ] Last Preventative Maintenance (PPM) Date - Dryers

[ ] Washer - Cycle Counter (record current)

[ ] Dryer - Cycle Counter (record current)

[ ] Description of Any Repairs Performed Today (Washer/Dryer)

[ ] Washer - Abnormal Noise During Cycle? (Yes, No)

[ ] Dryer - Unusual Smell or Smoke Detected? (Yes, No)

[ ] Upload Photos of Any Equipment Issues

[ ] Details of any outstanding repairs needing attention

--- WASTE MANAGEMENT ---

[ ] Quantity of Recyclable Lint (lbs)

[ ] Quantity of General Waste (lbs)

[ ] Quantity of Hazardous Waste (e.g., solvent-soaked rags) (lbs)

[ ] Waste Disposal Method (Recycling, Landfill, Incineration) (Recycling, Landfill, Incineration, Other)

[ ] Comments or observations regarding waste management practices.

[ ] Date of last waste disposal.

[ ] Waste Container Condition (Good, Fair, Poor) (Good, Fair, Poor)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/laundry-operations-checklist

(Click "Install Template" to launch your digital inspection tool immediately)