LIGHTING RETROFIT ASSESSMENT

Created by ChecklistGuro (https://checklistguro.com)

--- INITIAL ASSESSMENT & INFORMATION GATHERING ---

[ ] Project Goals & Objectives

[ ] Building Size (sq ft)

[ ] Building Type (Office, Retail, Warehouse, Industrial, Educational, Healthcare, Other)

[ ] Date of Last Lighting System Evaluation (if applicable)

[ ] Current Lighting System Concerns/Issues (reported by occupants or FM)

[ ] Current Lighting Control System (if any) (None, Timer-based, Photocell-based, Manual Switches, Dimmable System, Smart Building System)

[ ] Contact Person for Lighting Retrofit Project

[ ] Approximate Number of Lighting Fixtures

--- EXISTING LIGHTING INVENTORY & ANALYSIS ---

[ ] Fixture ID/Location Number

[ ] Fixture Type (Incandescent, Fluorescent (T12), Fluorescent (T8), Compact Fluorescent (CFL), Metal Halide, High Pressure Sodium (HPS), LED, Other (Specify))

[ ] Fixture Description (e.g., model number, manufacturer)

[ ] Wattage (per fixture)

[ ] Number of Fixtures in Area

[ ] Lumens Output (estimated or manufacturer's data)

[ ] Control Type (if applicable) (None, Occupancy Sensor, Daylight Harvesting, Dimming)

[ ] Notes/Observations (e.g., condition, issues)

--- ENERGY CONSUMPTION & COST ANALYSIS ---

[ ] Current Total Lighting Energy Consumption (kWh/year)

[ ] Average Lighting Operating Hours per Year

[ ] Current Average Electricity Rate ($/kWh)

[ ] Total Annual Lighting Cost ($)

[ ] Utility Rate Structure (e.g., Tiered, Demand) (Tiered, Demand, Flat, Time-of-Use, Other - Specify in Long Text)

[ ] Notes on Utility Billing or Rate Structure (if applicable)

[ ] Power Factor of Existing Lighting (if known)

--- LIGHTING LEVEL & QUALITY EVALUATION ---

[ ] Foot-candle (Lux) measurement at workstation 1

[ ] Foot-candle (Lux) measurement at workstation 2

[ ] Foot-candle (Lux) measurement - common area

[ ] Lighting Uniformity - Overall Assessment (Excellent, Good, Fair, Poor)

[ ] Color Rendering Index (CRI) - Acceptability (Excellent (>80), Good (70-80), Acceptable (50-70), Poor (<50) - Requires Attention)

[ ] Observed Glare Issues? (Direct Glare, Veiled Glare, No Glare Observed, Other (Specify in Long Text))

[ ] Describe any observed issues with light distribution or visual comfort.

[ ] Overall occupant satisfaction with existing lighting (scale 1-5, 5 being most satisfied) (1, 2, 3, 4, 5)

--- RETROFIT OPTIONS & TECHNOLOGY REVIEW ---

[ ] Consideration of LED Technology? (Yes, No, Not Sure)

[ ] Potential Lighting Control Strategies? (Occupancy Sensors, Daylight Harvesting, Dimming Controls, Time Scheduling, Networked Lighting Control Systems)

[ ] Estimated LED Lumens per Watt (lm/W)

[ ] Color Temperature Preference (CCT)? (Warm White (2700K-3000K), Neutral White (3500K-4000K), Cool White (4000K-5000K), Custom / Other)

[ ] Notes on Specific Fixture Replacement Opportunities (e.g., high bay, troffer)

[ ] Attach Fixture Datasheets (if available)

--- FINANCIAL ANALYSIS & ROI CALCULATION ---

[ ] Estimated Project Cost (Total)

[ ] Current Annual Lighting Energy Consumption (kWh)

[ ] Current Electricity Rate ($/kWh)

[ ] Estimated Annual Energy Savings (kWh)

[ ] Estimated Annual Cost Savings ($)

[ ] Estimated Rebate/Incentive Amount ($)

[ ] Simple Payback Period (Years)

[ ] Return on Investment (ROI) (%)

[ ] Assumptions & Notes for ROI Calculation

--- IMPLEMENTATION PLANNING & LOGISTICS ---

[ ] Planned Start Date of Retrofit

[ ] Planned Completion Date of Retrofit

[ ] Estimated Downtime (in hours) per area

[ ] Detailed Area Sequencing Plan (how areas will be retrofitted in order)

[ ] Safety Precautions Required (check all that apply) (Lockout/Tagout Procedures, Fall Protection, Dust Control, Noise Mitigation, Traffic Control)

[ ] Waste Disposal Method (Recycling, Landfill, Specialized Lighting Waste Disposal)

[ ] Contingency Plan for Unexpected Issues

[ ] Detailed Retrofit Layout Drawings

--- POST-RETROFIT VERIFICATION & COMMISSIONING ---

[ ] Measured Lighting Levels (Foot-Candles)

[ ] Color Temperature Consistency? (Consistent, Slight Variation, Significant Variation)

[ ] Control System Functionality Verified? (Yes - Fully Functional, Yes - Minor Adjustments Needed, No - Issues Identified)

[ ] Notes on observed issues or deviations from expected performance.

[ ] Date of Commissioning Completion

[ ] Post-Retrofit Energy Consumption (kWh)

[ ] Occupant Feedback Received? (Yes, No)

[ ] Post-Retrofit Photos/Videos

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/lighting-retrofit-assessment

(Click "Install Template" to launch your digital inspection tool immediately)