## Sheet1
Label | Value | Notes
Created by checklistguro.com
Initial Assessment & Information Gathering (STEP)
Project Goals & Objectives (TEXT)
Building Size (sq ft) (NUMBER)
Building Type (SELECTION options: Office, Retail, Warehouse, Industrial, Educational, Healthcare, Other)
Date of Last Lighting System Evaluation (if applicable) (DATE)
Current Lighting System Concerns/Issues (reported by occupants or FM) (TEXT)
Current Lighting Control System (if any) (SELECTION options: None, Timer-based, Photocell-based, Manual Switches, Dimmable System, Smart Building System)
Contact Person for Lighting Retrofit Project (TEXT)
Approximate Number of Lighting Fixtures (NUMBER)
Existing Lighting Inventory & Analysis (STEP)
Fixture ID/Location Number (NUMBER)
Fixture Type (SELECTION options: Incandescent, Fluorescent (T12), Fluorescent (T8), Compact Fluorescent (CFL), Metal Halide, High Pressure Sodium (HPS), LED, Other (Specify))
Fixture Description (e.g., model number, manufacturer) (TEXT)
Wattage (per fixture) (NUMBER)
Number of Fixtures in Area (NUMBER)
Lumens Output (estimated or manufacturer's data) (NUMBER)
Control Type (if applicable) (SELECTION options: None, Occupancy Sensor, Daylight Harvesting, Dimming)
Notes/Observations (e.g., condition, issues) (TEXT)
Energy Consumption & Cost Analysis (STEP)
Current Total Lighting Energy Consumption (kWh/year) (NUMBER)
Average Lighting Operating Hours per Year (NUMBER)
Current Average Electricity Rate ($/kWh) (NUMBER)
Total Annual Lighting Cost ($) (NUMBER)
Utility Rate Structure (e.g., Tiered, Demand) (SELECTION options: Tiered, Demand, Flat, Time-of-Use, Other - Specify in Long Text)
Notes on Utility Billing or Rate Structure (if applicable) (TEXT)
Power Factor of Existing Lighting (if known) (NUMBER)
Lighting Level & Quality Evaluation (STEP)
Foot-candle (Lux) measurement at workstation 1 (NUMBER)
Foot-candle (Lux) measurement at workstation 2 (NUMBER)
Foot-candle (Lux) measurement - common area (NUMBER)
Lighting Uniformity - Overall Assessment (SELECTION options: Excellent, Good, Fair, Poor)
Color Rendering Index (CRI) - Acceptability (SELECTION options: Excellent (>80), Good (70-80), Acceptable (50-70), Poor (<50) - Requires Attention)
Observed Glare Issues? (SELECTION options: Direct Glare, Veiled Glare, No Glare Observed, Other (Specify in Long Text))
Describe any observed issues with light distribution or visual comfort. (TEXT)
Overall occupant satisfaction with existing lighting (scale 1-5, 5 being most satisfied) (SELECTION options: 1, 2, 3, 4, 5)
Retrofit Options & Technology Review (STEP)
Consideration of LED Technology? (SELECTION options: Yes, No, Not Sure)
Potential Lighting Control Strategies? (SELECTION options: Occupancy Sensors, Daylight Harvesting, Dimming Controls, Time Scheduling, Networked Lighting Control Systems)
Estimated LED Lumens per Watt (lm/W) (NUMBER)
Color Temperature Preference (CCT)? (SELECTION options: Warm White (2700K-3000K), Neutral White (3500K-4000K), Cool White (4000K-5000K), Custom / Other)
Notes on Specific Fixture Replacement Opportunities (e.g., high bay, troffer) (TEXT)
Attach Fixture Datasheets (if available) (UPLOAD)
Financial Analysis & ROI Calculation (STEP)
Estimated Project Cost (Total) (NUMBER)
Current Annual Lighting Energy Consumption (kWh) (NUMBER)
Current Electricity Rate ($/kWh) (NUMBER)
Estimated Annual Energy Savings (kWh) (NUMBER)
Estimated Annual Cost Savings ($) (NUMBER)
Estimated Rebate/Incentive Amount ($) (NUMBER)
Simple Payback Period (Years) (NUMBER)
Return on Investment (ROI) (%) (NUMBER)
Assumptions & Notes for ROI Calculation (TEXT)
Implementation Planning & Logistics (STEP)
Planned Start Date of Retrofit (DATE)
Planned Completion Date of Retrofit (DATE)
Estimated Downtime (in hours) per area (NUMBER)
Detailed Area Sequencing Plan (how areas will be retrofitted in order) (TEXT)
Safety Precautions Required (check all that apply) (SELECTION options: Lockout/Tagout Procedures, Fall Protection, Dust Control, Noise Mitigation, Traffic Control)
Waste Disposal Method (SELECTION options: Recycling, Landfill, Specialized Lighting Waste Disposal)
Contingency Plan for Unexpected Issues (TEXT)
Detailed Retrofit Layout Drawings (UPLOAD)
Post-Retrofit Verification & Commissioning (STEP)
Measured Lighting Levels (Foot-Candles) (NUMBER)
Color Temperature Consistency? (SELECTION options: Consistent, Slight Variation, Significant Variation)
Control System Functionality Verified? (SELECTION options: Yes - Fully Functional, Yes - Minor Adjustments Needed, No - Issues Identified)
Notes on observed issues or deviations from expected performance. (TEXT)
Date of Commissioning Completion (DATE)
Post-Retrofit Energy Consumption (kWh) (NUMBER)
Occupant Feedback Received? (SELECTION options: Yes, No)
Post-Retrofit Photos/Videos (UPLOAD)