LNG FACILITY SAFETY & INSPECTION CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-OPERATION CHECKS ---

[ ] Planned Startup Date

[ ] Scheduled Startup Time

[ ] Ambient Temperature (Celsius)

[ ] Wind Speed (m/s)

[ ] Weather Conditions (Clear, Cloudy, Rain, Fog, Snow)

[ ] Pre-Startup Checklist Review Notes

[ ] Operator Signature - Pre-Startup Verification

--- TANK & VESSEL INSPECTIONS ---

[ ] Tank Wall Thickness (mm)

[ ] Tank Pressure (kPa)

[ ] Corrosion Observations

[ ] Crack or Weld Defect Notes

[ ] Level Gauge Status (Functional, Malfunctioning, Needs Calibration)

[ ] Tank Inspection Photos

[ ] Last Internal Inspection Date

[ ] Vessel Material Type (Carbon Steel, Stainless Steel, Other)

--- PIPELINE INTEGRITY ---

[ ] Pipeline Operating Pressure (PSI)

[ ] Pipeline Wall Thickness (inches)

[ ] Pipeline Material Type (Carbon Steel, Stainless Steel, Other)

[ ] Last Internal Inspection Date

[ ] Time of Inspection Start

[ ] Corrosion Rate (mm/year)

[ ] Pigging Frequency (Months) (Every 1-3 Months, Every 3-6 Months, Every 6-12 Months, Longer than 12 Months)

[ ] GPS Coordinates of Inspection Location

--- FIRE PROTECTION SYSTEMS ---

[ ] Fire Water Tank Level (Gallons)

[ ] Fire Pump Condition (Operational, Needs Maintenance, Out of Service)

[ ] Last Fire Extinguisher Inspection Date

[ ] Sprinkler System Valve Status (Open, Closed, Partially Open)

[ ] Fire Hose Pressure (PSI)

[ ] Fire Alarm Panel Status (Normal, Fault, Testing)

[ ] Comments/Observations Regarding Fire Protection Systems

--- GAS DETECTION & MONITORING ---

[ ] Methane Concentration (ppm)

[ ] Hydrogen Sulfide Concentration (ppm)

[ ] Ambient Temperature (°C)

[ ] Detector Calibration Status (Calibrated, Needs Calibration, Out of Service)

[ ] Last Calibration Date

[ ] Time of Reading

[ ] Detector Location(s) Checked (Tank Farm, Loading Dock, Control Room, Pipeline Access Points)

[ ] Detector Malfunction/Alarm Notes

--- ELECTRICAL SAFETY ---

[ ] Voltage Reading (Phase A)

[ ] Voltage Reading (Phase B)

[ ] Voltage Reading (Phase C)

[ ] Grounding System Condition (Excellent, Good, Fair, Poor)

[ ] Potential Hazards Observed (Exposed Wiring, Damaged Insulation, Loose Connections, Lack of Grounding, Overheating Equipment, None Observed)

[ ] Notes on Electrical Equipment Condition

[ ] Last Electrical Inspection Date

[ ] Inspector Signature

--- SECURITY SYSTEMS ---

[ ] Perimeter Fence Height (meters)

[ ] CCTV System Status (Operational, Degraded, Non-Operational)

[ ] Access Control Points Checked (Main Gate, Service Entrance, Loading Dock, Administration Building)

[ ] Last Intrusion Detection System Test Date

[ ] Time of Security Patrol Start

[ ] Location of Security Control Room

--- PERSONNEL TRAINING & COMPETENCY ---

[ ] Last Hazmat Training Date (Within Last 6 Months, Within Last 12 Months, More than 12 Months, Not Required)

[ ] Last Emergency Response Drill Date

[ ] Number of Hours of LNG Handling Training

[ ] Relevant Certifications (OSHA 10, OSHA 30, First Aid/CPR, Confined Space Entry, HAZWOPER)

[ ] Trainee Signature

[ ] Training Deficiencies Noted (if any)

--- ENVIRONMENTAL COMPLIANCE ---

[ ] Last Emissions Monitoring Date

[ ] Methane Emission Levels (ppm)

[ ] Spill Prevention Plan Status (Up-to-date, Needs Review, Outdated)

[ ] Summary of Recent Environmental Audits

[ ] Environmental Monitoring Reports

[ ] Waste Management Plan Compliance (Compliant, Minor Deviation, Significant Deviation)

--- POST-OPERATION CHECKS ---

[ ] Shutdown Completion Time

[ ] Final Tank Pressure (psia)

[ ] All Systems Verified Offline? (Yes, No)

[ ] Date of Last Shutdown

[ ] Abnormalities/Observations During Shutdown

[ ] Operator Signature (Confirmation of Shutdown)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/energy/lng-facility-safety-inspection-checklist

(Click "Install Template" to launch your digital inspection tool immediately)