## 6a39111c5a1e7cf130c0d459
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Pre-Operation Checks (STEP)
Planned Startup Date (DATE)
Scheduled Startup Time (DATE)
Ambient Temperature (Celsius) (NUMBER)
Wind Speed (m/s) (NUMBER)
Weather Conditions (SELECTION options: Clear, Cloudy, Rain, Fog, Snow)
Pre-Startup Checklist Review Notes (TEXT)
Operator Signature - Pre-Startup Verification (SIGNATURE)

Tank & Vessel Inspections (STEP)
Tank Wall Thickness (mm) (NUMBER)
Tank Pressure (kPa) (NUMBER)
Corrosion Observations (TEXT)
Crack or Weld Defect Notes (TEXT)
Level Gauge Status (SELECTION options: Functional, Malfunctioning, Needs Calibration)
Tank Inspection Photos (UPLOAD)
Last Internal Inspection Date (DATE)
Vessel Material Type (SELECTION options: Carbon Steel, Stainless Steel, Other)

Pipeline Integrity (STEP)
Pipeline Operating Pressure (PSI) (NUMBER)
Pipeline Wall Thickness (inches) (NUMBER)
Pipeline Material Type (SELECTION options: Carbon Steel, Stainless Steel, Other)
Last Internal Inspection Date (DATE)
Time of Inspection Start (DATE)
Corrosion Rate (mm/year) (NUMBER)
Pigging Frequency (Months) (SELECTION options: Every 1-3 Months, Every 3-6 Months, Every 6-12 Months, Longer than 12 Months)
GPS Coordinates of Inspection Location (LOCATION)

Fire Protection Systems (STEP)
Fire Water Tank Level (Gallons) (NUMBER)
Fire Pump Condition (SELECTION options: Operational, Needs Maintenance, Out of Service)
Last Fire Extinguisher Inspection Date (DATE)
Sprinkler System Valve Status (SELECTION options: Open, Closed, Partially Open)
Fire Hose Pressure (PSI) (NUMBER)
Fire Alarm Panel Status (SELECTION options: Normal, Fault, Testing)
Comments/Observations Regarding Fire Protection Systems (TEXT)

Gas Detection & Monitoring (STEP)
Methane Concentration (ppm) (NUMBER)
Hydrogen Sulfide Concentration (ppm) (NUMBER)
Ambient Temperature (°C) (NUMBER)
Detector Calibration Status (SELECTION options: Calibrated, Needs Calibration, Out of Service)
Last Calibration Date (DATE)
Time of Reading (DATE)
Detector Location(s) Checked (SELECTION options: Tank Farm, Loading Dock, Control Room, Pipeline Access Points)
Detector Malfunction/Alarm Notes (TEXT)

Electrical Safety (STEP)
Voltage Reading (Phase A) (NUMBER)
Voltage Reading (Phase B) (NUMBER)
Voltage Reading (Phase C) (NUMBER)
Grounding System Condition (SELECTION options: Excellent, Good, Fair, Poor)
Potential Hazards Observed (SELECTION options: Exposed Wiring, Damaged Insulation, Loose Connections, Lack of Grounding, Overheating Equipment, None Observed)
Notes on Electrical Equipment Condition (TEXT)
Last Electrical Inspection Date (DATE)
Inspector Signature (SIGNATURE)

Security Systems (STEP)
Perimeter Fence Height (meters) (NUMBER)
CCTV System Status (SELECTION options: Operational, Degraded, Non-Operational)
Access Control Points Checked (SELECTION options: Main Gate, Service Entrance, Loading Dock, Administration Building)
Last Intrusion Detection System Test Date (DATE)
Time of Security Patrol Start (DATE)
Location of Security Control Room (LOCATION)

Personnel Training & Competency (STEP)
Last Hazmat Training Date (SELECTION options: Within Last 6 Months, Within Last 12 Months, More than 12 Months, Not Required)
Last Emergency Response Drill Date (DATE)
Number of Hours of LNG Handling Training (NUMBER)
Relevant Certifications (SELECTION options: OSHA 10, OSHA 30, First Aid/CPR, Confined Space Entry, HAZWOPER)
Trainee Signature (SIGNATURE)
Training Deficiencies Noted (if any) (TEXT)

Environmental Compliance (STEP)
Last Emissions Monitoring Date (DATE)
Methane Emission Levels (ppm) (NUMBER)
Spill Prevention Plan Status (SELECTION options: Up-to-date, Needs Review, Outdated)
Summary of Recent Environmental Audits (TEXT)
Environmental Monitoring Reports (UPLOAD)
Waste Management Plan Compliance (SELECTION options: Compliant, Minor Deviation, Significant Deviation)

Post-Operation Checks (STEP)
Shutdown Completion Time (DATE)
Final Tank Pressure (psia) (NUMBER)
All Systems Verified Offline? (SELECTION options: Yes, No)
Date of Last Shutdown (DATE)
Abnormalities/Observations During Shutdown (TEXT)
Operator Signature (Confirmation of Shutdown) (SIGNATURE)