MEDICAL DEVICE INSPECTION WORKFLOW: QUALITY ASSURANCE AND REGULATORY AUDIT MANAGEMENT

Created by ChecklistGuro (https://checklistguro.com)

[ ] Schedule Initial Inspection Task: Automatically create the primary task for the inspection based on device registration data.
[ ] Retrieve Device Master Data: Fetch essential device details (Serial Number, Model, Last Inspection Date) for context.
[ ] Generate Inspection Checklist Task: Create detailed, sequential checklist tasks based on device type and risk level.
[ ] Assign Inspection Personnel Task: Assign specific inspectors and required roles to the inspection task.
[ ] Record Inspection Findings/Observations: Data entry point for inspectors to log observed conditions, defects, and necessary corrective actions.
[ ] Update Device Status After Inspection: Change the device's operational status (e.g., Pass, Fail, Needs Calibration) based on findings.
[ ] Calculate Inspection Completion Score: Execute formulas to determine overall device health score from recorded metrics.
[ ] Generate Final Audit Report: Compile all inspection data, findings, and corrective actions into a comprehensive, auditable report.
[ ] Notify Stakeholders of Inspection Completion: Send automated summary reports and next steps to management and relevant departments.
[ ] Create Follow-up Corrective Action Tasks: Auto-generate tasks for necessary follow-up work (e.g., calibration, repair) upon failure.

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/workflow-templates/inspection-management/medical-device-inspection-workflow-quality-assurance-and-regulatory-audit-management
(Click "Install Template" to launch your digital inspection tool immediately)