MEDICAL DEVICE MAINTENANCE AND CALIBRATION WORKFLOW

Created by ChecklistGuro (https://checklistguro.com)

[ ] Retrieve Device Master Record: Fetch the specific medical device details, including model, serial number, and maintenance history from the Device Data Model.

[ ] Retrieve Calibration Schedule: Retrieve the predefined calibration interval and last calibration date for the selected device.

[ ] Calculate Days Since Last Service: Calculate the number of days elapsed between the current date and the last recorded calibration date.

[ ] Determine Maintenance Urgency: Compare days since last service against the calibration interval to determine if the device is 'Overdue', 'Due Soon', or 'Within Interval'.

[ ] Assign Technician Inspection Task: Create a task for the Biomedical Engineer to perform physical inspection and cleaning.

[ ] Update Device Status to 'Under Maintenance': Update the status field in the Device Data Model to prevent clinical use during the process.

[ ] Perform Calibration Task: Create a technical task containing a mandatory checklist for pressure, voltage, or accuracy testing.

[ ] Create Calibration Log Entry: Create a new record in the Calibration Logs Data Model containing the results of the current session.

[ ] Retrieve Test Equipment Calibration Status: Check if the tools/sensors being used for calibration are themselves within their valid calibration period.

[ ] Calculate Deviation Margin: Calculate the difference between the measured value and the manufacturer's acceptable tolerance.

[ ] Update Device Calibration Date: Update the 'Last Calibration Date' in the Device Data Model to the current date upon successful completion.

[ ] Update Next Due Date: Update the 'Next Maintenance Due' field in the Device Data Model based on the maintenance interval.

[ ] Update Device Status to 'Operational': Change the status of the device back to 'Available' or 'Operational' in the system.

[ ] Generate Calibration Certificate: Generate a formal PDF Certificate of Calibration containing all test results, pass/fail status, and technician signatures.

[ ] Summarize Fleet Compliance: Aggregate all device records to calculate the percentage of the medical device fleet that is currently 'In Compliance'.

[ ] Notify Department Head: Send an email to the Clinical Department Head notifying them that the device is back in service.

[ ] Alert Technician of Overdue Maintenance: Send an SMS alert to the technician if a critical device is identified as being past its maintenance window.

[ ] Remove Failed Test Records: Delete erroneous or duplicate test entries from the temporary testing log if the calibration session was invalidated.

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/workflow-templates/healthcare/medical-device-maintenance-and-calibration-workflow

(Click "Install Template" to launch your digital inspection tool immediately)