## 6a410fa68d045fc590b6618d
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Retrieve Device Master Record (ENTRY_GET)	Fetch the specific medical device details, including model, serial number, and maintenance history from the Device Data Model.
2. Retrieve Calibration Schedule (ENTRY_GET)	Retrieve the predefined calibration interval and last calibration date for the selected device.
3. Calculate Days Since Last Service (CALCULATION)	Calculate the number of days elapsed between the current date and the last recorded calibration date.
4. Determine Maintenance Urgency (CALCULATION)	Compare days since last service against the calibration interval to determine if the device is 'Overdue', 'Due Soon', or 'Within Interval'.
5. Assign Technician Inspection Task (TASK_CREATE)	Create a task for the Biomedical Engineer to perform physical inspection and cleaning.
6. Update Device Status to 'Under Maintenance' (ENTRY_UPDATE)	Update the status field in the Device Data Model to prevent clinical use during the process.
7. Perform Calibration Task (TASK_CREATE)	Create a technical task containing a mandatory checklist for pressure, voltage, or accuracy testing.
8. Create Calibration Log Entry (ENTRY_CREATE)	Create a new record in the Calibration Logs Data Model containing the results of the current session.
9. Retrieve Test Equipment Calibration Status (ENTRY_GET)	Check if the tools/sensors being used for calibration are themselves within their valid calibration period.
10. Calculate Deviation Margin (CALCULATION)	Calculate the difference between the measured value and the manufacturer's acceptable tolerance.
11. Update Device Calibration Date (ENTRY_UPDATE)	Update the 'Last Calibration Date' in the Device Data Model to the current date upon successful completion.
12. Update Next Due Date (ENTRY_UPDATE)	Update the 'Next Maintenance Due' field in the Device Data Model based on the maintenance interval.
13. Update Device Status to 'Operational' (ENTRY_UPDATE)	Change the status of the device back to 'Available' or 'Operational' in the system.
14. Generate Calibration Certificate (REPORT_CREATE)	Generate a formal PDF Certificate of Calibration containing all test results, pass/fail status, and technician signatures.
15. Summarize Fleet Compliance (ENTRY_AGGREGATE)	Aggregate all device records to calculate the percentage of the medical device fleet that is currently 'In Compliance'.
16. Notify Department Head (EMAIL)	Send an email to the Clinical Department Head notifying them that the device is back in service.
17. Alert Technician of Overdue Maintenance (SMS)	Send an SMS alert to the technician if a critical device is identified as being past its maintenance window.
18. Remove Failed Test Records (ENTRY_DELETE)	Delete erroneous or duplicate test entries from the temporary testing log if the calibration session was invalidated.
End (END)	End of the Workflow/Process