## Sheet1
Label | Value | Notes
Created by checklistguro.com
Equipment Identification & Information (STEP)
Equipment Name (TEXT)
Manufacturer (TEXT)
Model Number (TEXT)
Serial Number (NUMBER)
Asset/Equipment Tag Number (NUMBER)
Date of Installation/Commissioning (DATE)
Equipment Location (Room/Department) (LOCATION)
Equipment Status (Operational, Awaiting Repair, Out of Service) (SELECTION options: Operational, Awaiting Repair, Out of Service)
Calibration Scope & Standards (STEP)
Equipment Name/Model (TEXT)
Serial Number/Asset Tag (TEXT)
Calibration Parameters (SELECTION options: Accuracy, Precision, Linearity, Resolution, Repeatability, Sensitivity)
Calibration Standard Used (SELECTION options: NIST traceable, ISO 17025 accredited lab, Manufacturer's Standard, Other (Specify))
Specify Calibration Standard (If 'Other') (TEXT)
Acceptance Criteria Tolerance (%) (NUMBER)
Date Standard Valid Until (DATE)
Upload Calibration Standard Certificate (UPLOAD)
Pre-Calibration Checks & Assessment (STEP)
Date of Pre-Calibration Check (DATE)
Equipment Name/Model (TEXT)
Equipment Serial Number (TEXT)
Visual Inspection Notes (Damage, Leaks, Wear) (TEXT)
Initial Reading (Parameter 1) - As Found (NUMBER)
Initial Reading (Parameter 1) - Unit (NUMBER)
Equipment Functionality - Pre Calibration (SELECTION options: Operational, Limited Functionality, Non-Operational)
Any Concerns/Issues Noted Before Calibration (TEXT)
Calibration Procedure (STEP)
Step 1: Power On and Warm-Up (TEXT)
Step 2: Ambient Temperature (°C) (NUMBER)
Step 2: Ambient Humidity (%) (NUMBER)
Step 3: Selected Calibration Mode (e.g., Auto, Manual) (SELECTION options: Auto, Manual, Other (Specify))
Step 4: Describe any specific setup required for calibration. (TEXT)
Step 12: Input 1 value (Units) (NUMBER)
Step 21: Input 2 value (Units) (NUMBER)
Calibration Results (STEP)
Measured Value 1 (e.g., Temperature) (NUMBER)
Measured Value 2 (e.g., Pressure) (NUMBER)
Measured Value 3 (e.g., Volume) (NUMBER)
Uncertainty of Measurement (Value 1) (NUMBER)
Uncertainty of Measurement (Value 2) (NUMBER)
Uncertainty of Measurement (Value 1) (NUMBER)
Pass/Fail Status (SELECTION options: Pass, Fail, Marginal)
Notes/Comments on Results (TEXT)
Adjustment & Correction (STEP)
Detailed Description of Adjustments Made (TEXT)
Adjustment Value (e.g., % or units) (NUMBER)
Initial Reading Before Adjustment (NUMBER)
Final Reading After Adjustment (NUMBER)
Adjustment Method Used (SELECTION options: Software Adjustment, Mechanical Adjustment, Internal Configuration, Other (Specify in LONG_TEXT))
Justification for Adjustment (if applicable) (TEXT)
Was Tolerance Achieved? (SELECTION options: Yes, No)
Reason for Not Achieving Tolerance (if applicable) (TEXT)
Signature of Technician Performing Adjustment (SIGNATURE)
Date of Adjustment (DATE)
Post-Calibration Verification (STEP)
Verification Measurement 1 (Value) (NUMBER)
Verification Measurement 1 (Units) (NUMBER)
Verification Measurement 2 (Value) (NUMBER)
Verification Measurement 2 (Units) (NUMBER)
Verification Result: Within Tolerance? (SELECTION options: Yes, No)
Notes on Verification (if applicable) (TEXT)
Date of Verification (DATE)
Time of Verification (DATE)
Documentation & Reporting (STEP)
Calibration Certificate (Uploaded) (UPLOAD)
Review of Certificate: Completeness & Accuracy (TEXT)
Certificate Validity? (SELECTION options: Valid, Invalid)
Notes/Comments on Certificate Review (if applicable) (TEXT)
Date of Certificate Review (DATE)
Reviewer Signature (SIGNATURE)
Calibration Schedule & Follow-up (STEP)
Date of Last Calibration (DATE)
Next Calibration Due Date (DATE)
Calibration Interval (in months/years) (NUMBER)
Calibration Performed By (Internal/External) (SELECTION options: Internal, External)
Notes/Comments Regarding Calibration Schedule & Follow-up (TEXT)
Calibration Status (SELECTION options: Not Started, In Progress, Completed, Overdue)
Date Calibration Reminder Sent (DATE)