MEDICAL GAS CYLINDER INSPECTION CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- CYLINDER IDENTIFICATION & LOCATION ---

[ ] Cylinder ID Number

[ ] Gas Type (Oxygen, Nitrous Oxide, Nitrogen, Carbon Dioxide, Helium, Other)

[ ] Cylinder Size (e.g., E, H)

[ ] Exact Location of Cylinder

[ ] Properly Labelled? (Yes, No)

[ ] Notes on Label/Identification (if applicable)

--- PHYSICAL CONDITION OF CYLINDER ---

[ ] Cylinder Serial Number

[ ] Visible Rust/Corrosion? (None, Minor, Moderate, Severe)

[ ] Physical Dents/Damage? (None, Minor, Moderate, Severe)

[ ] Valve Protection Cap Present & Intact? (Yes, No, N/A)

[ ] Cylinder Weight (lbs/kg) - Verify against Cylinder Data Plate

[ ] Detailed Description of any Damage Observed (if applicable)

[ ] Upload Photo of Cylinder Condition

--- VALVE INSPECTION ---

[ ] Valve Condition (Good, Minor Damage (Scratches, Minor Dents), Significant Damage (Cracks, Severe Dents), Valve Leaking)

[ ] Valve Cap Present & Secure? (Yes, No)

[ ] Valve Outlet Pressure (PSI)

[ ] Valve Stem Operation

[ ] Valve Seating? (Yes, No)

[ ] Valve Leak Test Results

[ ] Valve Threads Condition? (Good, Damaged/Corroded)

--- REGULATORY COMPLIANCE & DOCUMENTATION ---

[ ] Cylinder Registration Status (Registered, Not Registered, Registration Expired)

[ ] Last Inspection Date

[ ] Next Inspection Due Date

[ ] Cylinder Serial Number

[ ] Compliance with NFPA 99 (Compliant, Non-Compliant, N/A)

[ ] Compliance with State/Local Regulations (Compliant, Non-Compliant, N/A)

[ ] Documentation Notes (e.g., Certificate of Analysis, Test Reports)

[ ] Upload Supporting Documentation (e.g., Registration Certificate)

--- HANDLING & STORAGE ---

[ ] Cylinder Secured? (Yes, No, N/A)

[ ] Cylinder Chained/Strapped? (Yes, No, N/A)

[ ] Distance from Wall (inches)

[ ] Storage Area Well-Ventilated? (Yes, No, N/A)

[ ] Notes on Cylinder Handling/Storage (if any)

[ ] Cylinders Stored Upright? (Yes, No, N/A)

--- PRESSURE & CONTENT VERIFICATION ---

[ ] Cylinder Pressure (PSI/Bar)

[ ] Pressure Within Specified Range? (Yes, No)

[ ] Content Type Verified Against Label

[ ] Content Correct? (Yes, No)

[ ] Discrepancy Notes (if applicable)

[ ] Last Content Fill Date (if available)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/medical-gas-cylinder-inspection-checklist

(Click "Install Template" to launch your digital inspection tool immediately)