## 6a390ef55a1e7cf130c0ccaf
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Cylinder Identification & Location (STEP)
Cylinder ID Number (TEXT)
Gas Type (SELECTION options: Oxygen, Nitrous Oxide, Nitrogen, Carbon Dioxide, Helium, Other)
Cylinder Size (e.g., E, H) (NUMBER)
Exact Location of Cylinder (LOCATION)
Properly Labelled? (SELECTION options: Yes, No)
Notes on Label/Identification (if applicable) (TEXT)

Physical Condition of Cylinder (STEP)
Cylinder Serial Number (NUMBER)
Visible Rust/Corrosion? (SELECTION options: None, Minor, Moderate, Severe)
Physical Dents/Damage? (SELECTION options: None, Minor, Moderate, Severe)
Valve Protection Cap Present & Intact? (SELECTION options: Yes, No, N/A)
Cylinder Weight (lbs/kg) - Verify against Cylinder Data Plate (NUMBER)
Detailed Description of any Damage Observed (if applicable) (TEXT)
Upload Photo of Cylinder Condition (UPLOAD)

Valve Inspection (STEP)
Valve Condition (SELECTION options: Good, Minor Damage (Scratches, Minor Dents), Significant Damage (Cracks, Severe Dents), Valve Leaking)
Valve Cap Present & Secure? (SELECTION options: Yes, No)
Valve Outlet Pressure (PSI) (NUMBER)
Valve Stem Operation (TEXT)
Valve Seating? (SELECTION options: Yes, No)
Valve Leak Test Results (TEXT)
Valve Threads Condition? (SELECTION options: Good, Damaged/Corroded)

Regulatory Compliance & Documentation (STEP)
Cylinder Registration Status (SELECTION options: Registered, Not Registered, Registration Expired)
Last Inspection Date (DATE)
Next Inspection Due Date (DATE)
Cylinder Serial Number (NUMBER)
Compliance with NFPA 99 (SELECTION options: Compliant, Non-Compliant, N/A)
Compliance with State/Local Regulations (SELECTION options: Compliant, Non-Compliant, N/A)
Documentation Notes (e.g., Certificate of Analysis, Test Reports) (TEXT)
Upload Supporting Documentation (e.g., Registration Certificate) (UPLOAD)

Handling & Storage (STEP)
Cylinder Secured? (SELECTION options: Yes, No, N/A)
Cylinder Chained/Strapped? (SELECTION options: Yes, No, N/A)
Distance from Wall (inches) (NUMBER)
Storage Area Well-Ventilated? (SELECTION options: Yes, No, N/A)
Notes on Cylinder Handling/Storage (if any) (TEXT)
Cylinders Stored Upright? (SELECTION options: Yes, No, N/A)

Pressure & Content Verification (STEP)
Cylinder Pressure (PSI/Bar) (NUMBER)
Pressure Within Specified Range? (SELECTION options: Yes, No)
Content Type Verified Against Label (TEXT)
Content Correct? (SELECTION options: Yes, No)
Discrepancy Notes (if applicable) (TEXT)
Last Content Fill Date (if available) (DATE)