MEDICAL GAS CYLINDER INSPECTION CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- CYLINDER IDENTIFICATION & LOCATION ---
[ ] Cylinder ID Number
[ ] Gas Type (Oxygen, Nitrous Oxide, Nitrogen, Carbon Dioxide, Helium, Other)
[ ] Cylinder Size (e.g., E, H)
[ ] Exact Location of Cylinder
[ ] Properly Labelled? (Yes, No)
[ ] Notes on Label/Identification (if applicable)

--- PHYSICAL CONDITION OF CYLINDER ---
[ ] Cylinder Serial Number
[ ] Visible Rust/Corrosion? (None, Minor, Moderate, Severe)
[ ] Physical Dents/Damage? (None, Minor, Moderate, Severe)
[ ] Valve Protection Cap Present & Intact? (Yes, No, N/A)
[ ] Cylinder Weight (lbs/kg) - Verify against Cylinder Data Plate
[ ] Detailed Description of any Damage Observed (if applicable)
[ ] Upload Photo of Cylinder Condition

--- VALVE INSPECTION ---
[ ] Valve Condition (Good, Minor Damage (Scratches, Minor Dents), Significant Damage (Cracks, Severe Dents), Valve Leaking)
[ ] Valve Cap Present & Secure? (Yes, No)
[ ] Valve Outlet Pressure (PSI)
[ ] Valve Stem Operation
[ ] Valve Seating? (Yes, No)
[ ] Valve Leak Test Results
[ ] Valve Threads Condition? (Good, Damaged/Corroded)

--- REGULATORY COMPLIANCE & DOCUMENTATION ---
[ ] Cylinder Registration Status (Registered, Not Registered, Registration Expired)
[ ] Last Inspection Date
[ ] Next Inspection Due Date
[ ] Cylinder Serial Number
[ ] Compliance with NFPA 99 (Compliant, Non-Compliant, N/A)
[ ] Compliance with State/Local Regulations (Compliant, Non-Compliant, N/A)
[ ] Documentation Notes (e.g., Certificate of Analysis, Test Reports)
[ ] Upload Supporting Documentation (e.g., Registration Certificate)

--- HANDLING & STORAGE ---
[ ] Cylinder Secured? (Yes, No, N/A)
[ ] Cylinder Chained/Strapped? (Yes, No, N/A)
[ ] Distance from Wall (inches)
[ ] Storage Area Well-Ventilated? (Yes, No, N/A)
[ ] Notes on Cylinder Handling/Storage (if any)
[ ] Cylinders Stored Upright? (Yes, No, N/A)

--- PRESSURE & CONTENT VERIFICATION ---
[ ] Cylinder Pressure (PSI/Bar)
[ ] Pressure Within Specified Range? (Yes, No)
[ ] Content Type Verified Against Label
[ ] Content Correct? (Yes, No)
[ ] Discrepancy Notes (if applicable)
[ ] Last Content Fill Date (if available)

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/facility-management/medical-gas-cylinder-inspection-checklist
(Click "Install Template" to launch your digital inspection tool immediately)