MINE FUEL & CONSUMABLES MANAGEMENT CHECKLIST 2026

Created by ChecklistGuro (https://checklistguro.com)

--- FUEL STORAGE & TANK FARM INTEGRITY ---

[ ] Inspection Date

[ ] Tank Farm/Storage Unit ID

[ ] Tank Integrity Status (Intact - No visible leaks, Minor Seepage Detected, Critical Leak/Structural Failure)

[ ] Secondary Containment (Bund) Condition (Clear of debris and water, Accumulated rainwater/debris, Cracks or breach in bund wall)

[ ] Current Fuel Volume (Liters)

[ ] Observation Notes & Anomaly Details

[ ] Photo Evidence of Tank/Bund Condition

[ ] Inspector Signature

--- INVENTORY & STOCK LEVEL MONITORING ---

[ ] Inventory Audit Date

[ ] Fuel Stock Level (Litres)

[ ] Lubricant Stock Level (Litres/kg)

[ ] Critical Reorder Point Threshold

[ ] Stock Status (Sufficient, Low Stock - Reorder Required, Critical - Immediate Action Needed, Out of Stock)

[ ] Consumables Monitored (Diesel/Fuel Oil, Engine Oil, Hydraulic Fluid, Grease, Coolant)

[ ] Inventory Reconciliation Report

[ ] Inventory Controller Signature

--- DISPENSING & REFUELLING INFRASTRUCTURE ---

[ ] Infrastructure Components Inspected (Fuel Pumps, Delivery Hoses & Nozzles, Flow Meters, Filtration/Separator Units, Pressure Gauges, Emergency Shut-off Valves)

[ ] Hose & Nozzle Condition (Excellent, Good - Monitor closely, Fair - Requires maintenance, Critical - Immediate replacement required)

[ ] Last Meter Calibration (Days Ago)

[ ] Observed Leaks or Wear Details

[ ] Inspection Date

[ ] Inspector Verification

--- FUEL QUALITY & CONTAMINATION CONTROL ---

[ ] Last Water-in-Fuel Test Date

[ ] Fuel Sample Clarity Status (Clear, Cloudy/Turbid, Visible Sediment/Particulates)

[ ] Particulate Count (PPM)

[ ] Contamination Source Identified (Water Ingress, Sediment/Dust, Microbial Growth, Chemical Cross-Contamination)

[ ] Contamination Remediation Actions Taken

[ ] Laboratory Analysis Report

[ ] Quality Control Inspector Signature

--- DELIVERY & RECEIVING PROTOCOLS ---

[ ] Delivery Date

[ ] Delivery Note or Manifest Number

[ ] Quantity Received (Liters/Units)

[ ] Fuel/Consumable Type (Diesel, Lubricants, Hydraulic Oil, Grease, Other)

[ ] Pre-Delivery Inspection Checklist (Tanker Seal Integrity Verified, Driver Credentials Checked, No Visible Leaks Detected, Spill Kit Present on Delivery Vehicle)

[ ] Delivery Note/Invoice Scan

[ ] Receiving Officer Signature

--- ENVIRONMENTAL & SPILL RESPONSE READINESS ---

[ ] Spill Kit Availability Status (Fully Stocked, Partially Stocked - Needs Refill, Empty/Missing)

[ ] Spill Kit Contents Inspection (Absorbent Pads, Sorbent Socks/Booms, Disposal Bags & Ties, Personal Protective Equipment (Gloves/Goggles), Drain Covers)

[ ] Spill Containment Deficiencies

[ ] Spill Incident Photo Evidence

[ ] Inspector Verification

[ ] Last Spill Kit Audit Date

--- SAFETY & FIRE PREVENTION COMPLIANCE ---

[ ] Fire Extinguisher Inspection Status (All extinguishers are pressurized and functional, Inspection tags are up to date, No physical damage or obstructions detected)

[ ] Fire Suppression System Status (Operational, Requires Maintenance, Non-Functional)

[ ] Last Fire Drill Date

[ ] Fire Safety Certificate/Inspection Report

[ ] Deficiencies or Safety Concerns Noted

[ ] Safety Officer Verification

--- METERING & METERING ACCURACY ---

[ ] Last Meter Calibration Date

[ ] Current Flow Meter Reading (Liters/Gallons)

[ ] Calibration Status (Certified/In-Date, Expired/Out-of-Date, Needs Immediate Service)

[ ] Calibration Certificate Upload

[ ] Discrepancy Notes & Deviation Details

[ ] Inspector Verification

--- DOCUMENTATION & DIGITAL RECORD KEEPING ---

[ ] Audit/Inspection Date

[ ] Inventory Log Reference Number

[ ] Total Volume Reconciled (Liters)

[ ] Data Entry Method (Manual Logbook, Digital Tablet/Mobile App, Automated Telemetry System)

[ ] Documents Reviewed (Delivery Manifests, Daily Usage Logs, Calibration Certificates, Safety Data Sheets (SDS))

[ ] Upload Scanned Delivery Receipts

[ ] Discrepancy Notes & Observations

[ ] Inventory Controller Signature

--- PERSONNEL TRAINING & COMPETENCY ---

[ ] Date of Training Session

[ ] Training Modules Completed (Hazardous Material Handling, Spill Response Procedures, Fuel Pump & Nozzle Operation, Tank Farm Safety Protocols, Emergency Shutdown Procedures)

[ ] Trainer Name

[ ] Number of Trainees Attended

[ ] Training Attendance Sheet / Certifications

[ ] Supervisor Verification

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/mining-management/mine-fuel-consumables-management-checklist-2026

(Click "Install Template" to launch your digital inspection tool immediately)