MINE FUEL & CONSUMABLES MANAGEMENT CHECKLIST 2026
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--- FUEL STORAGE & TANK FARM INTEGRITY ---
[ ] Inspection Date
[ ] Tank Farm/Storage Unit ID
[ ] Tank Integrity Status (Intact - No visible leaks, Minor Seepage Detected, Critical Leak/Structural Failure)
[ ] Secondary Containment (Bund) Condition (Clear of debris and water, Accumulated rainwater/debris, Cracks or breach in bund wall)
[ ] Current Fuel Volume (Liters)
[ ] Observation Notes & Anomaly Details
[ ] Photo Evidence of Tank/Bund Condition
[ ] Inspector Signature

--- INVENTORY & STOCK LEVEL MONITORING ---
[ ] Inventory Audit Date
[ ] Fuel Stock Level (Litres)
[ ] Lubricant Stock Level (Litres/kg)
[ ] Critical Reorder Point Threshold
[ ] Stock Status (Sufficient, Low Stock - Reorder Required, Critical - Immediate Action Needed, Out of Stock)
[ ] Consumables Monitored (Diesel/Fuel Oil, Engine Oil, Hydraulic Fluid, Grease, Coolant)
[ ] Inventory Reconciliation Report
[ ] Inventory Controller Signature

--- DISPENSING & REFUELLING INFRASTRUCTURE ---
[ ] Infrastructure Components Inspected (Fuel Pumps, Delivery Hoses & Nozzles, Flow Meters, Filtration/Separator Units, Pressure Gauges, Emergency Shut-off Valves)
[ ] Hose & Nozzle Condition (Excellent, Good - Monitor closely, Fair - Requires maintenance, Critical - Immediate replacement required)
[ ] Last Meter Calibration (Days Ago)
[ ] Observed Leaks or Wear Details
[ ] Inspection Date
[ ] Inspector Verification

--- FUEL QUALITY & CONTAMINATION CONTROL ---
[ ] Last Water-in-Fuel Test Date
[ ] Fuel Sample Clarity Status (Clear, Cloudy/Turbid, Visible Sediment/Particulates)
[ ] Particulate Count (PPM)
[ ] Contamination Source Identified (Water Ingress, Sediment/Dust, Microbial Growth, Chemical Cross-Contamination)
[ ] Contamination Remediation Actions Taken
[ ] Laboratory Analysis Report
[ ] Quality Control Inspector Signature

--- DELIVERY & RECEIVING PROTOCOLS ---
[ ] Delivery Date
[ ] Delivery Note or Manifest Number
[ ] Quantity Received (Liters/Units)
[ ] Fuel/Consumable Type (Diesel, Lubricants, Hydraulic Oil, Grease, Other)
[ ] Pre-Delivery Inspection Checklist (Tanker Seal Integrity Verified, Driver Credentials Checked, No Visible Leaks Detected, Spill Kit Present on Delivery Vehicle)
[ ] Delivery Note/Invoice Scan
[ ] Receiving Officer Signature

--- ENVIRONMENTAL & SPILL RESPONSE READINESS ---
[ ] Spill Kit Availability Status (Fully Stocked, Partially Stocked - Needs Refill, Empty/Missing)
[ ] Spill Kit Contents Inspection (Absorbent Pads, Sorbent Socks/Booms, Disposal Bags & Ties, Personal Protective Equipment (Gloves/Goggles), Drain Covers)
[ ] Spill Containment Deficiencies
[ ] Spill Incident Photo Evidence
[ ] Inspector Verification
[ ] Last Spill Kit Audit Date

--- SAFETY & FIRE PREVENTION COMPLIANCE ---
[ ] Fire Extinguisher Inspection Status (All extinguishers are pressurized and functional, Inspection tags are up to date, No physical damage or obstructions detected)
[ ] Fire Suppression System Status (Operational, Requires Maintenance, Non-Functional)
[ ] Last Fire Drill Date
[ ] Fire Safety Certificate/Inspection Report
[ ] Deficiencies or Safety Concerns Noted
[ ] Safety Officer Verification

--- METERING & METERING ACCURACY ---
[ ] Last Meter Calibration Date
[ ] Current Flow Meter Reading (Liters/Gallons)
[ ] Calibration Status (Certified/In-Date, Expired/Out-of-Date, Needs Immediate Service)
[ ] Calibration Certificate Upload
[ ] Discrepancy Notes & Deviation Details
[ ] Inspector Verification

--- DOCUMENTATION & DIGITAL RECORD KEEPING ---
[ ] Audit/Inspection Date
[ ] Inventory Log Reference Number
[ ] Total Volume Reconciled (Liters)
[ ] Data Entry Method (Manual Logbook, Digital Tablet/Mobile App, Automated Telemetry System)
[ ] Documents Reviewed (Delivery Manifests, Daily Usage Logs, Calibration Certificates, Safety Data Sheets (SDS))
[ ] Upload Scanned Delivery Receipts
[ ] Discrepancy Notes & Observations
[ ] Inventory Controller Signature

--- PERSONNEL TRAINING & COMPETENCY ---
[ ] Date of Training Session
[ ] Training Modules Completed (Hazardous Material Handling, Spill Response Procedures, Fuel Pump & Nozzle Operation, Tank Farm Safety Protocols, Emergency Shutdown Procedures)
[ ] Trainer Name
[ ] Number of Trainees Attended
[ ] Training Attendance Sheet / Certifications
[ ] Supervisor Verification
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